## To be uploaded-OR-updated
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Nd YAG Laser |  | Laser and nonlinear optics lab | Spectra Physics, USA | Quanta Ray INDI-40-10 | Quanta Ray INDI-40-10 | External Funding | TEQIP |  | Nd YAG pulsed laser with wave length 1034 nm and 532 nm, Pulse width 7ns, Beam diameter 10mm | Department of Physics |  | 2739000 |  |  | Fabrication |  |  |  | M/s Newport Corporation | admin@laser-spectra.com |  | admin@laser-spectra.com | csk@nitc.ac.in
High Power Nd YAG Laser Minilite |  | Laser and nonlinear optics lab | Continuum Laser | Minilite | Minilite | External Funding | KSCSTE (Gov. of Kerala) |  | High Power Nd:YAG Laser (Minilite) | Department of Physics |  | 1875053 |  |  | Characterization |  |  |  | Continuum Laser |  |  |  | csk@nitc.ac.in
Spin coater |  | Laser and nonlinear optics lab | Laurell Technologies | Laurell Technologies | Laurell Technologies | External Funding | DST (Gov. Of India) |  | Equipment for the deposition of thin films | Department of Physics |  | 764517 |  |  | Fabrication |  |  |  | Laurell Technologies |  |  |  | csk@nitc.ac.in
Thermal Evaporation System 12A4D |  | Organic and Nanoelectronics Lab | Indian high vaccum pumps | Thermal Evaporation System (12A4D) | Thermal Evaporation System (12A4D) | External Funding | FRG, NIT Calicut | Optoelectronic Properties of Organic Light Emitting Diodes | Used for the deposition of thin films | Department of Physics | Thermal Evaporation System | 348635 |  |  | Fabrication |  |  |  | Indian high vaccum pumps | info@ihvp.in | Indian high vaccum pumps | info@ihvp.in | sivaji@nitc.ac.in
Solar Simulator |  | Organic and Nanoelectronics Lab | Photo Emission Tech | Model SS50AAA-EM | 1129 | External Funding | KSCSTE | Development of Organic Solar Cells Based on Transition Metal Oxide Anode Buffer Layers | Used for characterization of solar cells. | Department of Physics | Solar Simulator | 1160850 |  |  | Fabrication |  |  |  | Photo-Emission Tech | bangalore@sinsil.in | Sinsil International PVT LTD | rao@sinsil.in | sivaji@nitc.ac.in
Precision Source |  | Organic and Nanoelectronics Lab | Agilent Technologies | Model- B2902A | Model- B2902A | External Funding | SERB | Development of Bistable Memory Devices Based on Organic Semiconductors | Used for the electrical characterization of materials and devices. | Department of Physics | Precision Source/measure unit | 610400 |  |  | Fabrication |  |  |  | Innovative Instruments Inc | instrument_inc@vsnl.net | Innovative Instruments Inc | instrument_inc@vsnl.net | sivaji@nitc.ac.in
Spin Coater |  | Organic and Nanoelectronics Lab | Apex Equipments | NXGM1N1314-023 | NXGM1N1314-023 | External Funding | SERB | Development of Bistable Memory Devices Based on Organic Semiconductors | Used for the deposition of thin films. | Department of Physics | Spin Coater | 98489 |  |  | Fabrication |  |  |  | Apex Equipments | sales@apexequipments.com | Apex Equipments | sales@apexequipments.com | sivaji@nitc.ac.in
Inverted microscope |  | Optofluidics laboratory | Olympus corporation | Model: IX 73 | 8L51796 | External Funding | SERB | Optofluidic Platform for Controlled Droplet Manipulation | Observation Method: Fluorescence (Blue/Green Excitation), Fluorescence (Ultraviolet Excitation), Differential Interference Contrast (DIC), Phase Contrast, Brightfield, Condenser: Manual, [Dry: NA 0.9/ W.D. 1.5 mm, Oil: NA 1.4/ W.D. 0.63 mm (1.25 X - 100 X)] | Department of Physics | Microscope | 15,09,525 |  |  | Characterization |  |  |  | Olympus corporation | enquiry@dssimage.com | DSS Imagetech Pvt Ltd | enquiry@dssimage.com | varanakkottu@nitc.ac.in
High speed camera |  | Optofluidics laboratory | AOS Technologies AG | Model: AOS Promon 501 | 73200025903 | External Funding | SERB |  | Configurable resolution and frame rates the camera can record image formats such as 1280 x 720 pixels @ up to 125 fps and up to 2650 fps at a reduced resolution. | Department of Physics |  | 5,96,503 |  |  | Characterization |  |  |  | Concourse systems (India) | concourseindia@gmail.com | AOS Technologies AG | concourseindia@gmail.com | varanakkottu@nitc.ac.in
IR Camera |  | Optofluidics Laboratory | FLIR | Model: FLIR E75 | 78514285 | External Funding |  |  | FLIR E75 with 24° lens offers 320 x 240 Infrared resolution. Super resolution: 640 x 480, Spatial resolution: 1.31mrad/pixel, Minimum focus distance: 15 cm, Object temperature range: -20-6000°C, Accuracy: ±20°C | Department of Physics |  | 646000 |  |  | Characterization |  |  |  | Vamara techware | sales@vamara.in | FLIR | sales@vamara.in | varanakkottu@nitc.ac.in
HPC Server |  | Computational Materials Science Lab | Lenovo | 7D32 | J102FWLV | External Funding | SERB | Computational Modelling of Transition Metal Oxides as Electrochemical Catalysts | Four processor ( 96 cores) 16X32 GB memory HPC server node, with 9TB storage | Department of Physics | Alexandra Cluster | 17,90,000 |  | Working | Fabrication |  |  |  | Locuz Enterprise Solutions Pvt Ltd | kandaswamy.c@locuz.com | Locuz Enterprise Solutions Pvt Ltd | Ibrahim.Khan@locuz.com | raghuc@nitc.ac.in
UV visible spectrophotometer |  | Photonic Materials and Devices Laboratory | PerkinElmer Lambda 35 | Lambda 35 | 502S14072015 | External Funding |  |  | The basis of spectroscopy is the interaction of light and matter. The instrument can be used to identify the absorption of ultraviolet or visible light by liquid or thin-film samples. | Department of Physics |  | 1055100 |  |  | Characterization |  |  |  | PerkinElmer | mohit.desai@perkinelmer.com | PerkinElmer | mohit.desai@perkinelmer.com | hodphysics@nitc.ac.in
Fourier Transform InfraRed Spectrometer |  | Photonic Materials and Devices Laboratory | PerkinElmer SpectrumTwo | SpectrumTwo | 100567 | External Funding |  |  | The FT-IR spectrometer collects the absorption data over a wavenumber range of 8300 to 350 cm−1 at a best resolution of 0.5 cm−1. | Department of Physics |  | 996000 |  |  | Characterization |  |  |  | PerkinElmer | mohit.desai@perkinelmer.com | PerkinElmer | mohit.desai@perkinelmer.com | hodphysics@nitc.ac.in
X ray diffractometer | XRD | Room 010-A, Dept. of Physics | Rigaku | SmartLab SE | BD72000676-01 | External Funding | DST-FIST |  | X-ray source: Cu (Wavelength: 1.54 Å), Operation mode: theta-theta, Scanning range: up to 160°, Software for operation, data acquisition and processing, Temperature range: RT to 1200 °C | Department of Physics |  | 1,44,00,000 |  | Available | Characterization |  |  |  | IR Technology Services Pvt Ltd, Bangalore | service_blr@irtech.in | IR Technology Services Pvt Ltd, Bangalore | service_blr@irtech.in | maneesh@nitc.ac.in
FTNIR |  | PH102 (Applied optics and instrumentation laboratory) | JASCO | JASCO | A013662116 | External Funding |  |  | The FT/lR-6X FTIR spectrometer with a 28° Michelson interferometer and diode timing laser is an excellent choice for more demanding research applications, where higher throughput, better polarization performance, or a more flexible approach to samples and measurement are required. The configurable optical system applies to virtually any FTIR application, from simple MidIR measurement to more complex analysis in the near and far IR. Research-based measurements are easily performed using the FT/IR-6X spectrometer with options such as full vacuum, gold-coated optics, rapid scan, and step scan. | Department of Physics |  | 45,00,000 |  |  | Characterization |  |  |  | ANATEK SERVICES PVT LTD | services@anatekservices.com | ANATEK SERVICES PVT LTD | services@anatekservices.com | raman@nitc.ac.in
Magee Scientific Aethalometer |  | Applied Optics and Instrumentation Lab | Aerosol Magee Scientific | Model AE33 | AE33-S10-01377 | External Funding |  |  | Optical Analysis of BC with continuous collection of aerosol on filter and simultaneous measurement of attenuation of transmitted light at wavelengths 370, 470, 520, 590, 660, 880, 950 nm. | Department of Physics |  | 3506300 |  |  | Characterization | [7 empty] | r.varma@nitc.ac.in
Spatial light modulator | SLM | Optofluidics and interface science laboratory | HOLOEYE Photonics AG | LETO-3-CFS-127 | 4550-3-0113 | External Funding | SERB | Optically-controlled programmable assembly of multi-component 3D colloidal crystals from eveporating droplets | The spatial light modulator helps precisely manipulate light into arbitrary shapes and patterns. The key features are - reflective LCOS display, display with an active area of 12.29 mm x 6.91 mm, 1920 x 1080 resolution. | Department of Physics |  | 13,44,964 |  | Available | Fabrication |  |  |  | Advanced photonics | sales@advancedphotonicsindia.com | Advanced photonics | sales@advancedphotonicsindia.com | varanakkottu@nitc.ac.in
High speed camera |  | Optofluidics and interface science laboratory | Phantom Ametek | Phantom Miro C211 | 31936 | External Funding | KSCSTE | Extraction of colloidal particles from dilute suspensions based on controlled droplet impact | It is crucial in studying the dynamics of droplet impact, soft-matter deformation, particle laden interface studies etc. The key features are - 1,800 fps at full 1.3 megapixel resolution of 1280 x 1024 till a maximum speed at reduced resolution of 64 x 8 is 67,140 fps. Minimum frame rate at all resolutions is 50 fps. | Department of Physics |  | 15,98,000 |  | Available | Characterization |  |  |  | AMETEK Instruments India Pvt. Ltd. | ametekindia@ametek.com | AMETEK Instruments India Pvt. Ltd. | ametekindia@ametek.com | varanakkottu@nitc.ac.in
UV visible spectrophotometer | UV-vis spectrometer | Room 010-A, Dept. of Physics | Shimadzu | UV-2600i | A12596080249 | External Funding | NITC Plan Fund | NA | The UV-Vis spectrophotometer is used to study the abosrbance in the UV and visible regions. Band gap measurements and diffuse reflectance measurements for semiconductor materials can be caaried out using UV-vis spectrometer | Department of Physics |  | 17,38,612 |  | Available | Characterization |  |  |  | Toshvin Analytical Pvt Ltd | support@toshvin.com | Toshvin Analytical Pvt Ltd | support@toshvin.com | maneesh@nitc.ac.in
Sourcemeter Model 2400 |  | Room - PH010 | Keithley Instruments | Model 2400 | 1239369 | External Funding | Government |  | Used for electronic device Characterizations. | Department of Physics |  | 369035 |  | Available | Characterization | [7 empty] | hodphysics@nitc.ac.in
Sourcemeter Model 2612A |  | Room - PH009 | Keithley Instruments | Model 2612A | 1253140 | External Funding | Government |  | Used for electronic device Characterizations. | Department of Physics |  | 706330 |  | Available | Characterization | [7 empty] | hodphysics@nitc.ac.in
Electrometer 6517B |  | Room - PH010 | Keithley Instruments | 6517B | 1253122 | External Funding | Government |  | Used for electronic device Characterizations. | Department of Physics |  | 664498 |  | Available | Characterization | [7 empty] | hodphysics@nitc.ac.in
Solar Simulator |  | Room - PH010 | Photo Emission Tech | Model-SS50AAAEM | 1124 | External Funding | Government |  | Used for characterization of solar cells. | Department of Physics |  | 1160850 |  | Available | Fabrication | [7 empty] | hodphysics@nitc.ac.in