## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Solar Grid tied training system with power qualty analyser |  | NMIT Bangalore | Fluxgen | Customised | EEE-RE-04 | Internal | Institution Funding (Self supported) | Solar grid tied system | 1500KVA solra panel, 1200KVA grid ties inverter with power quality measurement | E&EE | Energy Lab | 1080000 |  | UP | Characterization |  |  |  | Fluxgen technologies | ganesh@fluxgentech.com | 1Fluxgen Technologies, 1064, 1st floor, 18th Main, 2nd Stage, BTM Layout, Bengaluru, Karnataka 560076 | ganesh@fluxgentech.com | ganesh@fluxgentech.com
Electric 2w Assembly setup |  | NMIT Bangalore | Vroomble Services Pvt Ltd | Customised | EQP165299 | Internal | Institution Funding (Self supported) | Electric Mobility Laboratory | 14Ah, 50.4V, 60A battery pack with BMS Hub motor Motor control unit DC-DC converter Vehicle control unit HMI Battery & Charger | E&EE | Electric Mobility Lab | 5,00,000.00 | www.deviseelectronics.com | UP | Characterization |  |  |  | Vroomble Services Pvt Ltd | mayank@vroomble.com | 1st Floor, Plot No 4, S. No. 5, DSK Ranwara Road, Behind Carwala Garage, Bavdhan Khurd, Pune, Maharashtra, 411021 | vikas@emergeworkforce.com | vikas@emergeworkforce.com
Cell Battery Training Kit |  | NMIT Bangalore | Vroomble Services Pvt Ltd | Customised | GNCE146930 | Internal | Institution Funding (Self supported) | Electric Mobility Laboratory | Cell 18650 Cell 26650 Prismatic Cell Pouch Cell Cell Holder 18650-HC 1U Cell Holder 26650 Vruzend Cell Holder Straight Type Busbars Copper Busbar Vruzend Busbar Nitecore Charger Electric load battery tester Battery Pack nitecore Charger | E&EE | Electric Mobility Lab | 1,80,000.00 | www.deviseelectronics.com | UP | Characterization |  |  |  | Vroomble Services Pvt Ltd | mayank@vroomble.com | 1st Floor, Plot No 4, S. No. 5, DSK Ranwara Road, Behind Carwala Garage, Bavdhan Khurd, Pune, Maharashtra, 411021 | vikas@emergeworkforce.com | vikas@emergeworkforce.com
VCU & Algorithm Developer |  | NMIT Bangalore | Vroomble Services Pvt Ltd | Customised | EQAN151957 | Internal | Institution Funding (Self supported) | Electric Mobility Laboratory | Key Manager and Vehicle Mode Selector CAN Interface with VCU Analog Interface with VCU Different Fault Input Interface with VCU Complete Vehicle Simulation | E&EE | Electric Mobility Lab | 4,50,000,00 | www.deviseelectronics.com | UP | Characterization |  |  |  | Vroomble Services Pvt Ltd | mayank@vroomble.com | 1st Floor, Plot No 4, S. No. 5, DSK Ranwara Road, Behind Carwala Garage, Bavdhan Khurd, Pune, Maharashtra, 411021 | vikas@emergeworkforce.com | vikas@emergeworkforce.com
Hub motor static test rig |  | NMIT Bangalore | Giga tech Innovations | Customised | EQP162953 | Internal | Institution Funding (Self supported) | Electric Mobility Laboratory | Weight Sensor Hub Motor Hub Motor Assembly IPMS Controller Weight Sensor Throttle Handle Digital Photo Tachometer | E&EE | Electric Mobility Lab | 2,80,000.00 | Giga Tech Innovations | UP | Characterization |  |  |  | Giga Tech Innovations | samarth@gigatechinnovations.co.in | No 2272 Kumaraswamy Layout Near Om Shakthi Temple Bangalore south Bengaluru Urban Karnataka 560078 | samarth@gigatechinnovations.co.in | samarth@gigatechinnovations.co.in
Cell Level Assessment Tester & pack tester |  | NMIT Bangalore | Giga tech Innovations | Customised | EQP162951/2 | Internal | Institution Funding (Self supported) | Electric Mobility Laboratory | Battery & BMS Analyzer Battery Bank with BMS (15S 2P) BMS Monitor Software (BMS Master) USB CAN Bus Lifepo4 15S 48V 30A BMS Charging & Discharging Switch | E&EE | Electric Mobility Lab | 2,20,000.00 | Giga Tech Innovations | UP | Characterization |  |  |  | Giga Tech Innovations | samarth@gigatechinnovations.co.in | No 2272 Kumaraswamy Layout Near Om Shakthi Temple Bangalore south Bengaluru Urban Karnataka 560079 | samarth@gigatechinnovations.co.in | samarth@gigatechinnovations.co.in
1.PLC Trainer Kit 2. PLC based Motor Contol Kit |  | NMIT Bangalore | Venjay Automation (p) ltd | Customized | F-NO 9-291/RIFD/OMD/2018-19 | Internal | Institution Funding (Self supported) | Dynamic Control and performance evaluation of three phase Induction Motor | Siemens PLC with SIMATIC HMI ,1 x RS485, USB 2.0, 2 x SD Slot, Industrial Ethernet, PROFINET, PROFIBUS DP, MPI | E&EE | Industrial Automation lab | 5,00,000.00 | https://venjayautomation.com/automation.html | UP | Characterization |  |  |  | Venjay Automation (P) Ltd | info@venjayautomation.com | Site No. 40, Assessment No. 47/1, Seegehalli Village, Kodigehalli Panchayath Yeshwanthpura Hobli, North, Taluk, Bengaluru, Karnataka | info@venjayautomation.com | info@venjayautomation.com
PCB Rapid Prototyping Machine |  | NMIT Bangalore | Mechinex automation private limited | Pro Mill |  | Internal | Institution Funding (Self supported) | Product Design and Development Laboratory | PCB & Antenna Rapid Prototyping Machine with Work area: 300*300*80 mm with 60k RPM 1.8kW Water-cooled spindle and High quality & precision Hi-win ball screws | E&EE | Project Lab | 500000 | https://www.mechinex.com/promill | UP | Characterization |  |  |  | Mechinex automation private limited | mechinexx@gmail.com | Thiruvannamalai Nagar, Revenue Nagar, Saravanampatti, Coimbatore, Tamil Nadu 641035 | mechinexx@gmail.com | mechinexx@gmail.com