## Sheet2
S.No | Product Name | Product Make | Product Model | Product Description | Product Uom | Product Rate | Product HSN Code
1 | Moku:Go | Liquid Instruments | M2 | Software Defined Moku:Go Hardware Platform A Software defined hardware platform should support the following specifications required for Circuits lab, electronics lab to perform various lab experiments and research.The hardware have minimum of 11 Powerful commonly used Instruments • Arbitrary Waveform Generator, • Data Logger • Frequency Response Analyzer,• Logic Analyzer / Pattern Generator,• Oscilloscope / Voltmeter • PID Controller,• Spectrum Analyzer • Waveform Generator,• Lock-in-Amplifier • Digital Filter Box,• FIR Filter Builder | 1 | 100000 | 903039
2 | Moku Lab | Liquid Instruments | Full suite / basic suite | Moku:Lab is a reconfigurable hardware platform that combines the digital signal processing power of an FPGA with versatile, low-noise analog inputs and outputs. Simplify your workflow with access to 12 high-performance instruments that enable you to make end-to-end product measurements with a single device. | 1 | 1400000 | 903039
3 | Moku Pro | Liquid Instruments | Full suite / basic suite | Moku:Pro is a high-performance test platform featuring a suite of instrumentation built on a sophisticated FPGA-based architecture. Designed for engineers and research scientists, Moku:Pro provides the flexibility of a reconfigurable platform to bridge the gap between simulation and real-world experiments. | 1 | 1700000 | 903039
4 | LabVIEW Research License - 1 User | NI | 1 Year SSP / 3 Year SSP | Graphical System Design Software
5 | LabVIEW Research License - 5 User | NI | 1 Year SSP / 3 Year SSP | Graphical System Design Software
6 | LabVIEW Research License - 10 User | NI | 1 Year SSP / 3 Year SSP | Graphical System Design Software
7 | NI LabVIEW Academic Site License - 1, 5, 10, 30 & 60 Users | NI | 1 Year SSP / 3 Year SSP | NI LabVIEW is a graphical programming language that uses dataflow programming approach for developing the applications along with ease of implementation and better debugging capabilities.
8 | Multisim Academic Site License - 1, 5, 10, 30 & 60 Users | NI | 1 Year SSP / 3 Year SSP | Multisim software provides SPICE simulation, analysis, and printed circuit board (PCB) tools to help you quickly iterate through designs and improve prototype performance.
9 | NI MyRIO 1900 - University Kit | NI | MyRIO 1900 University Kit | NI myRIO-1900 is a portable reconfigurable I/O (RIO) device that students can use to design control, robotics, and mechatronics systems. This document contains pinouts, connectivity information, dimensions, mounting instructions, and specifications for the NI myRIO-1900.
10 | NI MyRIO 1900 - Student Kit | NI | MyRIO 1900 Student Kit | NI myRIO provides educators with an embedded, WiFi-enabled solution to deliver an engaging approach to learning controls, investigating mechatronics, and designing imaginative capstone projects.
11 | NI MyDAQ - Student Kit | NI | NI MYDAQ | NI myDAQ is a portable data acquisition (DAQ) device that uses NI LabVIEW-based software instruments, allowing students to measure and analyze real-world signals. Facilitates the learning curve for developing applications on NI Data Acquisition Ecosystem
12 | NI Starter Kit | NI | Digilent Starter kit | Basic sensors and Accessories
13 | NI Embedded Kit | NI | Digilent Embedded kit | Embedded Sensors and Accessories
14 | NI Mechatronics Kit | NI | Digilent Mechatronics Kit | Mechatronics sensor and Actuators
15 | NI ELVIS III With Prototyping board | NI | NI ELVIS III | ELVIS III Real time FPGA Prototyping unit and Software Based Instrument Device
16 | NI ELVIS III with Communication board | NI | NI ELVIS III | ELVIS III Real time FPGA Prototyping unit and Software Based Instrument Device with communications add on board
17 | NI ELVIS III with Control systems Board | NI | NI ELVIS III | ELVIS III Real time FPGA Prototyping unit and Software Based Instrument Device with Control Systems add on board
18 | NI ELVIS III with Mechatronics Board | NI | NI ELVIS III | ELVIS III Real time FPGA Prototyping unit and Software Based Instrument Device with Mechatronics System add on board
19 | NI CDAQ 9171 | NI | NI CDAQ Chassis | NI CDAQ Single Slot Chassis
20 | NI CDAQ 9174 | NI | NI CDAQ CHassis | NI CDAQ Four Slot Chassis
21 | NI CDAQ 9178 | NI | NI CDAQ CHassis | NI CDAQ Eight Slot Chassis
22 | NI 9145 | NI | NI CRIO Chassis | NI CRIO Eight Slot chassis Zynq 7020
23 | NI 9159 | NI | NI CRIO Chassis | NI CRIO Fourteen Slot chassis Virtex L5
24 | NI 9157 | NI | NI CRIO Chassis | NI CRIO Fourteen Slot chassis Virtex L5
25 | NI 9154 | NI | NI CRIO Chassis | NI CRIO Eight Slot chassis Virtex L5
26 | NI 9149 | NI | NI CRIO Chassis | NI CRIO Eight Slot chassis Zynq 7020
27 | NI 9147 | NI | NI CRIO Chassis | NI CRIO Four Slot chassis Zynq 7020
28 | NI CDAQ 9137 | NI | NI CDAQ Controller | NI CDAQ Controller Eight Slot chassis, 1.91GHz Embedded System
29 | NI CDAQ 9136 | NI | NI CDAQ Controller | NI CDAQ Controller Four Slot chassis, 1.91 GHz Embedded System
30 | NI CDAQ 9135 | NI | NI CDAQ Controller | NI CDAQ Controller Eight Slot chassis , 1.33 GHz Embedded System, Extended Temperature
31 | NI CDAQ 9134 | NI | NI CDAQ Controller | NI CDAQ Controller Four slot chassis, 1.33 GHZ Embedded System Extended Temperature
32 | NI CDAQ 9133 | NI | NI CDAQ Controller | NI CDAQ Controller Eight Slot chassis , 1.33 GHz Embedded System
33 | NI CDAQ 9132 | NI | NI CDAQ Controller | NI CDAQ Controller Four slot chassis, 1.33 GHZ Embedded System
34 | NI CRIO Controllers | NI | NI CRIO Controller | 1. NI CRIO 9039 , Eight slot controller, 1.91GHz, Kintex 7 FPGA 2. NI CRIO 9046, Eight slot, Kintex 7 FPGA, 1.3 GHz Embedded Controller 3. NI CRIO 9041, Four slot chassis, 1.3 GHz, Kintex 7 FPGA 4. NI CRIO 9048, Eight slot chassis, 1.6 GHz, Kintex 7 FPGA 5. NI CRIO 9043, Four slot chassis, 1.3 GHZ, Kintex 7 FPGA 6. NI CRIO 9047, Eight Slot chassis, 1.6GHz, KIntex 7 FPGA
35 | Altair Feko | Altair Feko | Feko | Altair Feko is a leading electromagnetic simulation software that uses multiple frequency and time domain techniques. True hybridization of these methods enables the efficient analysis of a broad spectrum of electromagnetic problems mainly related to antenna design and placement, scattering, radar cross section (RCS) and electromagnetic compatibility (EMC), including electromagnetic pulses (EMP), lightning effects, high intensity radiated fields (HIRF), and radiation hazard
36 | Altair Composew | Altair Compose | Compose | Altair Compose enables engineers, scientists and product creators to efficiently perform numerical computations, develop algorithms, analyze and visualize various types of data. Compose is a high level, matrix-based numerical computing language as well as an interactive and unified programming environment for all types of math from solving matrix analysis, differential equations to performing signal analysis and control design. • Machine learning subroutines • Julia is supported • TensorFlow capabilities • Multi Language Support: IDE Octave/Matlab OML, Tcl, Julia and Python
37 | Altair | Altair | PSIM | PSIM is an Electronic circuit simulation software package, designed specifically for use in power electronics and motor drive simulations but can be used to simulate any electronic circuit. Developed by Powersim, PSIM uses nodal analysis and the trapezoidal rule integration[2] as the basis of its simulation algorithm. PSIM provides a schematic capture interface and a waveform viewer Simview. PSIM has several modules that extend its functionality into specific areas of circuit simulation and design including: control theory,[3] electric motors,[4] photovoltaics[5] and wind turbines[6] PSIM is used by industry for research and product development and it is used by educational institutions for research and teaching[7] and was acquired by Altair Engineering in March 2022
38 | Microwind | Microwind | Microwind | Microwind Software is truly integrated EDA software encompassing IC designs from concept to completion, enabling chip designers to design beyond their imagination. MICROWIND integrates traditionally separated front-end and back-end chip design into one flow, accelerating the design cycle and reduces design complexities. It tightly integrates mixed-signal implementation with digital implementation, circuit simulation, transistor-level extraction and verification – providing an innovative education initiative to help individuals to develop the skills needed for design positions in virtually every domain of IC industry. 3-NM FINFET IN MICROWIND FinFET, also known as Fin Field Effect Transistor, is a type of non-planar or "3D" transistor used in the design of modern processors. FinFET designs also use a conducting channel that rises above the level of the insulator, creating a thin silicon structure, shaped like a fin, which is called a gate electrode. This fin-shaped electrode allows multiple gates to operate on a single transistor. This type of multi-gate process extends Moore's law, allowing semiconductor manufacturers to create CPUs and memory modules that are smaller, perform faster, and consume less energy.
39 | Xilinx | Xilinx Fpga | Fpga | Field Programmable Gate Arrays (FPGAs) are semiconductor devices that are based around a matrix of configurable logic blocks (CLBs) connected via programmable interconnects. FPGAs can be reprogrammed to desired application or functionality requirements after manufacturing.
40 | Xilinx Software | Xilinx Software | Xilinx Software | Xilinx,Inc.engages in the design and development of programmable logic semiconductor devices and the related software design tools(It Is Front End Tool)
41
42
44
45
46
47
48