## CHED
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Surface Area and Pore Size Analyzer | BET | Patiala | Anton Paar, USA | Autosorb IQ-XR-AG-AG 3 Station Viton | 1050011497NO | Government | DST-FIST (Dpartment of Chemical Engineering) | Improvement of S & T Infrastructure DST (FIST), Government of India, for the term 2018-2022 giving new, wider wings to augment its teaching and research facilities | BET is a widely used technique to measure the specific surface area of porous materials, providing valuable insights into their physical characteristics. Quantachrome's BET equipment is designed to deliver accurate and reliable results for surface area determination. The Quantachrome BET equipment typically includes a gas sorption analyzer, which operates on the principle of adsorption and desorption of gas molecules on the sample's surface. The instrument employs nitrogen gas at cryogenic temperatures to ensure precise measurements. The sample is degassed to remove any contaminants or absorbed gases before analysis. This instrument's user-friendly feature enables operators to control and monitor the analysis process seamlessly. The software provides options for data analysis, isotherm fitting, and pore size distribution calculations based on various models, such as the BET, Langmuir, and t-plot methods. Quantachrome's BET equipment is known for its high sensitivity, allowing it to accurately detect even small surface areas. The instruments often offer a wide dynamic measurement range, accommodating a variety of sample sizes and types, from powders to porous solids. The advanced design of the equipment ensures minimal sample preparation, reducing the chances of introducing errors in the measurements. Researchers and industries worldwide rely on Quantachrome's BET equipment to characterize materials such as catalysts, adsorbents, and porous materials, aiding in the development of improved products and processes. | Department of Chemical Engineering | CHE-LAB |  | www.thapar.edu | Working | Characterization |  |  |  | Anton Paar Quanta Tec. Inc., Florida, USA | manoj.sharma@anton-paar.com | Anton Paar India Pvt. Ltd., Gurgaon | manoj.sharma@anton-paar.com | sandeep.sharma@thapar.edu
Multipurpose HPLC cum GPC System | HPLC/GPC | Patiala | Agilent Technologies IndiaPvt. Ltd., Bangalore, India | 1260 Infinity II LC System | GB22070029 | Government | DST-FIST (Dpartment of Chemical Engineering) | Improvement of S & T Infrastructure DST (FIST), Government of India, for the term 2018-2022 giving new, wider wings to augment its teaching and research facilities | The GPC-HPLC combined setup offers a comprehensive characterization of complex polymer mixtures, providing valuable insights into their molecular properties and structure, which is crucial in various research and industrial applications. In a GPC-HPLC combined setup, the GPC system and HPLC system are interconnected to provide complementary information about the sample. The general setup involves the following steps: a. Sample Injection: The sample is injected into the GPC system, which consists of a series of columns packed with a porous stationary phase (typically a cross-linked polymer). The sample molecules will traverse these columns based on their size and molecular weight. b. GPC Separation: As the sample flows through the GPC columns, the different polymer fractions are separated and collected based on their size. The eluted fractions can be collected for further analysis. c. Fraction Collection: The fractions collected from the GPC system are then introduced into the HPLC system for additional analysis. HPLC can be used to identify and quantify the chemical composition of each fraction, providing detailed information about the different types of polymers present in the sample. d. Detection: Both the GPC and HPLC systems are equipped with suitable detectors, such as refractive index (RI) detectors, ultraviolet (UV) detectors, or mass spectrometers, to measure the concentration of the separated components. e. Data Analysis: The data obtained from both systems are then combined and analysed using specialized software, which helps researchers understand the molecular weight distribution, chemical composition, and overall structure of the polymer sample. | Department of Chemical Engineering | CHE-LAB |  | www.thapar.edu | Working | Characterization |  |  |  | Agilent Technologies India Pvt. Ltd., Banglore | harlovlenn.kaur@agilent.com | Agilent Technologies India Pvt. Ltd., Banglore | harlovlenn.kaur@agilent.com | sandeep.sharma@thapar.edu
High Pressure Lab Reactor |  | Patiala | Parr Instrument Company, USA | Model-5521 | 5500-2006-95067 | Government | DST-FIST (Dpartment of Chemical Engineering) | Improvement of S & T Infrastructure DST (FIST), Government of India, for the term 2018-2022 giving new, wider wings to augment its teaching and research facilities | The PAR (An Instrument Company) high-pressure reactor is a versatile and robust laboratory instrument used for conducting chemical reactions under high pressure and elevated temperatures. It allows researchers and chemists to study various chemical processes in a controlled environment to understand reaction kinetics, optimize reaction conditions, and develop new materials. It enables scientists to explore chemical reactions under conditions similar to real-world applications, facilitating the design of efficient and safe processes. Additionally, the PAR High-Pressure Reactor's design often includes safety features like rupture discs to ensure the controlled release of pressure in case of overpressure conditions. Key features of the PAR High-Pressure Reactor typically include stainless steel or Hastelloy construction to withstand high pressures, safety mechanisms, and precise pressure and temperature control. The reactor vessel may have various capacities, allowing for different reaction scales. The capacity of this PAR reactor is 25-100ml till 3000psi. | Department of Chemical Engineering | CHE-LAB |  | www.thapar.edu | Working | Processing |  |  |  | Anton Paar India Pvt. Ltd. | sonu.singh@anton-paar.com | Anton Paar India Pvt. Ltd. | sonu.singh@anton-paar.com | sandeep.sharma@thapar.edu
Haake Torque Rheometer |  | Patiala | Thermo Electron GMBH, Germany | Rheomix 600 QC, Rheomex 19/25 QC | 120000133 001 | Government | DST-FIST (Dpartment of Chemical Engineering) | Improvement of S & T Infrastructure DST (FIST), Government of India, for the term 2018-2022 giving new, wider wings to augment its teaching and research facilities | The Haake Torque Rheometer is a specialized laboratory instrument used for characterizing the flow and viscosity properties of materials, especially polymers and complex fluids. The Haake Torque Rheometer is widely recognized for its accuracy, repeatability, and versatility, making it an essential tool in material science and process development. It plays a crucial role in understanding material behavior, optimizing formulations, and ensuring product quality. Key features of the Haake Torque Rheometer include: a. Torque Measurement: The instrument measures the torque applied to a material as it flows, providing insights into its rheological behavior and viscosity changes. b.Temperature Control: The Haake Torque Rheometer offers precise temperature control to investigate how materials respond to different thermal conditions. c. Rotational Speed Control: It allows users to adjust the rotational speed of the rheometer to simulate various flow conditions. d. Interchangeable Measuring Heads: The instrument often comes with interchangeable measuring heads, allowing users to perform different types of rheological tests on a wide range of materials. e. Data Analysis Software: The Haake Torque Rheometer is typically equipped with user-friendly software for data acquisition, analysis, and visualization of rheological measurements. f. Multiple Test Modes: It offers various test modes, such as steady shear, oscillatory shear, creep tests, and more, to comprehensively assess the rheological properties of materials. g. Comprehensive Reporting: The instrument generates detailed reports and graphs, enabling researchers to interpret and present the rheological data effectively. | Department of Chemical Engineering | CHE-LAB |  | www.thapar.edu | Working | Processing |  |  |  | Thermo Fisher Scientific, Mumbai | jitendra.kumar3@thermofisher.com | Thermo Fisher Scientific, Mumbai | jitendra.kumar3@thermofisher.com | sandeep.sharma@thapar.edu
Differential Scanning Calorimeter | DSC | Patiala | Waters Ges M.B.H, Austria | Discovery DSC 25 &amp; Waters Ges MBH | DSC2-01540 | Government | DST-FIST (Dpartment of Chemical Engineering) | Improvement of S & T Infrastructure DST (FIST), Government of India, for the term 2018-2022 giving new, wider wings to augment its teaching and research facilities | DSCs are used to measure the heat flow (enthalpy changes) in a sample as it undergoes phase transitions like melting, crystallization, glass transition, and chemical reactions. DSCs often come with two cells (Dual Cell Configuration), one containing the sample and the other an inert reference material, allowing for precise comparison and baseline correction. The Temperature Control DSCs have the capability to ramp or cool the temperature at a controlled rate, typically ranging from sub-ambient to high temperatures. DSCs are equipped with high-sensitivity detectors to measure small thermal effects accurately. These instruments have high calorimetric accuracy and reproducibility for precise measurements. The DSC is also equipped with Data Analysis Software. | Department of Chemical Engineering | CHE-LAB |  | www.thapar.edu | Working | Characterization |  |  |  | Waters GES M. B. H. , Austria | indrajit@tainstruments.com | TA instruments | india@tainstruments.com | sandeep.sharma@thapar.edu