## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
LN2 Dewar (3 lit capacity) for BET Surface Area Analyser. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | LN2 Dewar (3 lit capacity) for BET Surface Area Analyser. | Central Scientific Service | LN2 Dewar (3 lit capacity) for BET Surface Area Analyser. |  | www.iacs.res.in |  | Analytical |  |  |  | PARTECH SCIENTIFIC INSTRUMENTS |  |  |  | helpdesk@iacs.res.in
Air Cooled, split type chiller, cap:5ltr(15000K cal/hr). |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Air Cooled, split type chiller, cap:5ltr(15000K cal/hr). | Central Scientific Service | Air Cooled, split type chiller, cap:5ltr(15000K cal/hr). |  | www.iacs.res.in |  | Analytical |  |  |  | DAI-CHI COOLING SOLUTIONS PVT LTD |  |  |  | helpdesk@iacs.res.in
_ PCA, TEC Supply,and _ PCA for One View Bing Controller. |  | Central Scientific Service |  |  | Part No. 1095.2003, Part No. 1094.20026 | Institute Funding |  |  | _ PCA, TEC Supply,and _ PCA for One View Bing Controller. | Central Scientific Service | _ PCA, TEC Supply,and _ PCA for One View Bing Controller. |  | www.iacs.res.in |  | Analytical |  |  |  | MARS SCIENTIFIC INSTRUMENTS SERVICES |  |  |  | helpdesk@iacs.res.in
In-Situ Electrochemical cell for Rigaku smart lab 9 kW XRD |  | Central Scientific Service |  |  |  | Institute Funding |  |  | In-Situ Electrochemical cell for Rigaku smart lab 9 kW XRD | Central Scientific Service | In-Situ Electrochemical cell for Rigaku smart lab 9 kW XRD |  | www.iacs.res.in |  | Analytical |  |  |  | I.R. TECHNOLOGY SERVICES PVT. LTD. |  |  |  | helpdesk@iacs.res.in
Mettler Toledo make Analytical Balance ; Model:ME-204 for Inert Atmosphere Glove Box System . |  | Central Scientific Service |  | Model:ME-204 for Inert Atmosphere Glove Box System . | Material Number: 30029066 | Institute Funding |  |  | Mettler Toledo make Analytical Balance ; Model:ME-204 for Inert Atmosphere Glove Box System . | Central Scientific Service | Mettler Toledo make Analytical Balance ; Model:ME-204 for Inert Atmosphere Glove Box System . |  | www.iacs.res.in |  | Analytical |  |  |  | Indian Instruments Manufacturing Company |  |  |  | helpdesk@iacs.res.in
Power Disit Board, Vacuum Hose 3 Ft., Hall Effect assy for floor model refrigerated centrifuge beckman ( avanti JXN ). |  | Central Scientific Service |  |  | Part No. B 91870, Part No. C 07650, part No. B 48170 | Institute Funding |  |  | Power Disit Board, Vacuum Hose 3 Ft., Hall Effect assy for floor model refrigerated centrifuge beckman ( avanti JXN ). | Central Scientific Service | Power Disit Board, Vacuum Hose 3 Ft., Hall Effect assy for floor model refrigerated centrifuge beckman ( avanti JXN ). |  | www.iacs.res.in |  | Analytical |  |  |  | Beckman Coulter India Private Limited |  |  |  | helpdesk@iacs.res.in
new Leybold TURBOVAC 350I Turbo vacuum pump , controller and accessories for the DC/RF sputtering system . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | new Leybold TURBOVAC 350I Turbo vacuum pump , controller and accessories for the DC/RF sputtering system . | Central Scientific Service | new Leybold TURBOVAC 350I Turbo vacuum pump , controller and accessories for the DC/RF sputtering system . |  | www.iacs.res.in |  | Analytical |  |  |  | Leybold India Pvt. Ltd. |  |  |  | helpdesk@iacs.res.in
Atomic Force Microscope (AFM) |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Atomic Force Microscope (AFM) | Central Scientific Service | Atomic Force Microscope (AFM) |  | www.iacs.res.in |  | Analytical |  |  |  | M/S. Oxford Instruments Asylum Research Inc |  |  |  | helpdesk@iacs.res.in
Recovery compressor control system and accessories for liquefier unit |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Recovery compressor control system and accessories for liquefier unit | Central Scientific Service | Recovery compressor control system and accessories for liquefier unit |  | www.iacs.res.in |  | Analytical |  |  |  | ATOS INSTRUMENTS MARKETING SERVICES |  |  |  | helpdesk@iacs.res.in
Water Chiller |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Water Chiller | Central Scientific Service | Water Chiller |  | www.iacs.res.in |  | Analytical |  |  |  | Addcool Trade & Services |  |  |  | helpdesk@iacs.res.in
Air Cooled Split Type Chiller, Capacity : 5TR (15,000Kcal/hr.) for Cryogen Free cryomagnetic System with DC resistivity. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Air Cooled Split Type Chiller, Capacity : 5TR (15,000Kcal/hr.) for Cryogen Free cryomagnetic System with DC resistivity. | Central Scientific Service | Air Cooled Split Type Chiller, Capacity : 5TR (15,000Kcal/hr.) for Cryogen Free cryomagnetic System with DC resistivity. |  | www.iacs.res.in |  | Analytical |  |  |  | DAI-CHI COOLING SOLUTIONS PVT LTD |  |  |  | helpdesk@iacs.res.in
HiPace 300 and HiScroll 6 Pumps |  | Central Scientific Service |  |  |  | Institute Funding |  |  | HiPace 300 and HiScroll 6 Pumps | Central Scientific Service | HiPace 300 and HiScroll 6 Pumps |  | www.iacs.res.in |  | Analytical |  |  |  | M/s Pfeiffer Vacuum (India) Private Limited |  |  |  | helpdesk@iacs.res.in
Dehumidifier |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Dehumidifier | Central Scientific Service | Dehumidifier |  | www.iacs.res.in |  | Analytical |  |  |  | Volsonic India Private Limited |  |  |  | helpdesk@iacs.res.in
Automated Powder X-Ray Diffractometer System Model D8 Advance . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Automated Powder X-Ray Diffractometer System Model D8 Advance . | Central Scientific Service | Automated Powder X-Ray Diffractometer System Model D8 Advance . |  | www.iacs.res.in |  | Analytical |  |  |  | Bruker Singapore Pte ltd |  |  |  | helpdesk@iacs.res.in
Microplate Spectrophotometer . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Microplate Spectrophotometer . | Central Scientific Service | Microplate Spectrophotometer . |  | www.iacs.res.in |  | Analytical |  |  |  | Medispec India Ltd. |  |  |  | helpdesk@iacs.res.in
DUEX Intelligent Dehumidifier for AFM room . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | DUEX Intelligent Dehumidifier for AFM room . | Central Scientific Service | DUEX Intelligent Dehumidifier for AFM room . |  | www.iacs.res.in |  | Analytical |  |  |  | DUEX INDUSTRIAL SYSTEMS |  |  |  | helpdesk@iacs.res.in
Gas Chromatography-Mass Spectroscopy System (GC-MS) with Accessories |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Gas Chromatography-Mass Spectroscopy System (GC-MS) with Accessories | Central Scientific Service | Gas Chromatography-Mass Spectroscopy System (GC-MS) with Accessories |  | www.iacs.res.in |  | Analytical |  |  |  | Thermo Fisher Scientific Pte Ltd |  |  |  | helpdesk@iacs.res.in
VACUUM COATER |  | Central Scientific Service |  |  |  | Institute Funding |  |  | VACUUM COATER | Central Scientific Service | VACUUM COATER |  | www.iacs.res.in |  | Analytical |  |  |  | HIND HIGH VACUUM COMPANY PRIVATE LTD |  |  |  | helpdesk@iacs.res.in
general purpose compact fluorescence spectrometer . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | general purpose compact fluorescence spectrometer . | Central Scientific Service | general purpose compact fluorescence spectrometer . |  | www.iacs.res.in |  | Analytical |  |  |  | HORIBA INSTRUMENTS INCORPORATED |  |  |  | helpdesk@iacs.res.in
CO2 Incubator . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | CO2 Incubator . | Central Scientific Service | CO2 Incubator . |  | www.iacs.res.in |  | Analytical |  |  |  | SURAVI INSTRUMENTATION PVT LTD |  |  |  | helpdesk@iacs.res.in
FTIR spectrometer for the replacement of the existing old FTIR spectrometer |  | Central Scientific Service |  |  |  | Institute Funding |  |  | FTIR spectrometer for the replacement of the existing old FTIR spectrometer | Central Scientific Service | FTIR spectrometer for the replacement of the existing old FTIR spectrometer |  | www.iacs.res.in |  | Analytical |  |  |  | PerkinElmer Singapore Pte Ltd |  |  |  | helpdesk@iacs.res.in
Ultra-Microtome for Biological Samples and others with accessories. Including EMUC7 module with Cryo Upgradation Facility. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Ultra-Microtome for Biological Samples and others with accessories. Including EMUC7 module with Cryo Upgradation Facility. | Central Scientific Service | Ultra-Microtome for Biological Samples and others with accessories. Including EMUC7 module with Cryo Upgradation Facility. |  | www.iacs.res.in |  | Analytical |  |  |  | DHR Holding India Pvt. Ltd. |  |  |  | helpdesk@iacs.res.in
Planetary Ball Mill . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Planetary Ball Mill . | Central Scientific Service | Planetary Ball Mill . |  | www.iacs.res.in |  | Analytical |  |  |  | VERDER SCIENTIFIC PRIVATE LIMITED |  |  |  | helpdesk@iacs.res.in
Ice Flake Machine (Storage capacity 15kg;Model No:LMIF 100 Labman) |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Ice Flake Machine (Storage capacity 15kg;Model No:LMIF 100 Labman) | Central Scientific Service | Ice Flake Machine (Storage capacity 15kg;Model No:LMIF 100 Labman) |  | www.iacs.res.in |  | Analytical |  |  |  | K.K. Enterprise |  |  |  | helpdesk@iacs.res.in
Source Measure Unite With accessories [SINGLE CHANNEL,40V, 2600-TRIAX-TRIAX ADAPTER FOR 2600 SERIES, 7078-TRX-GND-3-SLOT MALE TRIAX TO BNC ADAPTER (GUARD REMOVED) |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Source Measure Unite With accessories [SINGLE CHANNEL,40V, 2600-TRIAX-TRIAX ADAPTER FOR 2600 SERIES, 7078-TRX-GND-3-SLOT MALE TRIAX TO BNC ADAPTER (GUARD REMOVED) | Central Scientific Service | Source Measure Unite With accessories [SINGLE CHANNEL,40V, 2600-TRIAX-TRIAX ADAPTER FOR 2600 SERIES, 7078-TRX-GND-3-SLOT MALE TRIAX TO BNC ADAPTER (GUARD REMOVED) |  | www.iacs.res.in |  | Analytical |  |  |  | Promptech Instruments Pvt.Ltd. |  |  |  | helpdesk@iacs.res.in
Thermic System for Optical Imaging Devices NO.(1): LTS420 Large Sample Area Heating Stage with XY Manipulation and T96 Controller with Linkpad. |  | Central Scientific Service |  |  | [Part No.14121 | Institute Funding |  |  | Thermic System for Optical Imaging Devices NO.(1): LTS420 Large Sample Area Heating Stage with XY Manipulation and T96 Controller with Linkpad. | Central Scientific Service | Thermic System for Optical Imaging Devices NO.(1): LTS420 Large Sample Area Heating Stage with XY Manipulation and T96 Controller with Linkpad. |  | www.iacs.res.in |  | Analytical |  |  |  | Labindia Instruments Pvt. Ltd. |  |  |  | helpdesk@iacs.res.in
12000C High Temperature Horizontal Split Tube Furnace |  | Central Scientific Service |  |  |  | Institute Funding |  |  | 12000C High Temperature Horizontal Split Tube Furnace | Central Scientific Service | 12000C High Temperature Horizontal Split Tube Furnace |  | www.iacs.res.in |  | Analytical |  |  |  | ANTS INNOVATIONS PRIVATE LIMITED |  |  |  | helpdesk@iacs.res.in
MT200/SN 1007196 Replacement of Components and Thorlabs optical accessories for existing FLIM setup. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | MT200/SN 1007196 Replacement of Components and Thorlabs optical accessories for existing FLIM setup. | Central Scientific Service | MT200/SN 1007196 Replacement of Components and Thorlabs optical accessories for existing FLIM setup. |  | www.iacs.res.in |  | Analytical |  |  |  | Simco Global Technology & Systems Limited |  |  |  | helpdesk@iacs.res.in
ASIQ TEMP INTERFACE SM PCB ( BET - Analyzer ) |  | Central Scientific Service |  |  |  | Institute Funding |  |  | ASIQ TEMP INTERFACE SM PCB ( BET - Analyzer ) | Central Scientific Service | ASIQ TEMP INTERFACE SM PCB ( BET - Analyzer ) |  | www.iacs.res.in |  | Analytical |  |  |  | Anton Paar India Pvt. Ltd. |  |  |  | helpdesk@iacs.res.in
System for measurement Surface Tension / Interfacial Tension . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | System for measurement Surface Tension / Interfacial Tension . | Central Scientific Service | System for measurement Surface Tension / Interfacial Tension . |  | www.iacs.res.in |  | Analytical |  |  |  | SPECIALISE INSTRUMENTS MARKETING COMPANY |  |  |  | helpdesk@iacs.res.in
USB-2405[4CH 24-Bit 128kS/s Dynamic Signal Acquisition USB 2.0 module] |  | Central Scientific Service |  |  |  | Institute Funding |  |  | USB-2405[4CH 24-Bit 128kS/s Dynamic Signal Acquisition USB 2.0 module] | Central Scientific Service | USB-2405[4CH 24-Bit 128kS/s Dynamic Signal Acquisition USB 2.0 module] |  | www.iacs.res.in |  | Analytical |  |  |  | M/s TECH Square |  |  |  | helpdesk@iacs.res.in
RCS Gas Dryer for Q2000 DSC. |  | Central Scientific Service |  |  | Part #:200266.001 | Institute Funding |  |  | RCS Gas Dryer for Q2000 DSC. | Central Scientific Service | RCS Gas Dryer for Q2000 DSC. |  | www.iacs.res.in |  | Analytical |  |  |  | Waters (India) Private Limited TA Instruments Division |  |  |  | helpdesk@iacs.res.in
SR830 DSP Dual Phase Lock in Amplifier , SR554 Lock in transformer preamplifier , SIM900 Mainframe with RS-232 computer interface , SR540 Optical Chopper . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | SR830 DSP Dual Phase Lock in Amplifier , SR554 Lock in transformer preamplifier , SIM900 Mainframe with RS-232 computer interface , SR540 Optical Chopper . | Central Scientific Service | SR830 DSP Dual Phase Lock in Amplifier , SR554 Lock in transformer preamplifier , SIM900 Mainframe with RS-232 computer interface , SR540 Optical Chopper . |  | www.iacs.res.in |  | Analytical |  |  |  | STANFORD RESEARCH SYSTEMS |  |  |  | helpdesk@iacs.res.in
Interactive Digital Source Meter |  | Central Scientific Service | KEITHLEY |  | Model/Part no.2450 | Institute Funding |  |  | Interactive Digital Source Meter | Central Scientific Service | Interactive Digital Source Meter |  | www.iacs.res.in |  | Analytical |  |  |  | Promptech Instruments Pvt.Ltd. |  |  |  | helpdesk@iacs.res.in
PerkinElmer DSC-8000 instrument against Buy-Back of existing PerkinElmer Diamond DSC |  | Central Scientific Service |  |  | 536N6060803 | Institute Funding |  |  | PerkinElmer DSC-8000 instrument against Buy-Back of existing PerkinElmer Diamond DSC | Central Scientific Service | PerkinElmer DSC-8000 instrument against Buy-Back of existing PerkinElmer Diamond DSC |  | www.iacs.res.in |  | Analytical |  |  |  | PerkinElmer (India) Pvt. Ltd. |  |  |  | helpdesk@iacs.res.in
BIOVIA Materials Studio research Suit. [ BIOVIA- Materials Studio Academic Research Suit (2020) ] ; |  | Central Scientific Service |  |  |  | Institute Funding |  |  | BIOVIA Materials Studio research Suit. [ BIOVIA- Materials Studio Academic Research Suit (2020) ] ; | Central Scientific Service | BIOVIA Materials Studio research Suit. [ BIOVIA- Materials Studio Academic Research Suit (2020) ] ; |  | www.iacs.res.in |  | Analytical |  |  |  | Dassault Systemes India Private limited |  |  |  | helpdesk@iacs.res.in
Complete Package of Air Separation Unit for producing Nitrogen Gas |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Complete Package of Air Separation Unit for producing Nitrogen Gas | Central Scientific Service | Complete Package of Air Separation Unit for producing Nitrogen Gas |  | www.iacs.res.in |  | Analytical |  |  |  | Addcool Trade & Services |  |  |  | helpdesk@iacs.res.in
Agilent Cary 5000 UV-Vis-NIR Bundle system with Accessories. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Agilent Cary 5000 UV-Vis-NIR Bundle system with Accessories. | Central Scientific Service | Agilent Cary 5000 UV-Vis-NIR Bundle system with Accessories. |  | www.iacs.res.in |  | Analytical |  |  |  | Agilent Technologies India Pvt. Ltd. |  |  |  | helpdesk@iacs.res.in
KBR WINDOW ASSY and SOURCE ELEMENT ASSY for FTIR instrument . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | KBR WINDOW ASSY and SOURCE ELEMENT ASSY for FTIR instrument . | Central Scientific Service | KBR WINDOW ASSY and SOURCE ELEMENT ASSY for FTIR instrument . |  | www.iacs.res.in |  | Analytical |  |  |  | PerkinElmer (India) Pvt. Ltd. |  |  |  | helpdesk@iacs.res.in
ZETASIZER ADVANCE PRO BLUE (DLS Instrument) with Accesories . |  | Central Scientific Service |  |  |  | Institute Funding |  |  | ZETASIZER ADVANCE PRO BLUE (DLS Instrument) with Accesories . | Central Scientific Service | ZETASIZER ADVANCE PRO BLUE (DLS Instrument) with Accesories . |  | www.iacs.res.in |  | Analytical |  |  |  | Malvern Panalytical Ltd. |  |  |  | helpdesk@iacs.res.in
OLYMPUS UPRIGHT MICROSCOPE MODEL BX53M WITH MAG. RANGE 50X-1000X. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | OLYMPUS UPRIGHT MICROSCOPE MODEL BX53M WITH MAG. RANGE 50X-1000X. | Central Scientific Service | OLYMPUS UPRIGHT MICROSCOPE MODEL BX53M WITH MAG. RANGE 50X-1000X. |  | www.iacs.res.in |  | Analytical |  |  |  | I.R. TECHNOLOGY SERVICES PVT. LTD. |  |  |  | helpdesk@iacs.res.in
DIAPHRAGM VACUUM PUMP WITH ACCESSORIES FOR LINKAM THMS600 STAGE |  | Central Scientific Service | MVP 010-3 DC |  | Part No.- PK T05 072 | Institute Funding |  |  | DIAPHRAGM VACUUM PUMP WITH ACCESSORIES FOR LINKAM THMS600 STAGE | Central Scientific Service | DIAPHRAGM VACUUM PUMP WITH ACCESSORIES FOR LINKAM THMS600 STAGE |  | www.iacs.res.in |  | Analytical |  |  |  | Labindia Instruments Pvt. Ltd. |  |  |  | helpdesk@iacs.res.in
Inverter Chiller with cooling capacity of 5 TR |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Inverter Chiller with cooling capacity of 5 TR | Central Scientific Service | Inverter Chiller with cooling capacity of 5 TR |  | www.iacs.res.in |  | Analytical |  |  |  | Addcool Trade & Services |  |  |  | helpdesk@iacs.res.in
Recirculating Chiller for Rotary Evaporator |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Recirculating Chiller for Rotary Evaporator | Central Scientific Service | Recirculating Chiller for Rotary Evaporator |  | www.iacs.res.in |  | Analytical |  |  |  | Ajanta Enterprise |  |  |  | helpdesk@iacs.res.in
a New TGA 4000 Instrument. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | a New TGA 4000 Instrument. | Central Scientific Service | a New TGA 4000 Instrument. |  | www.iacs.res.in |  | Analytical |  |  |  | PerkinElmer Singapore Pte Ltd |  |  |  | helpdesk@iacs.res.in
Water Chiller for APEX-II SCXRD Instrument. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Water Chiller for APEX-II SCXRD Instrument. | Central Scientific Service | Water Chiller for APEX-II SCXRD Instrument. |  | www.iacs.res.in |  | Analytical |  |  |  | Addcool Trade & Services |  |  |  | helpdesk@iacs.res.in
Eater Chiller for D8Advance XRD System. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Eater Chiller for D8Advance XRD System. | Central Scientific Service | Eater Chiller for D8Advance XRD System. |  | www.iacs.res.in |  | Analytical |  |  |  | Bruker India Scientific Pvt Ltd |  |  |  | helpdesk@iacs.res.in
a JASCO CD Spectro Polarimeter |  | Central Scientific Service |  | J-1500 |  | Institute Funding |  |  | a JASCO CD Spectro Polarimeter | Central Scientific Service | a JASCO CD Spectro Polarimeter |  | www.iacs.res.in |  | Analytical |  |  |  | M/s. JASCO INTERNATIONAL CO. LTD |  |  |  | helpdesk@iacs.res.in
Turbo Moleculer Pumping Station. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Turbo Moleculer Pumping Station. | Central Scientific Service | Turbo Moleculer Pumping Station. |  | www.iacs.res.in |  | Analytical |  |  |  | Edwards Limited |  |  |  | helpdesk@iacs.res.in
TCSPC Spectrometer. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | TCSPC Spectrometer. | Central Scientific Service | TCSPC Spectrometer. |  | www.iacs.res.in |  | Analytical |  |  |  | Horiba Jobin Yvon IBH Ltd |  |  |  | helpdesk@iacs.res.in
Coater Unit for SEM System. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Coater Unit for SEM System. | Central Scientific Service | Coater Unit for SEM System. |  | www.iacs.res.in |  | Analytical |  |  |  | JEOL ASIA PTE LTD |  |  |  | helpdesk@iacs.res.in
Bry-Air Dehumidifier Model FFB-300 along with Digital Humidistat |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Bry-Air Dehumidifier Model FFB-300 along with Digital Humidistat | Central Scientific Service | Bry-Air Dehumidifier Model FFB-300 along with Digital Humidistat |  | www.iacs.res.in |  | Analytical |  |  |  | M/s. Bry-Air (Asia) Pvt. Ltd |  |  |  | helpdesk@iacs.res.in
P/N : MTP TLC Adapter (Inclusive of Software Licence) for MALDI Measurements.,Big Glass Slides., SIMLIPID SW is high throughput Lipid identification software. |  | Central Scientific Service |  |  | P/N : 8259387, P/N :1859784 | Institute Funding |  |  | P/N : MTP TLC Adapter (Inclusive of Software Licence) for MALDI Measurements.,Big Glass Slides., SIMLIPID SW is high throughput Lipid identification software. | Central Scientific Service | P/N : MTP TLC Adapter (Inclusive of Software Licence) for MALDI Measurements.,Big Glass Slides., SIMLIPID SW is high throughput Lipid identification software. |  | www.iacs.res.in |  | Analytical |  |  |  | Bruker Daltonik GmbH |  |  |  | helpdesk@iacs.res.in
Water Level Sensor for BET Instrument. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Water Level Sensor for BET Instrument. | Central Scientific Service | Water Level Sensor for BET Instrument. |  | www.iacs.res.in |  | Analytical |  |  |  | PARTECH SCIENTIFIC INSTRUMENTS |  |  |  | helpdesk@iacs.res.in
ES- UCD 3X Insertion Type Dewar for EPR Instrument. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | ES- UCD 3X Insertion Type Dewar for EPR Instrument. | Central Scientific Service | ES- UCD 3X Insertion Type Dewar for EPR Instrument. |  | www.iacs.res.in |  | Analytical |  |  |  | JEOL ASIA PTE LTD |  |  |  | helpdesk@iacs.res.in
Electronic Balance for BET. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Electronic Balance for BET. | Central Scientific Service | Electronic Balance for BET. |  | www.iacs.res.in |  | Analytical |  |  |  | ASTHA DIGITAL |  |  |  | helpdesk@iacs.res.in
PSU0040 PSU for Zetasizer Nano DLS. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | PSU0040 PSU for Zetasizer Nano DLS. | Central Scientific Service | PSU0040 PSU for Zetasizer Nano DLS. |  | www.iacs.res.in |  | Analytical |  |  |  | Aimil Ltd. |  |  |  | helpdesk@iacs.res.in
Quantachrome make Surface Area Analyzer (BET) |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Quantachrome make Surface Area Analyzer (BET) | Central Scientific Service | Quantachrome make Surface Area Analyzer (BET) |  | www.iacs.res.in |  | Analytical |  |  |  | QUANTACHROME INSTRUMENTS |  |  |  | helpdesk@iacs.res.in
2.axis motor driver and distribution board of XRD Instrument. |  | Central Scientific Service |  |  |  | Institute Funding |  |  | 2.axis motor driver and distribution board of XRD Instrument. | Central Scientific Service | 2.axis motor driver and distribution board of XRD Instrument. |  | www.iacs.res.in |  | Analytical |  |  |  | Bruker Singapore Pte ltd |  |  |  | helpdesk@iacs.res.in
Heater (ACD) for FEG-TEM |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Heater (ACD) for FEG-TEM | Central Scientific Service | Heater (ACD) for FEG-TEM |  | www.iacs.res.in |  | Analytical |  |  |  | JEOL ASIA PTE LTD |  |  |  | helpdesk@iacs.res.in
Turbo Pump HiPace 80 |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Turbo Pump HiPace 80 | Central Scientific Service | Turbo Pump HiPace 80 |  | www.iacs.res.in |  | Analytical |  |  |  | Pfeiffer Vacuum GmbH |  |  |  | helpdesk@iacs.res.in
Helium Compressor Package |  | Central Scientific Service |  |  |  | Institute Funding |  |  | Helium Compressor Package | Central Scientific Service | Helium Compressor Package |  | www.iacs.res.in |  | Analytical |  |  |  | CRYOMECH |  |  |  | helpdesk@iacs.res.in