## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Bench Vice 12Cm |  | CENTRAL WORKSHOP/CWS/02/FOLIO-36/PN-10/FIXED STOCK REGISTER/27.03.17 | HERMAN |  |  | Internal | Institution |  | Bench vice | School of Mechanical Sciences | Central workshop | 21897 |  | Up | Characterization
Wall Mounted Fan 03 Nos |  | SBS PRPFESSIOR,S. PANIGRAHI &SECURITY DESK SMS | HAVELLS |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 8141 |  | Up | Characterization
Plate Heat Exchanger Basse Service Unit | PHEU | FIXED NCSR-TFL-01/RN-ME.41/FN.01/PN.03/25.04.2017 | EDIBON INTERNATIONAL, SA,SPAIN | TICC | TICC0071/11 | Internal | Institution |  | PLATE HEAT EXCHANGER UNIT | School of Mechanical Sciences |  | 838650 |  | Up | Characterization
Boiling Heat Transfer Unit with Computer Controller | BHTU | FIXED ASSET/TFL-01/RN ME 41/FN.01/25.04.2017/PN.04 | EDIBON INTERNATIONAL, SA,SPAIN | TCEC | TCEC0012/11 | Internal | Institution |  | BOILING HEAT TRANSFER UNIT | School of Mechanical Sciences |  | 977233 |  | Up | Characterization
Magnetic Board (6*4)" |  | RN.07/ROOM NO 20B/REG NO 17-18/FN.04/11.05.2017PN.01 |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 11000 |  | Up | Characterization
DC Power Supply | DC POWER | FIXED ASSET/TFL-01/RN-ME/41/FN-01/25.04.2017 | ULTRON, HYDERABAD,INDIA | UE-VPS-106 | 201703206 | Internal | Institution |  | LINEAR REGULATED VARIABLE DC POSWER SUPPLY. 0-230VOLT,22AMPS | School of Mechanical Sciences |  | 180000 |  | Up | Characterization
System Source Meter Single Channel:200V | SSMSC | TFL-01/RN/RNME/41/FN.01(A,B)/11.07.17/PN05 | KEITHLEY |  | 2611B | Internal | Institution |  | SYSTEM SOURCE METER SINGLE CHANNEL:200V | School of Mechanical Sciences |  | 489300 |  | Up | Characterization
Propne Gas With Cylinder with Trolly | PRGCY | FASR/ME/39/FN-01/(a,b)/21.07.2017/PN.07 |  |  |  | Internal | Institution |  | SUPPLY OF PROPNE GAS | School of Mechanical Sciences |  | 23399 |  | Up | Characterization
Propne Gas Regulator Ss Body 02 Nos |  | FSR/LOC-01/ENGINE LAB/REG-ME/39/ FOLIO-1 (A)/PN-08/21.08.17 |  |  |  | Internal | Institution |  | SUPPLY OF REGULATED PROPNE GAS | School of Mechanical Sciences |  | 12767 |  | Up | Characterization
Sliding Surface and Screw Cutting Lathe with Geared Head Lathe Machine with Acessories |  | CENTRAL WORK SHOP/RN-CWS/02/FN-39/17.07.17/PN.10 | HMT | L45-2000 | 14582, 14581 | Internal | Institution |  | Lathe | School of Mechanical Sciences | Central workshop | 9164448 |  | Up | Characterization
High Feed Cutter |  | MTM LAB/RN/ME/36/FN-156/12.10.17/PN.118 | SECO | HIGH FEED CUTTER | R220.21-0050-R230-4A | Internal | Institution |  | Cutting tool | School of Mechanical Sciences | MTM lab | 20762 |  | Up | Characterization
Exhaust Gas Analyzerwith Smoke Meter | EXGA | ME/39/FN-01/12.05.17/PN.06 | AVL | DITEST MDS 450 | 20253 10852 | Internal | Institution |  | 5 GAS EXHAUST GAS ANALYZER WITH SMOKE METER | School of Mechanical Sciences |  | 1473500 |  | Up | Characterization
Propne Gas Regulator SS Body |  | Location-1.C/ENGINE LAB/RN.ME/39/FN.01/21.08.17/PN.08 |  |  |  | Internal | Institution |  | PROPNE GAS REGULATOR SS BODY | School of Mechanical Sciences |  | 12767 |  | Up | Characterization
Generator 2MHz |  | LOCATION FD LAB/FR/ME/27A/FN-51/PN-41/22.09.17 |  |  |  | Internal | Institution |  | FUNCTION GENERATOR-2MHZ | School of Mechanical Sciences |  | 24980 |  | Up | Characterization
Travelling Microscope with Heavy Bed Horizontal and Vertical |  | AMLAB/ME/129/FN-71/PN-16/08.09.17 | VKSI | VKSI 0010 |  | Internal | Institution |  | Travelling microscope | School of Mechanical Sciences | AM Lab | 18644 |  | Up | Characterization
Electromagnetic Flowmeter |  | FA/LOCATION.FD LAB/RN.ME/27A/FN.50(a,b,c)/21.09.17 | MANAS MICRO SYS. PVT LTD,PUNE | DN10,DN25 | 81723558 | Internal | Institution |  | ELECTROMAGNETIC FLOWMETER | School of Mechanical Sciences |  | 101364 |  | Up | Characterization
Horizontal Band Saw With Accessories |  | CENTRAL WORK SHOP/RN.CWS/02/FN.42/05.10.17 | ULTRA CUT | UC-300DCA | M/C Identification Number: IITBBS/SMS/CENTRAL WORKSHOP/H Band SAW/CWS02/011/042 | Internal | Institution |  | Band SAW | School of Mechanical Sciences | Central workshop | 743056 |  | Up | Characterization
High Accueracy Pressure Sensore with Acesssories |  | FDLAB/RN-ME/27A/FN.52/a TO h/20.10.17/41 & 42 | MKS INSTRUMENTS, SIGNAPORE | TYPE 698 698A11TRD 698A13TRD | 018684380 018684381 | Internal | Institution |  | 10TORR PRESSURE SENSOR 1000TORR PRESSPR SENSOR | School of Mechanical Sciences | HIGH ACCUERACY PRESSURE SENSORE | 1319262 |  | Up | Characterization
Portable Surface Rougjhness Tester |  | MECHNUICAL TOOL LAB/FAR/ME/37/F.19/13.11.17/PN.04 | Mitutoyo | SJ-210 | 504781705 | Internal | Institution |  | Surface Roghness tester | School of Mechanical Sciences |  | 158835 |  | Up | Characterization
Lapping Machine with Acessories |  | MTM/REG NO.ME/29/31.01.18/FN.05/PN.23/ | SPEEDFAM | SSM-300/4TT | SFINSSM1218 | Internal | Institution |  | Lapping machine | School of Mechanical Sciences |  | 230100 |  | Up | Characterization
Digital Camera |  | FSR/ME/27A/FDLAB/ME/27A/FN.55/03.01.18/PN.43 | SONY | DSC-RX10M3 | 4493184 | Internal | Institution |  | DIGITAL CAMERA | School of Mechanical Sciences | DIGITAL IMAGEING | 106900 |  | Up | Characterization
Argon Gas with Cylinder |  | FIXED STOCK REGISTER/CWF LAB/REGD/ME/209/FN-51/PN10/02.08.18 |  |  |  | Internal | Institution |  | Gas | School of Mechanical Sciences | CWF | 20475 |  | Up | Characterization
MTM Lab Acessories |  | FIXED STOCK REGISTER/MTM LAB/PN-ME/37/FN-25/20.02.2018 | JCB |  | 22026005,22025985,22025244,22058835,22054305,22054295,22054318,22025343,22025350,22025367,30024025,22025992 | Internal | Institution |  | Hand Tools | School of Mechanical Sciences | MTM | 7960 |  | Up | Characterization
Argon Gas with cylinder |  | CWFLAB/RN-ME/20A/FN.49/PN10/21.02.18 |  |  |  | Internal | Institution |  | Gas | School of Mechanical Sciences | CWF | 24190 |  | Up | Characterization
Air Blower |  | FD LAB/ME/27A/57/43/12.03.18 | BLACK DECKER |  | BDB530-B5 | Internal | Institution |  | AIR BLOWER | School of Mechanical Sciences | AIR BLOWER | 1989 |  | Up | Characterization
Single Phase 1 HP Motor |  | MMLAB/ME03A/40 (a-b)/PN-09-10/08.11.17 | CROMPTON |  | QHG24042 | Internal | Institution |  | SINGLE PHASE 1 HP MOTOR | School of Mechanical Sciences | SINGLE PHASE 1 HP MOTOR | 20912 |  | Up | Characterization
0.25 HP Single Motor |  | MMLAB/ME40A/63/PN-20/08.1.17 | CROMPTON |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  |  |  | Up | Characterization
Thermo couple welder |  | TFL-01/RN-ME/41/11.05.18/PN.11 | BEL |  | PL-WELD9 | Internal | Institution |  | THERMOCOUPLE WELDER | School of Mechanical Sciences | THERMOCOUPLE WELDER | 103950 |  | Up | Characterization
Differential Pressure Transmitter |  | FIXED STOCK REGISTER/LOC-FD LAB/RN/ME/27A/FN.60/02.04.18/PN.44 | YOKOGOWA |  | EJA110E-JFS4J-912EB EJA120E-JES4J-912EB | Internal | Institution |  | DPT-2-20 IN WC DPT-0.4-4 IN WC | School of Mechanical Sciences | PRESSURE MESUREMENT | 158002 |  | Up | Characterization
PH Meter |  | LOC-TFL-I/RN.ME/41/FN.01/11.05.18/PN.10 | HANNA EQP. INDIA |  | H12030-02 | Internal | Institution |  | HEC-230VOLT PH METER | School of Mechanical Sciences | MESUREMENT OF PH VALUE OF DIFFERENT SOLUTIONS | 47918 |  | Up | Characterization
Dehumidifier |  | FIXED STOCK REGISTER/LOC-RN-ME/47/FN.03/16.05.18/PN.01/ | NOVITA | ND690 | ND690-1601-0078 | Internal | Institution |  | DEHUMIDIFIER | School of Mechanical Sciences | DEHUMIDIFICATION | 75511 |  | Up | Characterization
Barcol Hardness Tester |  | SM LAB/RN-ME/11-63/13.06.18/PN.03/SMLAB/RN ME/12/FN-195/a,ab,a/13.06.18/pn.19 | AIMIL | Elcometer 3101 | GYZJ 934-1 | Internal | Institution |  | Hardness tester | School of Mechanical Sciences | Material Testing Lab | 175730 |  | Up | Characterization
Schew Type Air Compressor |  | MTMLAB/ME-37/FN-22A/31.01.18/PN.05 | Atlas Copco | GX7-10FM | 8973173961 | Internal | Institution |  | Compressor | School of Mechanical Sciences | MTM | 217051 |  | Up | Characterization
Infrared Temprature Reader |  | CWF LAB/RN-ME/20A/FN-50/06.06.18 | Extech | VIR-50 | 170402994 | Internal | Institution |  | Infrared Temp Reader | School of Mechanical Sciences | CWF | 55341 |  | Up | Characterization
Turbine Traainer-Pilton Turbine Test |  | FDLAB-LOC-RN-ME/27A/FN-61/18.08.18/PN.45 | KC ENGINERS LTD,INDIA | KCFM-304--DL-52 |  | Internal | Institution |  | 1KW COPUTERIZED TURBINE TRAAINER-PILTON TURBINE TEST | School of Mechanical Sciences | STUDY OF TUBINE EFFICINCY | 523719 |  | Up | Characterization
Muffle Furnace Creamic Rod Based 500 Pc |  | CENTRAL WORKSHOP/02/FN-51/20.08.18/PN.13 | M/S Dass and Co | Model-DC-HCF/8 | 2018-19/01 | Internal | Institution |  | Furnace | School of Mechanical Sciences | Central Worshop | 177345 |  | Up | Characterization
DG Height Gause |  | FA/MTMLAB/ME/137/26/PN-008/07.09.18 | BAKER | DH 300 | C1804160098 | Internal | Institution |  | Height Gauge | School of Mechanical Sciences | MTM Lab | 20228 |  | Up | Characterization
1 HP Pump |  | FA/ME/27A/62/PN-45/FD LAB/24.8.18 | CG | MINIMASTER |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 7130 |  | Up | Characterization
Cut Sectional Demnostration 04Nos |  | FA/ME/39/FN-01/PN-14/ TO 17/I.C ENGINE LAB/20.09.18 | NIYO ENGINEERS ,PUNE,INDIA |  |  | Internal | Institution |  | 1 CY 4S PETROL 1CY 2S PETROL 1CY 4S DESIEL 1CY 2S DESIEL | School of Mechanical Sciences | STUDY OF IC ENGINE | 19740 |  | Up | Characterization
Cylinder |  | SBS/C&G/PN-38/SN-222/18-19/08.10.18 |  |  | 1163 | Internal | Institution |  |  | School of Mechanical Sciences |  | 14280 |  | Up | Characterization
Angel Grinder 02 Nos |  | FIXED REGISTER/CWLAB/ME 20A/FN-52/PN-10/10.09.18 | BOSCH | GWS 900-125 | 803109967 2018,803109980 2018 | Internal | Institution |  | Grinder | School of Mechanical Sciences | CWF Lab | 8295 |  | Up | Characterization
Argon Regulator and Flow Meter |  | FIXED STOCK REGISTER/AMLAB/ME-29/FN-76/PN-18/08.11.18 | ESAB |  |  | Internal | Institution |  | Gas Regulator | School of Mechanical Sciences | AM Lab | 4337 |  | Up | Characterization
Argon Cylinder with Gas |  | FIXED STOCK REGISTER/AM LAB/ME-29/FN-75/PN-18/1.11.18 |  |  |  | Internal | Institution |  | Gas | School of Mechanical Sciences | AM Lab | 21525 |  | Up | Characterization
C Type Hydraulic Machine |  | CENTRAL WORKSHOP/02/RN-CWS/02/FN-52/11-09-18/PN-13 | Power Hydraulics | PHC-60 | M/C Identification no: IITBBS/SMS/CENTRALWORKSHOP/C-Type Hyd Press/CWS02/013/052 | Internal | Institution |  | Hydraulic press | School of Mechanical Sciences | Central Workshop | 404250 |  | Up | Characterization
Height Master with Standard Acessories |  | METROLOGY LAB/PN-ME/07/FN-25/29.09.18/PN.10 | Mitutoyo | 515-378 | 1720015 | Internal | Institution |  | Height Master | School of Mechanical Sciences | Metrology Lab | 366667 |  | Up | Characterization
Rotary Bend Fatigue Testing Machine |  | SM LAB/RN-ME/12/FN-198/19.09.18/PN-20/ | GUNT | WP-140 | 231369(Ratary bend fatigue machine), 231370(Data Acquistion) | Internal | Institution |  | Fatigue test machine | School of Mechanical Sciences | Material Testing Lab | 875628 |  | Up | Characterization
Bore Dial Gauge and Acessories |  | METROLOGY LAB/ME/07/27/a to f /PN-11/FIXED STOCK REGISTER/09.11.18 | Mitutoyo | 205-120-10,511-711,511-712,511-713,526-126,526-127 | 450126,751582,8494655,7480167,7483907 | Internal | Institution |  | Bore dial gauge set | School of Mechanical Sciences | Metrology Lab | 131277 |  | Up | Characterization
Gauge Block Set |  | FIXED STOCK REGISTER/METROLOGY LAB/ME/07/FN-26/PN-10/24.09.18 | Mitutoyo | 516-946-60 | 1804956 | Internal | Institution |  | Gauge block | School of Mechanical Sciences | Metrology Lab | 174321 |  | Up | Characterization
Roboltic Acessories |  | CONSUMABLE STOCK REGISTER/AIM LAB/ME/26A /FN/256/a-c/PN-74/13.09.18 | Kinova |  |  | Internal | Institution |  | Motors | School of Mechanical Sciences | AIM Lab | 146139 |  | Up | Characterization
Dynamometer |  | MTM LAB/RN-ME/37/FN.28/a-d/05.10.18/PN.08 | Kristler | Dynamometer-9257B DAQ-5687A Amplifier-5070A | Sl no 5217221(Dyanamometer), SL no 5310271(DAQ), Sl no-5284525(Amplifier) | Internal | Institution |  | Force Measurement Dynamometer | School of Mechanical Sciences | MTM Lab | 4331718 |  | Up | Characterization
DC Regulated Power Supply |  | FIXED STOCK REGISTER/TFL-Z/ME/41/01/PN-13/15.11.18 | HTC |  |  | Internal | Institution |  | DC REGULATED POWER SUPPLY 0-0VOL,5AMPS | School of Mechanical Sciences | DC POWER SUPPLY | 8032 |  | Up | Characterization
Temperture Data Logger |  | CWF LAB/RN-ME/20A/FN-53/a-b/26.10.18/PN 10-11 | RIGOL | M 302 | MM3A201400042 (Datalogger) | Internal | Institution |  | Temperature Data logger | School of Mechanical Sciences | CWF | 198450 |  | Up | Characterization
Ring Gauge of Different Sizes |  | CONSUMABLE STOCK REGISTER/ME/08/09/a-g/PN-03/-08/NETEW LOGGER LAB/11.06.18 | Mitutoyo | 110014,170089,140287,170077,170517,150420,141962,170137,172249,170142,162387,160792,172604,170283,170753,180018,170155 | 177-286,177-279,177-177,177-133,177-275,177-284,177-125,177-285,177-139,177-132,177-126,177-288,177-290,177-140,177-146,177-178,177-292 | Internal | Institution |  | Ring Gauge | School of Mechanical Sciences | Metrology | 139832 |  | Up | Characterization
FRC 1/2 Midifilter Regulator Lubrication 1/2 |  | FIXED STOCK REGISTER/MTM LAB/ME/37/FN-31/PN-09/05.12.18 | FESTO |  | FESTO LOE-D-MIDI K143 | Internal | Institution |  | Air Filter Regulator | School of Mechanical Sciences | MTM Lab | 23670 |  | Up | Characterization
Sony LED TV 50" |  | ROOM NO-22/FN-01 -18-19/FN-07/12.12.18/PN.02 |  | ITJ124123 | KLV-50W662F | Internal | Institution |  |  | School of Mechanical Sciences |  | 23244 |  | Up | Characterization
Air Drier and Filter |  | MTM LAB/RN-ME/37/FN-29/a-b/25.10.18/PN.09 | Chicago Pneumatic |  | CPX-40 | Internal | Institution |  | Air Drier and Filter | School of Mechanical Sciences | MTM Lab | 133749 |  | Up | Characterization
Air Net Pipeline |  | MTM LAB/RN-ME/36/FN-197/a-b/25.10.18/PN-64 TO 66 |  |  |  | Internal | Institution |  | Air net pipe line | School of Mechanical Sciences | MTM Lab | 86419 |  | Up | Characterization
Shaping Machine |  | CENTRAL WORK SHOP/RN.CWS/02/FN-54/PN.14/30.11.18 | ATLAS INDIA | AMI-18-ALL GEARED |  | Internal | Institution |  | Shaping Machine Tool | School of Mechanical Sciences | Central workshop | 230250 |  | Up | Characterization
Coriolis Force Demonstrator Apparatus |  | FIXED ASSET REGISTER/M.M LAB/ME/03A/FN-44 (a-b)/10.09.18/PN.10 | GUNT,GERMANY | TM -605 | 231073 | Internal | Institution |  | CORIOLIS FORCE DEMONSTRATOR APPARATUS | School of Mechanical Sciences | STUDY OF CORIOLIS FORCE | 868522 |  | Up | Characterization
Ultrasound System |  | FIXED ASSET STOCK REGISTER-01/FN-06/SN-15 (i) &(ii)/31.10.18 |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 227115 |  | Up | Characterization
45 KVA Servo Stabiliser |  | MTMLAB/RN-ME/37/FN.30/26.10.18/PN.09 | Servo star | 45 KVA | SS/109/1300413 | Internal | Institution |  | Stabiliser | School of Mechanical Sciences | MTM Lab | 100044 |  | Up | Characterization
Amplifier |  | FIXED ASSET STOCK REGISER FD LAB/RN.ME/27A/FN.67/03.01.2019/PN.48 | PIEZO DRIVE,AUSTRALLIA | TD250 | 67 | Internal | Institution |  | PIEZO AMPLIFIER | School of Mechanical Sciences | AMPLIFIER FOR DRIVING PIEZO TUBES | 134203 |  | Up | Characterization
Syringe Pump |  | MFLAB/RN.ME/45/FN.01/07.01.19/PN08 | NEWERA,USA | CAT1000 | 296480 | Internal | Institution |  | SYRINGE PUMP range-5µLl to60ml microprocessor programable | School of Mechanical Sciences | Gradually administer small amounts of fluids for research. | 149079 |  | Up | Characterization
Aquaguard Storge Cooler Cum Purifier |  | FIXED ASSET REGISTER/SN-19/PN.70/14.01.19 |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 47000 |  | Up | Characterization
Bench Centre With Standard Accessories |  | METROLOGY LAB/PN-ME/07/FN-23 a to e/04.09.18/PN 09& 10 | Jafuji | 3010 | 5582 | Internal | Institution |  | Bench Centre | School of Mechanical Sciences | Metrology | 70785 |  | Up | Characterization
High Vacuum Oil Free Pump |  | ME/45/01/PN07/07.12.18 | ROCKER | ROCKER800 | 167800-22-AHGB072 | Internal | Institution |  | HIGH VACUUM OIL FREE PUMP RANGE-700mm of Hg | School of Mechanical Sciences | Vacuum regulator. Vacuum drying / oven / defoaming. Vacuum Filtration. Air sampling. | 36855 |  | Up | Characterization
Profile Projector with Standard Accessories |  | ME/07/FN-28/PN-12/24.01.19 | SIPCON | DC 3000 | EJJ01603 | Internal | Institution |  | Profile Projector | School of Mechanical Sciences | Metrology Lab | 388500 |  | Up | Characterization
Temperture Data Logger |  | ME/47/FN.05/PN.142/23.01.19 | NATIONAL INSTRUMENTS | NI9211 NI9213 NI9174 | 1D68F7A 1DC4B6F 1DCA148 | Internal | Institution |  | TEMPERTURE DATA LOGGER | School of Mechanical Sciences | 16 Ch TEMPERTURE DATA LOGGER | 199942 |  | Up | Characterization
Filter Regulator Festo |  | F.NO-ME/37/NO.32/03.01.19 | FESTO | LOE-D-MIDI K643 |  | Internal | Institution |  | Air filter regulator | School of Mechanical Sciences | MTM Lab | 6825 |  | Up | Characterization
High Temperature Tube Furnac with Vaccum System |  | CENTRAL WORKSHOP/RN-02/FN-53/PN-14/26.10.18 | REICO | RTF/PID/PC/V1450 | M/C Indentification No IITBBS/SMS/Central workshop/Vacuum Furnace/CWS02/01/053 | Internal | Institution |  | Furnace | School of Mechanical Sciences | Central workshop | 378000 |  | Up | Characterization
Engine Cut Sectional and Demonstration Models |  | I.C ENG LAB/REG.ME/39/FN-I(a to f)/pn.19/09.11.18 | NIYO ENGINEERS,PUNE,INDIA |  |  | Internal | Institution |  | 1.ACTUAL WORKING TRAINER OF MULTIPOINT FUEL INJECTION SYSTEM OF PETROL ENGINE. 2.CUT-SECTIONAL WORKING MODEL OF MPFI 3 CY 4S PETROL ENGINE. 3.CUT-SECTIONAL WORKING MODEL OF 1 CY 4S DEISEL ENGINE. 4.CUT-SECTIONAL WORKING MODEL OF 1 CY 2S PETROL ENGINE. 5..CUT-SECTIONAL WORKING MODEL OF 1 CY 4S PETROL ENGINE. 6.ACTUAL WORKING TRAINER OF 4S 4CY DEISEL ENGINE FUEL SYSTEM. | School of Mechanical Sciences |  | 314685 |  | Up | Characterization
Digital Data Logging Multimeter | DDLM | FIXED ASSETS STOCK REGISTER-01/FD LAB/RN -ME.27A/FN-68/PN-48/06.03.19 | KEYSIGHT | MY59020046 | 34450A | Internal | Institution |  | DIGITAL DATA LOGGING MULTIMETER. 11 MEASUREMENT FUNCTIONS: DC VOLTAGE AND CURRENT, TRUE RMS AC VOLTAGE AND CURRENT, FREQUENCY, CONTINUITY, DIODE TEST, CAPACITANCE, AND TEMPERATURE | School of Mechanical Sciences |  | 55650 |  | Up | Characterization
Arbitrary Function Generator |  | FDLAB/ME/27A/FN.66/20.12.18/PN.47 | TEKTRONIX | AFG3022C | AFG3022C C020851 | Internal | Institution |  | Function Generators & Synthesisers Arbitrary Function Generator: 2Channel 25MHz Bandwidth 250MSa/s sampling rate 128k points arbitrary waveform memory 14-bit vertical resolution 10Vpp to 50ohm traceable calibration certificate standard | School of Mechanical Sciences | Function Generators | 172200 |  | Up | Characterization
Cylinder with Nitrogen Gas |  | F.N/ME/20A/55/PN.11.1/07.03.19 | NA |  |  | Internal | Institution |  | Gas | School of Mechanical Sciences | CWF Lab | 17850 |  | Up | Characterization
Inverted Fluorescence Microscope with Digital Camera | MICROSCOPE | FIXED STOCK REGISTER/ME/45/MICRO VID LAB/RN.ME4/FN.01/29.03.19/PN.09 | RADICAL SCINTIFIC EQUIPMENT,INDIA | RTC7A | B-1903189 | Internal | Institution |  | INVERTED FLURACENT TISSUE CULTURE MICROSCOPE.CE MARK WITH FLOROCENT ATT | School of Mechanical Sciences | MICROSCOPE. | 817425 |  | Up | Characterization
Cylinder With Co2 Gas and Regulator |  | CENTRAL WORK SHOP/RN.02/FN.58 A/PN.15/18.04.19 | ESAB(Regulator) | DURA Co2(Regulator) |  | Internal | Institution |  | Gas Regulator | School of Mechanical Sciences | Central workshop | 32400 |  | Up | Characterization
Gigabyte B85 Grafix | GRAFIX | FIXED STOCK REGISSTER/AIM LAB/ME25 A/140 A/08/08.05.19 |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 10500 |  | Up | Characterization
4 Stroke Single Cylinder Diesel Engine with Eddy Current Dynamometer Test Rig | DTR | FIXED STOCK REGISTER/NCSR/RN.ME/39/FN.01/PN.22/13.05.19 | MMI,INDIA | MMIICE012 |  | Internal | Institution |  | 4 Stroke Single Cylinder Diesel Engine with Eddy Current Dynamometer Test Rig | School of Mechanical Sciences | PERFORANCE TEST ON DEISEL ENGINE | 220500 |  | Up | Characterization
DC Power Supply | DCPS | FIXED ASSET STOCK REGISTER/FD LAB/RN.ME/27A/FN.71/18.04/19/PN.50 | APLAB LTD, INDIA | L3260 | H011L32600319013 | Internal | Institution |  | 2000W different combination. DC POWER SUPPLY. 0 TO 32 VOLT. 0 TO 60AMPS | School of Mechanical Sciences | REGULATED DC POWER SUPPLY | 73500 |  | Up | Characterization
DC Power Supply | DCPS | REGD NO ME/29/FN.80/PG N.19/30.09.19 | Vartech | 3005B | 018091141,018091065 | Internal | Institution |  | DC Power Source | School of Mechanical Sciences | AM Lab | 24675 |  | Up | Characterization
Projector | PROJECTOR | RN.304/RN 01/19-20/FN.10/PN.04/30.07.2019 | BENQ | MS550P | MS550P | Internal | Institution |  |  | School of Mechanical Sciences |  | 24900 |  | Up | Characterization
Multifunctional Printer | PRINTER | SMS OFFICE/RN.01/FN.14/PN.04/19.09.09 | TOSHIBA | 3518A |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 168500 |  | Up | Characterization
IR Pyrometer | IP | MTM LAB/RN.ME/37/FN34 A&b/PN.10/21.06.2019 | Micro Epsilon | CTLM-3HISF300-C3, USBK-CTL-USB | 1904080,9041801 | Internal | Institution |  | Pyrometer | School of Mechanical Sciences |  | 93816 |  | Up | Characterization
Actuators, Controller and Desktop Computer | ACDC | MIM LAB/ME LAB/25A/FN.41 A&B/25.06.2019/PN.09 | KINOVA |  | Atcuator- WO512489-2,WO512489-13,WO512489-14 Controller-PC 10130001 Monitor slno-CN-0W60D2-FCC0089B-D68I-A04 CPU sl no- 6DWX3W2 | Internal | Institution |  | Acuators | School of Mechanical Sciences | AIM Lab | 999944 |  | Up | Characterization
Cylinder Trolley | ST | CWS PN.16/FN.61/20.11.2019 |  |  |  | Internal | Institution |  | Trolley | School of Mechanical Sciences | Central Workshop | 9345 |  | Up | Characterization
Pedastal FAN 400 mm | FAN | F.N.04/RN.01/19.08.2019 | CROMPTON | PFBRISSA | IAWJIRD-016245 | Internal | Institution |  | FAN | School of Mechanical Sciences | G-21 | 2600 |  | Up | Characterization
Tool Trooly 5 Drawer | TROOLY | FDLAB/RN.ME/27A/FN74/PN51/05.08.2019 | SNAPON BLUEPONT |  |  | Internal | Institution |  | 5 DRAWER TOOL TROLLEY | School of Mechanical Sciences | TOOL TROLLEY | 24780 |  | Up | Characterization
Cafe Machine | CM | RN OI.19-20/FN.12/PN 04/20.08.2019 | ATLANTIC | TVC5N2LANETOKEN | CM-02T-19A-594 | Internal | Institution |  | BEVERAGE MACHINE | School of Mechanical Sciences | G-20 | 24000 |  | Up | Characterization
Depatmental Board Size 16"*4" with Fitting |  | RN.01/FN.28/PN.05/27.08/19 |  |  |  | Internal | Institution |  | f | School of Mechanical Sciences | g-202 | 16614 |  | Up | Characterization
Tripod Stand | TS | RN CWS/02/F.N.07/082/27.08.19 | Scholar |  |  | Internal | Institution |  | Tripod stand | School of Mechanical Sciences | Central workshop | 9440 |  | Up | Characterization
Vernier Calliper | VC | RN.ME/43/F.N 07/PN02/26.08.2019 | MITUTOYO |  |  | Internal | Institution |  | 0-150MM | School of Mechanical Sciences | DIMENSION MEASUREMENTS | 4200 |  | Up | Characterization
Vernier Calliper | VC | RN.ME/27A/F.N 078/PN053/28.08.2019 | MITUTOYO |  |  | Internal | Institution |  | 0-150MM | School of Mechanical Sciences | DIMENSION MEASUREMENTS | 8400 |  | Up | Characterization
Vernier Calliper | VC | RN.ME/39/F.N 01/PN024/26.08.2019 | MITUTOYO |  |  | Internal | Institution |  | 0-150MM | School of Mechanical Sciences | DIMENSION MEASUREMENTS | 4200 |  | Up | Characterization
Pitot Tube with Micrometer and 3D Mechanism |  | FIXED ASSET/FDLAB/RN.ME/27A/F.N76/(a,b,c)/pn052/14.08.2019 | SMPL,BANGALORE | SM-PT-01 |  | Internal | Institution |  | 1-100MM Wc PITOT TUBE WITH MICROMETER AND 3D MECHANISM | School of Mechanical Sciences | Measurement flow profile in a duct or channel | 567945 |  | Up | Characterization
Multi Functional Ventilation Meter with Probe | MVMP | STOCK REGISTER/THERMAL LAB/REGD NO-ME/47/F.N08/a,b/P.N-02/26.18.19 | TSI | 9565-X | 9565X1831001 | Internal | Institution |  | MULTI FUNCTIONAL VENTILATION METER WITH PROBE | School of Mechanical Sciences | VELOCITY MEASUMENT | 198500 |  | Up | Characterization
Mass Flow Controller | MFC | FIXED STOCK REGISTER/FDLAB/ME/27A/FN.77(a,b)/P.N.52&53/19.08.19 | AALBORG | GFC77A-BFLO-DO | 500055-I | Internal | Institution |  | 200-1000SL/MIN MASS FLOW CONTROLLER | School of Mechanical Sciences | MASS FLOW CONTROLLER | 170503 |  | Up | Characterization
Parabolic Trough Collector | PTC | FIXED STOCK REGISTER/TFL-11/R.N/06/22.08.2019 | SMART BRICK,TN,INDIA |  |  | Internal | Institution |  | MANUAL TRACKING PARABOLIC TROUGH COLLECTOR | School of Mechanical Sciences | STUDY ON SOLAR ENERGY | 189000 |  | Up | Characterization
Welding Machine ARC | WM | RN.ME/39/FN.01/PG.025/13.09.2019 | ESAB | ARC200I | V61200304288190506392 | Internal | Institution |  | ARC WELDING MACHINE | School of Mechanical Sciences | ARC WELDING | 13398 |  | Up | Characterization
Induction Cook with Kettle | IC | RN.OI/19-20/FN.13 /PN155/16.09.19 |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 5360 |  | Up | Characterization
Trolly With Wheel and Table |  | RN.ME/20A/F.N-57/PN.11/15..10.2019 | Real consultive Bhubaneswar |  |  | Internal | Institution |  | Trolley | School of Mechanical Sciences | CWF Lab | 24990 |  | Up | Characterization
LVDT | LVDT | RN.CWS/01/FN.172/PN.97/31.10.22019 | Real consultive Bhubaneswar |  |  | Internal | Institution |  | LVDT | School of Mechanical Sciences | Central workshop | 13125 |  | Up | Characterization
Film and Drop Wise Condensation Unit |  | FIXED STOCK REGISTER/TFL-1/RN.ME/41/FN.01/06.11.2019/PM.16 | CREATIVE LAB ,INDIA | CLHT-22 |  | Internal | Institution |  | Film and Drop wise condensation unit | School of Mechanical Sciences | Study on Film and Drop wise condensation | 84000 |  | Up | Characterization
CCTV Camera | CCTV | GUEST HOUSE/FIXED STOCK REGISTER/P.N-71TO 73/SN.27 TO 36/21.01.2020 |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 87071 |  | Up | Characterization
Tank Gi Sheet Gi Sheet Bending |  | RN.ME/28C/F.N.202/P.N074/06.11.19 |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 20206 |  | Up | Characterization
Ultrasonicator |  | FIXED STOCK REGISTER/TFL-1/RN.ME/41/FN.01/14.11.19/PN.17 | TAKSHI,JAPAN | U65 | 71019090 | Internal | Institution |  | ULTRASONICATOR Frequency 19.5 - 20.5 KHz Amplitude Variation 1% - 99% Probe Material Titanium Power Supply 220 ~ 240 VAC, 50/60 Hz | School of Mechanical Sciences | Ultrasonic Homogenizer | 283238 |  | Up | Characterization
Airvelcity Transuducer and Plc with SCDA Software |  | FIXED ASSET STOCK REGISTER/RN.ME/47/FN.9/14.11.201/PN.03 | TSI | 8475 | 69040020 69040021 | Internal | Institution |  | LOW AIR VELCITY TRANSUDUCER & PLC WITH SCDA SOFTWARE | School of Mechanical Sciences | AIR VELCITY MEASUREMENT | 399000 |  | Up | Characterization
Batteery Charger | CHARGER | RN.ME/39/F.N.01/PN.28/25.11.19 | BLUEPOINT | BLPBBC200 |  | Internal | Institution |  | BATTEERY CHARGER | School of Mechanical Sciences | BATTEERY CHARGER | 14296 |  | Up | Characterization
Vernier Calliper 06 Nos |  | CWS/02/F.N.59/PN.15/14.11.2019 | Mitutoyo | 532-120(0-200mm) | 13043039,13043051,13043028,13042963,13043024 | Internal | Institution |  | Vernier Caliper | School of Mechanical Sciences | Central workshop | 22050 |  | Up | Characterization
Gear Tooth Vernier Calliper 03 Nos |  | R.N ME/07/F.N30/PN.12/16.01.2020 | YAMAYO |  | ,4-13040010,4-13100239,4-13100261 | Internal | Institution |  | Gear Tooth Vernier Caliper | School of Mechanical Sciences | Metrology | 19215 |  | Up | Characterization
Vernier Calliper 05 Nos |  | R.N/ME/37/FN36/PN.11/12.03.2020 | Mitutoyo | 532-119(6") | 12301559,19064505,19064546,19062026,19040146 | Internal | Institution |  | Vernier Caliper | School of Mechanical Sciences | MTM Lab | 13991 |  | Up | Characterization
Vernier Calliper 04 No S+Feeler Gauge 02 Nos |  | RN-ME/11/FN65/PN.04/12.03.2020 | Mitutoyo | 532-119(6") | 18286298,19040083,19064515,19176778 | Internal | Institution |  | Vernier Caliper and feeler gauge | School of Mechanical Sciences | Material Testing Lab | 16034 |  | Up | Characterization
Multi Cylinder MPFI Spark Ignition Engine Ntest Ring |  | FIXED ASSET REGISTER/LOCATION-1-C/ENGINE LAB REG-ME/39/FOLIO.01/23.10.2019/PN-027 | TTE,BANGALORE, INDIA | TTE/PT-C3 |  | Internal | Institution |  | MULTI CYLINDER MPFI SPARK IGNITION ENGINE TEST RING | School of Mechanical Sciences | PERFORMANCE TEST ON IC ENGINE | 1208130 |  | Up | Characterization
Metal Tube Rota Meter |  | RN.ME/43/F..08/P.N.02/09.11.19 | NA |  |  | Internal | Institution |  | METAL TUBE ROTA METER | School of Mechanical Sciences | WATER FLOW MESUREMENT | 21480 |  | Up | Characterization
Micrometer Stand |  | RN.07/FN.029/PN.12/16.01.2020 | MITUTOYO | 156-101-10, MS-RB |  | Internal | Institution |  | Micrometer Stand | School of Mechanical Sciences | Metrology Lab | 13440 |  | Up | Characterization
Optical Flow Visualization Setup |  | FIXED STOCK REGISTER/FD LAB/RN.ME/27 A/FN.81/A TO C /05.02.2020/PN.53. TO 54 | SUNSHINE MEASUREMENTS, BANGALORE,INDIA |  |  | Internal | Institution |  | OPTICAL FLOW VISUALIZATION SETUP | School of Mechanical Sciences | OPTICAL FLOW VISUALIZATION SETUP | 422487 |  | Up | Characterization
Talyrond Machine with Acessories |  | MTM LAB/TN.ME37/FN.35/16.10.19/PN.10/ | Taylor Hobson | Surtronics R-50 | SER-10428 | Internal | Institution |  | Talyrond | School of Mechanical Sciences | MTM Lab | 1292194 |  | Up | Characterization
Rolling Machine with Acessories |  | CENTRAL WORK SHOP/RN.02/FN.62/26.12.2019/PN16 | BMT | PBM315S | M/C Indentification no IITBBS/SMS/Central workshop/Rolling Machine/CWS02/016/062 | Internal | Institution |  | Rolling Machine | School of Mechanical Sciences | Central workshop | 689619 |  | Up | Characterization
Differential Scanning Calorimeter | DSC | FIXED STOCK REGISTER-IFL-1/RN ME/41/FN.01/ A to H/PN 19 &20/06.03.2020 | SETARAM | SETLINE DSE | DSC-19-0024 | Internal | Institution |  | DIFFERENTIAL SCANNING CALORIMETER | School of Mechanical Sciences | HEAT AND HEAT FLOW MEASUREMENTS | 1600000 |  | Up | Characterization
Vernier Caliper(05Nos) |  | RN-CWS/02/FN.63/SN.16/12.03.2020 | Mitutoyo | 532-119(6") | 19223460,18286314,19064430,19064448,19064499 | Internal | Institution |  | Vernier Caliper | School of Mechanical Sciences | Central workshop | 13991 |  | Up | Characterization
Water Cooler | WC | SMS BUILDING/R.N.01/F.N.16/17.03.2020 | USHA | USHA-HSW 8418 | R8ZG21814 (04) | Internal | Institution |  | WATER COOLER | School of Mechanical Sciences | G-23 | 140840 |  | Up | Characterization
Cylinder With Argon Gas | CYLINDER | ME.29/FN.82/PN.19/28.08.2020 | NA |  |  | Internal | Institution |  | Gas with cyliner | School of Mechanical Sciences | AM Lab | 14910 |  | Up | Characterization
EUROCLASH IC LEAH GFCDICLEN00000 | EIL | R.N.CWS02/FN.65/PN.16/11.06.2020 | Eureka Forbes |  |  | Internal | Institution |  | Vacuum Cleaner | School of Mechanical Sciences | Central workshop | 20800 |  | Up | Characterization
EUROCLASH IC LEAH GFCDICLEN00001 | EIL | R.N.CWS02/FN.64/PN.16/11.06.2021 | Eureka Forbes |  |  | Internal | Institution |  | Vacuum Cleaner | School of Mechanical Sciences | Central workshop | 20800 |  | Up | Characterization
Date Acquisation Card | DAC | FAR/FD LAB/ME.27A/FL.82(a,b,c)/pn.55/20.06.2020 | NATIONAL INSTRUMENTS | USB 6351 | IEB0087 | Internal | Institution |  | 16 Ch SINGLE ENDED MULTIFUNCTION I/O DEVICE | School of Mechanical Sciences | DATA ACQUISITION | 164220 |  | Up | Characterization
Heat Flax Sensor with DAQ | DAQ | FSR/OPT THERMAL LAB/REGD N.ME-47/FN.10/PN.10/15.06.2020 | HUKSFFLUX | FHF 02-02 with LI19 | 16110610 16110620 | Internal | Institution |  | FOIL HEAT FLAX SENSOR WITH THERMAL SPREADER -SIZE-50×50MM | School of Mechanical Sciences | HEAT FLUX MEASUREMENTS | 105000 |  | Up | Characterization
Digital Electronic Scale | DES | FIXED STOCK REGISTER/AM LAB/REGD NO-ME-29/FN.83/PN.19/17.07.2020 |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 147000 |  | Up | Characterization
Multi Channel Amplifier and Analog Filter | MCA | FSR/FDLAB/REGD.ME/27A/F.N-84 (a to c)/PN.056/03/08/2020 | DEWETRON | DEWE-30-8 | 52200722-IND | Internal | Institution |  | MULTI CHANNEL AMPLIFIER AND ANALOG FILTER | School of Mechanical Sciences | SIGNAL CONDITIONING CHASSIS | 406417 |  | Up | Characterization
Vacuum Cleaner | VC | FIXED STOCK REGISTRAR/SMS/PROJ-1/FN.01/PN.01/17.07.2020 | Eureka Forbes | I Clean | 113709594006011,1113703504011311,1113703504011286,1113702504010243,1113706504000143,1113706504000153,1113709594005873,1113701504009604 | Internal | Institution |  | Vacuum Cleaner | School of Mechanical Sciences |  | 83200 |  | Up | Characterization
STIHL ( MIST Blower) | STIHL | MTM LAB/REGD NO ME.37/FN.37/PN.11/17.07.2020 | STIHL | SR-420 | 367363603,367363602 | Internal | Institution |  | Mist Blower | School of Mechanical Sciences | MTM Lab | 75129 |  | Up | Characterization
Sieve Shaker with Sieve Set | SSSS | CENTRAL WORKSHOP/REN.CWS/02/FN/67/PN.17/14.10.2020 | Versatile Equipment Pvt Ltd | VGHII | VGH200301 | Internal | Institution |  | Sieve Shaker | School of Mechanical Sciences | Central workshop | 67511 |  | Up | Characterization
Permeability Meter | PM | CENTRAL WORKSHOP/REN.CWS/02/FN/68/PN.17/14.10.2020 | Versatile Equipment Pvt Ltd |  | VP 200104 | Internal | Institution |  | Permeability Meter | School of Mechanical Sciences | Central workshop | 34517 |  | Up | Characterization
Dessicator | DESSICATOR | AM LAB/RGD.ME-29/FN.84/PN.020/21.10.2020 | Tarsons | 404030 |  | Internal | Institution |  | Dessicator | School of Mechanical Sciences | AM Lab | 121800 |  | Up | Characterization
Roytary Vare Vacuum Pump | RVVP | AM LAB/REGD ME 29/FN.85/PN.020/21.10.2020 | ROCKER | Tanker 150 | 187150-22-AHF030 | Internal | Institution |  | Vacuum pump | School of Mechanical Sciences | AM Lab | 98280 |  | Up | Characterization
Universal Sand Testing Machine | USTM | CENTRAL WORK SHOP/REGD NO.02/FN.69/PN.17/28.10.2020 | Versatile Equipment Pvt Ltd | VUN | VUN/191203 | Internal | Institution |  | Universal Sand Testing Machine | School of Mechanical Sciences | Central workshop | 69563 |  | Up | Characterization
Industrial Blower | IB | CWS/02/FN.66/PN.16/13.10.2020 | APURAV Motorised Blower | 70 | NA, Identification no: IITBBS/SMS/Central workshop/IB/CWS02/016/066 | Internal | Institution |  | Blower | School of Mechanical Sciences | Central workshop | 11564 |  | Up | Characterization
Cctv Camera | CC | SMS/REGD.01/FN.19-23/PN 05 TO 06/05.11.2020 |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 220395 |  | Up | Characterization
Samsung TV 32" Led | TV | F.N.73/SN.38/18.11.20/ |  |  |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 17010 |  | Up | Characterization
Samsung TV 32" Led | TV | F.N.27/SN.06/23.11.20/ | SAMSUNG | UA32T4310AKXXL/20 | 26 | Internal | Institution |  | SAMSUNG SMART TELIVISION TV 32'' LED BACK LIFT LED | School of Mechanical Sciences | G-23 | 17010 |  | Up | Characterization
Air Jet Erosion Test Ring | AIR JEYT EROSION TEST RING | SMS LAB /ME.11/FN.66/PN.04/22.07.2020 | DUCOM Instruments | TR-471-400 | 1201 | Internal | Institution |  | Air jet erosion test rig | School of Mechanical Sciences | Material Testing Lab | 1319000 |  | Up | Characterization
Sample Polishing Machiine | SPM | CEBTRAL WORK SHOP/RN.02/FN.71/PN.17/11.11.2020 | Chennai Metco Pvt Ltd | PMV018 | 9784 | Internal | Institution |  | Polishing machine | School of Mechanical Sciences | Central workshop | 89117 |  | Up | Characterization
Abrasive Belt Grinder | ABG | CWS REGD NO.02/FN.70/PN.17/11.11.2020 | Chennai Metco Pvt Ltd | BCG-010 | 9439 | Internal | Institution |  | Belt grinder | School of Mechanical Sciences | Central workshop | 34393 |  | Up | Characterization
Thermal Conducting of Insutting Power Apparatus | TCIPA | FIXED ASSET/TFL-1/RN.ME/9/F..01/P.N.23/2.12.2020 | CREATIVE LAB,INDIA | CLHT-18 | CLHT/20/111 | Internal | Institution |  | THERMAL CONDUCTING OF INSUTTING POWER APPARTCY | School of Mechanical Sciences | STUDY ON THERMAL CONDUCTING OF INSUTTING POWERS | 69300 |  | Up | Characterization
Stefan Boltzman Constant Apparatus | SBCA |  | KCEL,INDIA | KCHT-182 | KCHT-182/15-16/07 | Internal | Institution |  | Stefan Boltzman constant apparatus | School of Mechanical Sciences | STUDY ON STEFAN BOLTZMAN CONSTANT | 89819 |  | Up | Characterization
Emissivity Measurement Apparatus | EMA | FIXED STOCK REGISTER-TFC-1/REGD NO-ME.41/FN.01/PN.24/02.12.2020 | CREATIVE LAB,INDIA | CLHT-32 | CLHT/20/112 | Internal | Institution |  | Emissivity Measurement Apparatus | School of Mechanical Sciences | STUDY ON EMISSIVITY MEASUREMENT | 60900 |  | Up | Characterization
Aero Guard Pro 1000 | AG | SMS OFFICE/FIXED REGISTER/FN.26/PN.06/10.12.2020 | EUREKA FORBES | AERO GUARD PRO 1000 | 3330209003000420 | Internal | Institution |  | AIR PURIFIER | School of Mechanical Sciences | GORUND FLOOR-G20 | 24999 |  | Up | Characterization
Ultrasonic Generator UCG 600W | UCG | AM.Lab me /R-29/ F-104/p.23/11.03.2021 | Pavan Electronics Industries | UCG 600W |  | Internal | Institution |  | Ultrasonic Generator | School of Mechanical Sciences | AM Lab | 24990 |  | Up | Characterization
Turning Holder | TH | MTM.Lab /R-37ME/ F-79/p.23/09.03.2021 | Seco | DCLNR2525M12-M |  | Internal | Institution |  | Tool Holder | School of Mechanical Sciences | MTM Lab | 8136 |  | Up | Characterization
Ultrasonic Transducers | UT | AM.Lab me /R-29/ F-105/p.23/22.03.2021 | Pavan Electronics Industries |  |  | Internal | Institution |  |  | School of Mechanical Sciences | AM Lab | 8505 |  | Up | Characterization
Insize 6208-80A Universial Magentic Stand | UMS | AM.lab R-Me29/F-102/p.023/08.03.2021 | Insize | 6208-80a |  | Internal | Institution |  | Magnetic Stand | School of Mechanical Sciences | AM Lab | 2451 |  | Up | Characterization
Manfrotto X-Pro 3-Way Head | MANFROTTO | AM.lab R-Me29/F-103/p.023/08.03.2021 | MANFROTTO | MHXPRO-3W |  | Internal | Institution |  | 3 Way head | School of Mechanical Sciences | AM Lab | 9990 |  | Up | Characterization
Transformer 2 KVA Double Wound | TRANSFORMER | Fdlab-Me,/F-90/p.62/19.03.2021 | UNOPOS |  |  | Internal | Institution |  | Transformer 2 kva Double Wound | School of Mechanical Sciences | STEP DOWN POWER SUPPLY | 16537 |  | Up | Characterization
Kennametal Holder | KH | MTM.Lab /R-37ME/ F-78/p.23/08.03.2021 | Kennametal | PCLNR2525M12 |  | Internal | Institution |  | Tool Holder | School of Mechanical Sciences | MTM Lab | 5814 |  | Up | Characterization
Epicycle Gear Train Apparatus | AI | SMS/MMLAB/ME/03A/F.56/P.14/01.07.21 | MECHMATICS | DOM.EPI |  | Internal | Institution |  |  | School of Mechanical Sciences |  | 189750 |  | Up | Characterization