## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Die Electric Breakdown Tester |  | CIPET:CSTS BHAGALPUR | Sensors India J-103, Sector - IV, Bawana Industrial Area, Delhi - 110039 Phone: 1127761031 & Mob: 9810304411 Email:sensor@sensorindia.com | SENSORS SI-DBDT-20 | SI-DBDT-20 |  |  |  |  | Testing | Chandan Kumar | 650900 | [6 empty] | Sensors India | Email:sensor@sensorindia.com | Sensors India | Email:sensor@sensorindia.com | bhagalpur@cipet.gov.in
Contour Cutter |  | CIPET:CSTS BHAGALPUR | Tejas Enterprises B1-14, Kubera Vihar, Gadital, Hadapsar, Pune - 411028 Ph: 2026991101, Mob: 9422061111 Email: tejasentpune@rediffmail.com | TECHPLAST CON-T | CON-T |  |  |  |  | Testing | Chandan Kumar | [7 empty] | Tejas Enterprises | Email: tejasentpune@rediffmail.com | Tejas Enterprises | Email: tejasentpune@rediffmail.com | bhagalpur@cipet.gov.in
FTIR |  | CIPET:CSTS BHAGALPUR | Thermo Fisher Scientific India Pvt. Ltd. A-34, Ground Floor, Sector-02, Noida- 201301 Ph: 0120-4640650, Mob: 7042797329 Email: asish.singh@thermofisher.com | THERMO FISHER SCIENTIFIC NICOLET SUMMIT PRO | NICOLET SUMMIT PRO |  |  |  |  | Testing | Chandan Kumar | 1770000 | [6 empty] | Thermo Fisher Scientific India Pvt. Ltd. | Email: asish.singh@thermofisher.com | Thermo Fisher Scientific India Pvt. Ltd. | Email: asish.singh@thermofisher.com | bhagalpur@cipet.gov.in
TGA Apparatus |  | CIPET:CSTS BHAGALPUR | BioZed Engineering Pvt. Ltd. No. 605, Asahr Millennia, Ghodbunder Road, Thane (West)- 400607 Phone: 022 - 25891252/3/4/5 Mob: 9821249766 E-mail ; sales@biozed.com | TA Instruments Discovery TGA 55 | Discovery TGA 55 |  |  |  |  | Testing | Chandan Kumar | 3125820 | [6 empty] | BioZed Engineering Pvt. Ltd. | E-mail ; sales@biozed.com | BioZed Engineering Pvt. Ltd. | E-mail ; sales@biozed.com | bhagalpur@cipet.gov.in
Automized Izod/ Charphy Impact Tester |  | CIPET:CSTS BHAGALPUR | AIMIL Ltd Naimex House, A-8 Mohan Co- operative Industrial Estate, Mathura Road, new Delhi- 110044 Phone: 011-30810200 & Mob:7358142111 Email: svinothkumar@aimil.com | Tinius Olsen Testing IT504 | IT504 |  |  |  |  | Testing | Chandan Kumar | 3309192 | [6 empty] | AIMIL Ltd | Email: svinothkumar@aimil.com | AIMIL Ltd | Email: svinothkumar@aimil.com | bhagalpur@cipet.gov.in
Cold Water Bath |  | CIPET:CSTS BHAGALPUR | Dinesh Scientific #2549 Bengali Mohalla Kali Bari Road, Ambla Cant - 133001 Pho: 0171-4002910 & Mob: 9894744958 Email: dineshvrm@gmail.com | Dinesh Scientific DS-1265 | DS-1265 |  |  |  |  | Testing | Chandan Kumar | 192104 | [6 empty] | Dinesh Scientific | Email: dineshvrm@gmail.com | Dinesh Scientific | Email: dineshvrm@gmail.com | bhagalpur@cipet.gov.in
Rockwell Hardness Tester |  | CIPET:CSTS BHAGALPUR | Banbros Engineeing Pvt. Ltd 49/39, Site IV Industrial Area, Sahibabad, Ghaziabad - 201010. Ph: +91-120-4556371 to 76 Mob: 9873392381 | Banbros BRSN-D | BRSN-D |  |  |  |  | Testing | Chandan Kumar | 336047 | [6 empty] | Banbros Engineeing Pvt. Ltd | Ph: +91-120-4556371 to 76 Mob: 9873392381 | Banbros Engineeing Pvt. Ltd | Ph: +91-120-4556371 to 76 Mob: 9873392381 | bhagalpur@cipet.gov.in
Universal Testing Machine |  | CIPET:CSTS BHAGALPUR | HEM Techsys Private Limited 484/B/2, G.I.D.C Industrial Area, Makarpura, Vadodara – 390010. Ph: 8000484484 & Mob: 9327726270 Email: pratik@hemtech.in | HEMTECH HT- U2510 & HT- LTE | HT- U2510 & HT- LTE |  |  |  |  | Testing | Chandan Kumar | 1923400 | [6 empty] | HEM Techsys Private Limited | Email: pratik@hemtech.in | HEM Techsys Private Limited | Email: pratik@hemtech.in | bhagalpur@cipet.gov.in
WVTR |  | CIPET:CSTS BHAGALPUR | HEM Techsys Private Limited 484/B/2, G.I.D.C Industrial Area, Makarpura, Vadodara – 390010. Ph: 8000484484 & Mob: 9327726270 Email: pratik@hemtech.in | PERMTECH PERMEH2O - S | PERMEH2O - S |  |  |  |  | Testing | Chandan Kumar | 3410200 | [6 empty] | HEM Techsys Private Limited | Email: pratik@hemtech.in | HEM Techsys Private Limited | Email: pratik@hemtech.in | bhagalpur@cipet.gov.in
Melt Flow Rate Tester |  | CIPET:CSTS BHAGALPUR | HEM Techsys Private Limited 484/B/2, G.I.D.C Industrial Area, Makarpura, Vadodara – 390010. Ph: 8000484484 & Mob: 9327726270 Email: pratik@hemtech.in | HEMTECH HT-MFI ABACWLPC | HT-MFI ABACWLPC |  |  |  |  | Testing | Chandan Kumar | 649000 | [6 empty] | HEM Techsys Private Limited | Email: pratik@hemtech.in | HEM Techsys Private Limited | Email: pratik@hemtech.in | bhagalpur@cipet.gov.in
Comparative Tracking Index |  | CIPET:CSTS BHAGALPUR | San Engineering Company 31, Rachanakar Colony, Station Road, Aurangabad – 431005 Ph: 0240-2320675 Mob: 8830528081/ 9422202631 Email: sanenggco@rediffmail.com | CSR ELEKTRONIKS CSR ELEKTRONIKS | CSR ELEKTRONIKS |  |  |  |  | Testing | Chandan Kumar | 599543 | [6 empty] | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Deep Freezer |  | CIPET:CSTS BHAGALPUR | San Engineering Company 31, Rachanakar Colony, Station Road, Aurangabad – 431005 Ph: 0240-2320675 Mob: 8830528081/ 9422202631 Email: sanenggco@rediffmail.com | ARCADE ARC-2220-HDF | ARC-2220-HDF |  |  |  |  | Testing | Chandan Kumar | 185959 | [6 empty] | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Falling Weight Impact Tester |  | CIPET:CSTS BHAGALPUR | P.S.I Sales Private Limited 803, Hemkunt House – 6, Rajendra Place, New Delhi - 110008 | P.S.I PLC-27 | PLC-27 |  |  |  |  | Testing | Chandan Kumar | 110649 | [6 empty] | P.S.I Sales Private Limited | _ | P.S.I Sales Private Limited | _ | bhagalpur@cipet.gov.in
Environmental Stress Cracking Resistance (ESCR) |  | CIPET:CSTS BHAGALPUR | P.S.I Sales Private Limited 803, Hemkunt House – 6, Rajendra Place, New Delhi - 110008 | P.S.I PLC-30 | PLC-30 |  |  |  |  | Testing | Chandan Kumar | 111829 | [6 empty] | P.S.I Sales Private Limited | _ | P.S.I Sales Private Limited | _ | bhagalpur@cipet.gov.in
Volume & Surface Resistivity Tester |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific Pvt. Ltd. 151, 15th Floor, Jolly Market Chambers II, Nariman Point, Mumbai - 400021 Phone: 91 22 4884 4840 & Mob: 9221447639 E-m a i l : sales@khusbbooscientific.com | SIVANANADA LS3BM | LS3BM |  |  |  |  | Testing | Chandan Kumar | 263730 | [6 empty] | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Gloss Meter |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific Pvt. Ltd. 151, 15th Floor, Jolly Market Chambers II, Nariman Point, Mumbai - 400021 Phone: 91 22 4884 4840 & Mob: 9221447639 E-m a i l : sales@khusbbooscientific.com | Rhopoint Novo-Gloss Trio (20/30/85) & Novo Gloss 45 (45 Deg) | Rhopoint Novo-Gloss Trio (20/30/85) & Novo Gloss 45 (45 Deg) |  |  |  |  | Testing | Chandan Kumar | 317066 | [6 empty] | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Elmendrof Tear Tester |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific Pvt. Ltd. 151, 15th Floor, Jolly Market Chambers II, Nariman Point, Mumbai - 400021 Phone: 91 22 4884 4840 & Mob: 9221447639 E-m a i l : sales@khusbbooscientific.com | ASIAN TEST ATE/ETT/1 | ATE/ETT/1 |  |  |  |  | Testing | Chandan Kumar | 276710 | [6 empty] | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Hydrostatic Pressure Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries DDA Shed No-103, Type-A, Okhla Industrial Area, phase -II, New Delhi - 110020 Phone: 011- 26389125 & Mob: 9810016246 Email: sales@elmechpneumatic.com | ELEMECH EPI/HPTP-09 | EPI/HPTP-09 |  |  |  |  | Testing | Chandan Kumar | 812430 | [6 empty] | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Notch Cutter |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries DDA Shed No-103, Type-A, Okhla Industrial Area, phase -II, New Delhi - 110020 Phone: 011- 26389125 & Mob: 9810016246 Email: sales@elmechpneumatic.com | ELEMECH EPI - 250 | EPI - 250 |  |  |  |  | Testing | Chandan Kumar | 258066 | [6 empty] | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Glow Wire Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries DDA Shed No-103, Type-A, Okhla Industrial Area, phase -II, New Delhi - 110020 Phone: 011- 26389125 & Mob: 9810016246 Email: sales@elmechpneumatic.com | ELEMECH EPI / GWT - 01 | EPI / GWT - 01 |  |  |  |  | Testing | Chandan Kumar | 382320 | [6 empty] | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Hot Water Bath |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries DDA Shed No-103, Type-A, Okhla Industrial Area, phase -II, New Delhi - 110020 Phone: 011- 26389125 & Mob: 9810016246 Email: sales@elmechpneumatic.com | ELEMECH EPI / HWB - 09 | EPI / HWB - 09 |  |  |  |  | Testing | Chandan Kumar | 210276 | [6 empty] | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
HDT / VSP Apparatus (Microprocessor Controlled) |  | CIPET:CSTS BHAGALPUR | Venture Instrumentation Technology Pvt. Ltd. A-205, 1st Floor, Block-III, KSSIDC Complex, Electronic City, Phase – I, Bangalore - 560100 | COESFELD VICAT HDT COMPACT | VICAT HDT COMPACT |  |  |  |  | Testing | Chandan Kumar | 3221046 | [6 empty] | Venture Instrumentation Technology Pvt. Ltd. | _ | Venture Instrumentation Technology Pvt. Ltd. | _ | bhagalpur@cipet.gov.in
Double Beam UV Spectrophotometer |  | CIPET:CSTS BHAGALPUR | Perkin Elmer (India) Pvt. Ltd C/o - ProConnect Supply Chain Solutions Ltd, Angel Logistics Park, No E-6 Village Pimplas, Talathi Sajja Velhe Mumbai Nasik Highway, Taluka Bhiwandi, District Thane 421302 Ph: 44-66778900, Mob: 9176725409 Email: jobi.alexander@perklinelmer.com | PerkinElmer Lamba 365 | Lamba 365 |  |  |  |  | Testing | Chandan Kumar | 1416000 | [6 empty] | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | bhagalpur@cipet.gov.in
Gas Chromatography |  | CIPET:CSTS BHAGALPUR | Perkin Elmer (India) Pvt. Ltd C/o - ProConnect Supply Chain Solutions Ltd, Angel Logistics Park, No E-6 Village Pimplas, Talathi Sajja Velhe Mumbai Nasik Highway, Taluka Bhiwandi, District Thane 421302 Ph: 44-66778900, Mob: 9176725409 Email: jobi.alexander@perklinelmer.com | PerkinElmer Clarus 690 | Clarus 690 |  |  |  |  | Testing | Chandan Kumar | 4484000 | [6 empty] | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | bhagalpur@cipet.gov.in
Atomic Absorption Spectrophotometer |  | CIPET:CSTS BHAGALPUR | Shiva Global Teknosys S-15, Block - B, Sahani Tower Complex, Sector - 5, Rajendra Nagar, Sahibabad, Ghaziabad - 201005 | ANALYTIK JENA AG GERMANY ZEEnit 700P | ANALYTIK JENA AG GERMANY ZEEnit 700P |  |  |  |  | Testing | Chandan Kumar | 5841000 | [6 empty] | Shiva Global Teknosys | _ | Shiva Global Teknosys | _ | bhagalpur@cipet.gov.in
UV Weather -O- Meter |  | CIPET:CSTS BHAGALPUR | Venture Instrumentation Technology Pvt. Ltd. A-205, 1st Floor, Block-III, KSSIDC Complex, Electronic City, Phase – I, Bangalore - 560100 | QLAB CORPORATION QUVSE230G4 | QUVSE230G4 |  |  |  |  | Testing | Chandan Kumar | 1225548 | [6 empty] | Venture Instrumentation Technology Pvt. Ltd. | _ | Venture Instrumentation Technology Pvt. Ltd. | _ | bhagalpur@cipet.gov.in
All Electrical Microprocessor Controlled Automatic Injection Moulding Machine (180-200 T) |  | CIPET:CSTS BHAGALPUR | Milacron India Pvt. Ltd 93/2 & 94/1, Phase I, GIDC Vatva, Ahmedabad- 382445 Ph: 079- 61341758, Mob: 7069050020 Email: ankit_gupta@milacron.com | MILACRON Elektron 180 | MILACRON Elektron 180 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 6287866 | [6 empty] | Milacron India Pvt. Ltd | Email: ankit_gupta@milacron.com | Milacron India Pvt. Ltd | Email: ankit_gupta@milacron.com | bhagalpur@cipet.gov.in
Microprocessor Controlled Single Layer Double Station Extrusion Blow Moulding Machine |  | CIPET:CSTS BHAGALPUR | San Engineering Company 31, Rachanakar Colony, Station Road, Aurangabad – 431005 Ph: 0240-2320675 Mob: 8830528081/ 9422202631 Email: sanenggco@rediffmail.com | Blow Engineering BE/H/1000/DS/SH | BE/H/1000/DS/SH |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 4243846 | [6 empty] | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Microprocessor Controlled Automatic Extrusion Blow Moulding Machine |  | CIPET:CSTS BHAGALPUR | San Engineering Company 31, Rachanakar Colony, Station Road, Aurangabad – 431005 Ph: 0240-2320675 Mob: 8830528081/ 9422202631 Email: sanenggco@rediffmail.com | Blow Engineering BE/H500/SS/SH | BE/H500/SS/SH |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 2279760 | [6 empty] | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Rotational Moulding Machine with Pulveriser |  | CIPET:CSTS BHAGALPUR | Vinodrai Engineers Pvt. Ltd. Gat No. 231/266, Village Dawalwadi, 12 KM Stone, Jalna, Aurangabad Road, Jalna - 413202 Ph: 02482- 262000, 262400 Mob: 9049113377 Email: divyaraithatha@vinodrai.com | VINODRAI EN-500 | EN-500 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | [7 empty] | Vinodrai Engineers Pvt. Ltd. | Email: divyaraithatha@vinodrai.com | Vinodrai Engineers Pvt. Ltd. | Email: divyaraithatha@vinodrai.com | bhagalpur@cipet.gov.in
Semi Automatic Horizontal Injection Moulding Machine (30-40 T) |  | CIPET:CSTS BHAGALPUR | San Engineering Company 31, Rachanakar Colony, Station Road, Aurangabad – 431005 Ph: 0240-2320675 Mob: 8830528081/ 9422202631 Email: sanenggco@rediffmail.com | NIKITA NP 40 | NP 40 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 1377759 | [6 empty] | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Film Cutting & Sealing Machine |  | CIPET:CSTS BHAGALPUR | Lakshmi Industries (Regd) 124, Industrial Area - A, Ludhiana - 141003 Mob: 9815100121 & 9814107313 Email: lak124@rediffmail.com | DIAMOND POLYPACKS DIAMOND 400 MM | DIAMOND 400 MM |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 565739 | [6 empty] | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | bhagalpur@cipet.gov.in
Differential Scanning Calorimetry (DSC) |  | CIPET:CSTS BHAGALPUR | Perkin Elmer (India) Pvt. Ltd C/o - ProConnect Supply Chain Solutions Ltd, Angel Logistics Park, No E-6 Village Pimplas, Talathi Sajja Velhe Mumbai Nasik Highway, Taluka Bhiwandi, District Thane 421302 Ph: 44-66778900, Mob: 9176725409 Email: jobi.alexander@perklinelmer.com | PerkinElmer DSC 4000 | DSC 4000 |  |  |  |  | Testing | Chandan Kumar | 2301000 | [6 empty] | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | bhagalpur@cipet.gov.in
Automatic Hydraulic Compression Moulding Machine _30-40 T |  | CIPET:CSTS BHAGALPUR | Delta Machine Craft 3rd Road, Mamlatdar Wadi, Malad (Wes), Mumbai - 400064 Ph: 022- 28822243, 28821632 Mob: 9867187076 Email: maliksons@plasticmachineryindia.com | MALIKSONS Pressman PR - 30 | Pressman PR - 30 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 924176 | [6 empty] | Delta Machine Craft | Email: maliksons@plasticmachineryindia.com | Delta Machine Craft | Email: maliksons@plasticmachineryindia.com | bhagalpur@cipet.gov.in
High Speed Mixer |  | CIPET:CSTS BHAGALPUR | Delta Machine Craft 3rd Road, Mamlatdar Wadi, Malad (Wes), Mumbai - 400064 Ph: 022- 28822243, 28821632 Mob: 9867187076 Email: maliksons@plasticmachineryindia.com | MALIKSONS HSM - 50 | HSM - 50 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 774260 | [6 empty] | Delta Machine Craft | Email: maliksons@plasticmachineryindia.com | Delta Machine Craft | Email: maliksons@plasticmachineryindia.com | bhagalpur@cipet.gov.in
Ultrasonic Welding Machine |  | CIPET:CSTS BHAGALPUR | Emerson Electric India Pvt. Ltd. A-145/6, TTC Industrial Area, Khairane MIDC, Navi Mimbai - 400710 Mob: 022- 61816700 & 9324569864 Email: kaustav.chatterjee@emerson.com | Branson Ultrasonics 2000 IW | 2000 IW |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 862580 | [6 empty] | Emerson Electric India Pvt. Ltd. | Email: kaustav.chatterjee@emerson.com | Emerson Electric India Pvt. Ltd. | Email: kaustav.chatterjee@emerson.com | bhagalpur@cipet.gov.in
Hot Air Oven 100 kg |  | CIPET:CSTS BHAGALPUR | Labtherm Scientific Products Plot No - 124, Thirumalai Nagar, 5th Stereet, Off Service Road, Anakaputhur, Chennai - 600070 Mob: 7708108314 & 9940028052 Email: labtherm@gmail.com | LABTHERM LSP001HOV100KG | LSP001HOV100KG |  |  |  |  | Testing | Chandan Kumar | 76700 | [6 empty] | Labtherm Scientific Products | Email: labtherm@gmail.com | Labtherm Scientific Products | Email: labtherm@gmail.com | bhagalpur@cipet.gov.in
Air Compressor |  | CIPET:CSTS BHAGALPUR | Tejas Enterprises B1-14, Kubera Vihar, Gadital, Hadapsar, Pune - 411028 Ph: 2026991101, Mob: 9422061111 Email: tejasentpune@rediffmail.com | PARTHTECH PT 200 | PT 200 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 322310 | [6 empty] | Tejas Enterprises | Email: tejasentpune@rediffmail.com | Tejas Enterprises | Email: tejasentpune@rediffmail.com | bhagalpur@cipet.gov.in
Mould Temprature Controller |  | CIPET:CSTS BHAGALPUR | Tejas Enterprises B1-14, Kubera Vihar, Gadital, Hadapsar, Pune - 411028 Ph: 2026991101, Mob: 9422061111 Email: tejasentpune@rediffmail.com | ACS ACO 10-H | ACO 10-H |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 154474 | [6 empty] | Tejas Enterprises | Email: tejasentpune@rediffmail.com | Tejas Enterprises | Email: tejasentpune@rediffmail.com | bhagalpur@cipet.gov.in
Conventional Lathe Machine |  | CIPET:CSTS BHAGALPUR | J K machine Tools (Guj) Pvt. Ltd. 8, Mavdi Plot, Near Suraj Besan, rajkot - 360004, Gujurat Mob - 919374102450 Ph - +91 2812365675 Email : info@jkmachinetools.net jkmachinetools.net@gmail.com | JK JK-LM-9 | JK-LM-9 |  |  |  |  | Tool Room | Ranjeet Ray | 3398400 | [6 empty] | J K machine Tools (Guj) Pvt. Ltd. | Email : info@jkmachinetools.net jkmachinetools.net@gmail.com | J K machine Tools (Guj) Pvt. Ltd. | Email : info@jkmachinetools.net jkmachinetools.net@gmail.com | bhagalpur@cipet.gov.in
Arc Resistance |  | CIPET:CSTS BHAGALPUR | Arcom Enterprises 102, Apra North- Ex Plaza, Plot No. H-2, Netaji Subhash Palace, Pitampura, New Delhi - 110034 Phone: All 47A83734,& Mob: 9811171242 E -mail: sales@arcomenterprises.com | ARCOM AE-ART | AE-ART |  |  |  |  | Testing | Chandan Kumar | 743400 | [6 empty] | Arcom Enterprises | E -mail: sales@arcomenterprises.com | Arcom Enterprises | E -mail: sales@arcomenterprises.com | bhagalpur@cipet.gov.in
Burst Strength Tester |  | CIPET:CSTS BHAGALPUR | EIE Instruments Pvt. Ltd A-1301 BVR EK, Ellis Bridge, Ahmedabad-380006 Phone: 079-66211215 & Mobile: 8530301083 E-mail : tender@eieinstruments.com | VIPL PT-101SH50 | PT-101SH50 |  |  |  |  | Testing | Chandan Kumar | 162899 | [6 empty] | EIE Instruments Pvt. Ltd | E-mail : tender@eieinstruments.com | EIE Instruments Pvt. Ltd | E-mail : tender@eieinstruments.com | bhagalpur@cipet.gov.in
Cooling Tower (50 TR) |  | CIPET:CSTS BHAGALPUR | Tejas Enterprises B1-14, Kubera Vihar, Gadital, Hadapsar, Pune - 411028 Ph: 2026991101, Mob: 9422061111 Email: tejasentpune@rediffmail.com | AQUA COOL AQ-1320 | AQ-1320 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 173903 | [6 empty] | Tejas Enterprises | Email: tejasentpune@rediffmail.com | Tejas Enterprises | Email: tejasentpune@rediffmail.com | bhagalpur@cipet.gov.in
Free Falling Dart Impact Tester |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific Pvt. Ltd. 151, 15th Floor, Jolly Market Chambers II, Nariman Point, Mumbai - 400021 Phone: 91 22 4884 4840 & Mob: 9221447639 E-m a i l : sales@khusbbooscientific.com | STECH | STECH |  |  |  |  | Testing | Chandan Kumar | 119180 | [6 empty] | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Rotational Moulding Machine with Pulveriser |  | CIPET:CSTS BHAGALPUR | San Engineering Company 31, Rachanakar Colony, Station Road, Aurangabad – 431005 Ph: 0240-2320675 Mob: 8830528081/ 9422202631 Email: sanenggco@rediffmail.com | Shree Momai SM-1A-150 & SM-PUL-80 | SM-1A-150 & SM-PUL-80 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 1575300 | [6 empty] | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Hot Foil Stamping Machine |  | CIPET:CSTS BHAGALPUR | Tejas Enterprises B1-14, Kubera Vihar, Gadital, Hadapsar, Pune - 411028 Ph: 2026991101, Mob: 9422061111 Email: tejasentpune@rediffmail.com | TECHNO PRINT VT-6x8 | VT-6x8 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 430700 | [6 empty] | Tejas Enterprises | Email: tejasentpune@rediffmail.com | Tejas Enterprises | Email: tejasentpune@rediffmail.com | bhagalpur@cipet.gov.in
Opacity Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries DDA Shed No-103, Type-A, Okhla Industrial Area, phase -II, New Delhi - 110020 Phone: 011- 26389125 & Mob: 9810016246 Email: sales@elmechpneumatic.com | Elemech EPI/OT/016 | EPI/OT/016 |  |  |  |  | Testing | Chandan Kumar | 82527 | [6 empty] | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Haze & Clarity Meter |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries DDA Shed No-103, Type-A, Okhla Industrial Area, phase -II, New Delhi - 110020 Phone: 011- 26389125 & Mob: 9810016246 Email: sales@elmechpneumatic.com | Elemech EPI/HC/030 | EPI/HC/030 |  |  |  |  | Testing | Chandan Kumar | 404058 | [6 empty] | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Carbon Black Content Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries DDA Shed No-103, Type-A, Okhla Industrial Area, phase -II, New Delhi - 110020 Phone: 011- 26389125 & Mob: 9810016246 Email: sales@elmechpneumatic.com | Elemech EPI/CBC/017 | EPI/CBC/017 |  |  |  |  | Testing | Chandan Kumar | 134559 | [6 empty] | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Muffle Furnance |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries DDA Shed No-103, Type-A, Okhla Industrial Area, phase -II, New Delhi - 110020 Phone: 011- 26389125 & Mob: 9810016246 Email: sales@elmechpneumatic.com | Elemech EPI/MF/010 | EPI/MF/010 |  |  |  |  | Testing | Chandan Kumar | 63197 | [6 empty] | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Universal Milling Machine |  | CIPET:CSTS BHAGALPUR | Lakshmi Industries (Regd) 124, Industrial Area - A, Ludhiana - 141003 Mob: 9815100121 & 9814107313 Email: lak124@rediffmail.com | Bmact MAC-2U | MAC-2U |  |  |  |  | Testing | Chandan Kumar | 2023558 | [6 empty] | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | bhagalpur@cipet.gov.in
Pedestral Grinder (Double Ended) |  | CIPET:CSTS BHAGALPUR | Lakshmi Industries (Regd) 124, Industrial Area - A, Ludhiana - 141003 Mob: 9815100121 & 9814107313 Email: lak124@rediffmail.com | LAKSHMI Mode-LI 250 | Mode-LI 250 |  |  |  |  | Tool Room | Ranjeet Ray | 221115 | [6 empty] | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | bhagalpur@cipet.gov.in
Power Hacksaw Machine |  | CIPET:CSTS BHAGALPUR | Lakshmi Industries (Regd) 124, Industrial Area - A, Ludhiana - 141003 Mob: 9815100121 & 9814107313 Email: lak124@rediffmail.com | JASWANT MODEL 10" | MODEL 10" |  |  |  |  | Tool Room | Ranjeet Ray | 269984 | [6 empty] | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | bhagalpur@cipet.gov.in
Radial Drilling Machine |  | CIPET:CSTS BHAGALPUR | Machine Tools Traders (Madras) Old No. 91, New No. 54, Armenian Street, Chennai - 600001 | SIDDHAPURA SER-60/1700 | SER-60/1700 |  |  |  |  | Tool Room | Ranjeet Ray | [7 empty] | Machine Tools Traders (Madras) Old No. 91, New No. 54, Armenian Street, Chennai - 600001 | _ | Machine Tools Traders (Madras) Old No. 91, New No. 54, Armenian Street, Chennai - 600001 | _ | bhagalpur@cipet.gov.in
Semi Automatic Vertical Injection Moulding Machine (30-40 T) |  | CIPET:CSTS BHAGALPUR | Delta Machine Craft 3rd Road, Mamlatdar Wadi, Malad (Wes), Mumbai - 400064 Ph: 022- 28822243, 28821632 Mob: 9867187076 Email: maliksons@plasticmachineryindia.com | MALIKSONS 60 VH | 60 VH |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 469640 | [6 empty] | Delta Machine Craft | Email: maliksons@plasticmachineryindia.com | Delta Machine Craft | Email: maliksons@plasticmachineryindia.com | bhagalpur@cipet.gov.in
Limiting Oxygen Index Apparatus (Q3) |  | CIPET:CSTS BHAGALPUR | Shree Enterprises Ganeshpeth,Opp. S.Tquarter Model Mill Road, Ganeshpeth, Nagpur, Maharastra -440018 | SE-60 | SE-60 |  |  |  |  | Testing | Chandan Kumar | 212400 | [6 empty] | Shree Enterprises | _ | Shree Enterprises | _ | bhagalpur@cipet.gov.in
Melting Point Appartus (Capacity Tube Method) (Q3) |  | CIPET:CSTS BHAGALPUR | Dinesh Scientific Ambala Cant, Haryana - 133001 | DS-MPA-400 | DS-MPA-400 |  |  |  |  | Testing | Chandan Kumar | 326119 | [6 empty] | Dinesh Scientific | _ | Dinesh Scientific | _ | bhagalpur@cipet.gov.in
Punching Press |  | CIPET:CSTS BHAGALPUR | Srimathy Engineers No - 5/112/1 Nadar Street Elamanur, Tirrupparaithurai Post Trichy - 639 115 Ph: 0431 - 2614615 & Mob: 9841669086 Email: ssrimathyengineers@gmail.com | ESSARRAM / HARIHAR SICO / HPC - 30 | SICO / HPC - 30 |  |  |  |  | Testing | Chandan Kumar | 1392400 | [6 empty] | Srimathy Engineers | Email: ssrimathyengineers@gmail.com | Srimathy Engineers | Email: ssrimathyengineers@gmail.com | bhagalpur@cipet.gov.in
Micro Processor Controlled Automatic Injection Moulding Machine (80 Ton) |  | CIPET:CSTS BHAGALPUR | S&T Engineers Pvt. Ltd. 22, Vasanthnagar, Singanallur Coimbature, tamil Nadu- 641005 | S&T Engineers FINZA F90 / I 210 | FINZA F90 / I 210 |  |  |  |  | Processing | Upendra Kumar Vishwakarma | 2466200 | [6 empty] | S&T Engineers Pvt. Ltd. | S&T Engineers Pvt. Ltd. 22, Vasanthnagar, Singanallur Coimbature, tamil Nadu- 641005 | S&T Engineers Pvt. Ltd. | S&T Engineers Pvt. Ltd. 22, Vasanthnagar, Singanallur Coimbature, tamil Nadu- 641005 | bhagalpur@cipet.gov.in
CNC Lathe / Milling Programming Simulator |  | CIPET:CSTS BHAGALPUR | CAD Macro Design & Solutions Pvt. Ltd. 33, Sapthagiri Colony, Jafferkhanpet, Chennai, Tamilnadu - 600083 | CADMACRO C 1.0 | C 1.0 |  |  |  |  | Tool Room | Ranjeet Ray | 2347400 | [6 empty] | CAD Macro Design & Solutions Pvt. Ltd. | _ | CAD Macro Design & Solutions Pvt. Ltd. | _ | bhagalpur@cipet.gov.in
Surface Grinding Machine |  | CIPET:CSTS BHAGALPUR | Bhurji Grinders Plot No - 6 G, New Industrial Area, Faridabad, Haryana - 121006 | BHURJI AA - 1224 | AA - 1224 |  |  |  |  | Tool Room | Ranjeet Ray | 775000 | [6 empty] | Bhurji Grinders | _ | Bhurji Grinders | _ | bhagalpur@cipet.gov.in
CNC Lathe |  | CIPET:CSTS BHAGALPUR | J P Machine Tools Pvt Ltd 1575, G T Road, Dholewal Chowk Ludhiana, Punjab - 141003 | JP MT JP - L67 | JP - L67 |  |  |  |  | Tool Room | Ranjeet Ray | 2750000 | [6 empty] | J P Machine Tools Pvt Ltd | _ | J P Machine Tools Pvt Ltd | _ | bhagalpur@cipet.gov.in
Vertical Milling Machine |  | CIPET:CSTS BHAGALPUR | Lakshmi Industries (Regd) 124, Industrial Area - A, Ludhiana - 141003 Mob: 9815100121 & 9814107313 Email: lak124@rediffmail.com | LAKSHMI Mode-LI VM 2 | Mode-LI VM 2 |  |  |  |  | Tool Room | Ranjeet Ray | 1086140 | [6 empty] | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | bhagalpur@cipet.gov.in
CNC Milling |  | CIPET:CSTS BHAGALPUR | TOP Engineers 28-BF, Industrial Estate Batala, Pinjab - 143505 | TOP TNCM -500 | TNCM -500 |  |  |  |  | Tool Room | Ranjeet Ray | 3663000 | [6 empty] | TOP Engineers | _ | TOP Engineers | _ | bhagalpur@cipet.gov.in
Cylindrical Grinding Machine |  | CIPET:CSTS BHAGALPUR | TOP Engineers 28-BF, Industrial Estate Batala, Pinjab - 143505 | TOP TGC - 800 | TGC - 800 |  |  |  |  | Tool Room | Ranjeet Ray | 1371700 | [6 empty] | TOP Engineers | _ | TOP Engineers | _ | bhagalpur@cipet.gov.in
Shaping Machine |  | CIPET:CSTS BHAGALPUR | Lakshmi Industries (Regd) 124, Industrial Area - A, Ludhiana - 141003 Mob: 9815100121 & 9814107313 Email: lak124@rediffmail.com | LAKSHMI LI SM 600 | LI SM 600 |  |  |  |  | Tool Room | Ranjeet Ray | 426954 | [6 empty] | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | bhagalpur@cipet.gov.in
Radial Drilling Machine |  | CIPET:CSTS BHAGALPUR | KRISHNA MACHINE TOOLS # 102, East Mohan Nagar, 100 Feet Road Opposite Marwari, Hospital Amritsar - 143001 | --- | --- |  |  |  |  | Tool Room | Ranjeet Ray | 1016334 | [6 empty] | KRISHNA MACHINE TOOLS | _ | KRISHNA MACHINE TOOLS | _ | bhagalpur@cipet.gov.in
Environmental Chamber |  | CIPET:CSTS BHAGALPUR | World Invent Scientific Technologies Pvt. Ltd. Gala 29, Buiding No - 1, Extn - 2, Raprabha Udyog Nagar, Valiv Vasi East, Palghar, Maharastra, Mob: 7738601813 Email: tenders@worldinventscientific.com | Wist WTENV 100 - W2 | WTENV 100 - W2 |  |  |  |  | Testing | Chandan Kumar | 415000 | [6 empty] | World Invent Scientific Technologies Pvt. Ltd. | Email: tenders@worldinventscientific.com | World Invent Scientific Technologies Pvt. Ltd. | Email: tenders@worldinventscientific.com | bhagalpur@cipet.gov.in