## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Die Electric Breakdown Tester |  | CIPET:CSTS BHAGALPUR | Sensors India | SENSORS SI-DBDT-20 | SI-DBDT-20 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 650900 |  |  | Testing | Sensors India | Email:sensor@sensorindia.com | Sensors India | Email:sensor@sensorindia.com | bhagalpur@cipet.gov.in
Contour Cutter |  | CIPET:CSTS BHAGALPUR | Tejas Enterprises | TECHPLAST CON-T | CON-T | External Funding | MoCF |  |  | Testing | Chandan Kumar |  |  |  | Testing | Tejas Enterprises | Email: tejasentpune@rediffmail.com | Tejas Enterprises | Email: tejasentpune@rediffmail.com | bhagalpur@cipet.gov.in
FTIR |  | CIPET:CSTS BHAGALPUR | Thermo Fisher Scientific India Pvt Ltd | THERMO FISHER SCIENTIFIC NICOLET SUMMIT PRO | NICOLET SUMMIT PRO | External Funding | MoCF |  |  | Testing | Chandan Kumar | 1770000 |  |  | Testing | Thermo Fisher Scientific India Pvt Ltd | Email: asish.singh@thermofisher.com | Thermo Fisher Scientific India Pvt Ltd | Email: asish.singh@thermofisher.com | bhagalpur@cipet.gov.in
TGA Apparatus |  | CIPET:CSTS BHAGALPUR | BioZed Engineering Pvt Ltd | TA Instruments Discovery TGA 55 | Discovery TGA 55 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 3125820 |  |  | Testing | BioZed Engineering Pvt Ltd | E-mail ; sales@biozed.com | BioZed Engineering Pvt Ltd | E-mail ; sales@biozed.com | bhagalpur@cipet.gov.in
Automized Izod/ Charphy Impact Tester |  | CIPET:CSTS BHAGALPUR | AIMIL Ltd | Tinius Olsen Testing IT504 | IT504 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 3309192 |  |  | Testing | AIMIL Ltd | Email: svinothkumar@aimil.com | AIMIL Ltd | Email: svinothkumar@aimil.com | bhagalpur@cipet.gov.in
Cold Water Bath |  | CIPET:CSTS BHAGALPUR | Dinesh Scientific | Dinesh Scientific DS-1265 | DS-1265 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 192104 |  |  | Testing | Dinesh Scientific | Email: dineshvrm@gmail.com | Dinesh Scientific | Email: dineshvrm@gmail.com | bhagalpur@cipet.gov.in
Rockwell Hardness Tester |  | CIPET:CSTS BHAGALPUR | Banbros Engineeing Pvt Ltd | Banbros BRSN-D | BRSN-D | External Funding | MoCF |  |  | Testing | Chandan Kumar | 336047 |  |  | Testing | Banbros Engineeing Pvt Ltd | Ph: +91-120-4556371 to 76 Mob: 9873392381 | Banbros Engineeing Pvt Ltd | Ph: +91-120-4556371 to 76 Mob: 9873392381 | bhagalpur@cipet.gov.in
Universal Testing Machine |  | CIPET:CSTS BHAGALPUR | HEM Techsys Private Limited | HEMTECH HT- U2510 & HT- LTE | HT- U2510 & HT- LTE | External Funding | MoCF |  |  | Testing | Chandan Kumar | 1923400 |  |  | Testing | HEM Techsys Private Limited | Email: pratik@hemtech.in | HEM Techsys Private Limited | Email: pratik@hemtech.in | bhagalpur@cipet.gov.in
WVTR |  | CIPET:CSTS BHAGALPUR | HEM Techsys Private Limited | PERMTECH PERMEH2O - S | PERMEH2O - S | External Funding | MoCF |  |  | Testing | Chandan Kumar | 3410200 |  |  | Testing | HEM Techsys Private Limited | Email: pratik@hemtech.in | HEM Techsys Private Limited | Email: pratik@hemtech.in | bhagalpur@cipet.gov.in
Melt Flow Rate Tester |  | CIPET:CSTS BHAGALPUR | HEM Techsys Private Limited | HEMTECH HT-MFI ABACWLPC | HT-MFI ABACWLPC | External Funding | MoCF |  |  | Testing | Chandan Kumar | 649000 |  |  | Testing | HEM Techsys Private Limited | Email: pratik@hemtech.in | HEM Techsys Private Limited | Email: pratik@hemtech.in | bhagalpur@cipet.gov.in
Comparative Tracking Index |  | CIPET:CSTS BHAGALPUR | San Engineering Company | CSR ELEKTRONIKS CSR ELEKTRONIKS | CSR ELEKTRONIKS | External Funding | MoCF |  |  | Testing | Chandan Kumar | 599543 |  |  | Testing | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Deep Freezer |  | CIPET:CSTS BHAGALPUR | San Engineering Company | ARCADE ARC-2220-HDF | ARC-2220-HDF | External Funding | MoCF |  |  | Testing | Chandan Kumar | 185959 |  |  | Testing | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Falling Weight Impact Tester |  | CIPET:CSTS BHAGALPUR | P S I Sales Private Limited | P.S.I PLC-27 | PLC-27 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 110649 |  |  | Testing | P S I Sales Private Limited | _ | P S I Sales Private Limited | _ | bhagalpur@cipet.gov.in
Environmental Stress Cracking Resistance (ESCR) |  | CIPET:CSTS BHAGALPUR | P S I Sales Private Limited | P.S.I PLC-30 | PLC-30 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 111829 |  |  | Testing | P S I Sales Private Limited | _ | P S I Sales Private Limited | _ | bhagalpur@cipet.gov.in
Volume & Surface Resistivity Tester |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific | SIVANANADA LS3BM | LS3BM | External Funding | MoCF |  |  | Testing | Chandan Kumar | 263730 |  |  | Testing | Khushboo Scientific | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Gloss Meter |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific | Rhopoint Novo-Gloss Trio (20/30/85) & Novo Gloss 45 (45 Deg) | Rhopoint Novo-Gloss Trio (20/30/85) & Novo Gloss 45 (45 Deg) | External Funding | MoCF |  |  | Testing | Chandan Kumar | 317066 |  |  | Testing | Khushboo Scientific | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Elmendrof Tear Tester |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific | ASIAN TEST ATE/ETT/1 | ATE/ETT/1 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 276710 |  |  | Testing | Khushboo Scientific | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Hydrostatic Pressure Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | ELEMECH EPI/HPTP-09 | EPI/HPTP-09 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 812430 |  |  | Testing | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Notch Cutter |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | ELEMECH EPI - 250 | EPI - 250 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 258066 |  |  | Testing | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Glow Wire Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | ELEMECH EPI / GWT - 01 | EPI / GWT - 01 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 382320 |  |  | Testing | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Hot Water Bath |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | ELEMECH EPI / HWB - 09 | EPI / HWB - 09 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 210276 |  |  | Testing | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
HDT / VSP Apparatus (Microprocessor Controlled) |  | CIPET:CSTS BHAGALPUR | Venture Instrumentation Technology | COESFELD VICAT HDT COMPACT | VICAT HDT COMPACT | External Funding | MoCF |  |  | Testing | Chandan Kumar | 3221046 |  |  | Testing | Venture Instrumentation Technology | _ | Venture Instrumentation Technology | _ | bhagalpur@cipet.gov.in
Double Beam UV Spectrophotometer |  | CIPET:CSTS BHAGALPUR | Perkin Elmer (India) | PerkinElmer Lamba 365 | Lamba 365 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 1416000 |  |  | Testing | Perkin Elmer (India) | Email: jobi.alexander@perklinelmer.com | Perkin Elmer (India) | Email: jobi.alexander@perklinelmer.com | bhagalpur@cipet.gov.in
Gas Chromatography |  | CIPET:CSTS BHAGALPUR | Perkin Elmer (India) Pvt Ltd | PerkinElmer Clarus 690 | Clarus 690 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 4484000 |  |  | Testing | Perkin Elmer (India) Pvt Ltd | Email: jobi.alexander@perklinelmer.com | Perkin Elmer (India) Pvt Ltd | Email: jobi.alexander@perklinelmer.com | bhagalpur@cipet.gov.in
Atomic Absorption Spectrophotometer |  | CIPET:CSTS BHAGALPUR | Shiva Global Teknosys | ANALYTIK JENA AG GERMANY ZEEnit 700P | ANALYTIK JENA AG GERMANY ZEEnit 700P | External Funding | MoCF |  |  | Testing | Chandan Kumar | 5841000 |  |  | Testing | Shiva Global Teknosys | _ | Shiva Global Teknosys | _ | bhagalpur@cipet.gov.in
UV Weather -O- Meter |  | CIPET:CSTS BHAGALPUR | Venture Instrumentation Technology | QLAB CORPORATION QUVSE230G4 | QUVSE230G4 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 1225548 |  |  | Testing | Venture Instrumentation Technology | _ | Venture Instrumentation Technology | _ | bhagalpur@cipet.gov.in
Differential Scanning Calorimetry (DSC) |  | CIPET:CSTS BHAGALPUR | Perkin Elmer (India) Pvt Ltd | PerkinElmer DSC 4000 | DSC 4000 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 2301000 |  |  | Testing | Perkin Elmer (India) Pvt Ltd | Email: jobi.alexander@perklinelmer.com | Perkin Elmer (India) Pvt Ltd | Email: jobi.alexander@perklinelmer.com | bhagalpur@cipet.gov.in
Hot Air Oven 100 kg |  | CIPET:CSTS BHAGALPUR | Labtherm Scientific Products | LABTHERM LSP001HOV100KG | LSP001HOV100KG | External Funding | MoCF |  |  | Testing | Chandan Kumar | 76700 |  |  | Testing | Labtherm Scientific Products | Email: labtherm@gmail.com | Labtherm Scientific Products | Email: labtherm@gmail.com | bhagalpur@cipet.gov.in
Arc Resistance |  | CIPET:CSTS BHAGALPUR | Arcom Enterprises | ARCOM AE-ART | AE-ART | External Funding | MoCF |  |  | Testing | Chandan Kumar | 743400 |  |  | Testing | Arcom Enterprises | E -mail: sales@arcomenterprises.com | Arcom Enterprises | E -mail: sales@arcomenterprises.com | bhagalpur@cipet.gov.in
Burst Strength Tester |  | CIPET:CSTS BHAGALPUR | EIE Instruments Pvt Ltd | VIPL PT-101SH50 | PT-101SH50 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 162899 |  |  | Testing | EIE Instruments Pvt Ltd | E-mail : tender@eieinstruments.com | EIE Instruments Pvt Ltd | E-mail : tender@eieinstruments.com | bhagalpur@cipet.gov.in
Free Falling Dart Impact Tester |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific | STECH | STECH | External Funding | MoCF |  |  | Testing | Chandan Kumar | 119180 |  |  | Testing | Khushboo Scientific | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Opacity Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | Elemech EPI/OT/016 | EPI/OT/016 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 82527 |  |  | Testing | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Haze & Clarity Meter |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | Elemech EPI/HC/030 | EPI/HC/030 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 404058 |  |  | Testing | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Carbon Black Content Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | Elemech EPI/CBC/017 | EPI/CBC/017 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 134559 |  |  | Testing | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Muffle Furnance |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | Elemech EPI/MF/010 | EPI/MF/010 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 63197 |  |  | Testing | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Universal Milling Machine |  | CIPET:CSTS BHAGALPUR | Lakshmi Industries (Regd) | Bmact MAC-2U | MAC-2U | External Funding | MoCF |  |  | Testing | Chandan Kumar | 2023558 |  |  | Testing | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | Lakshmi Industries (Regd) | Email: lak124@rediffmail.com | bhagalpur@cipet.gov.in
Limiting Oxygen Index Apparatus (Q3) |  | CIPET:CSTS BHAGALPUR | Shree Enterprises | SE-60 | SE-60 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 212400 |  |  | Testing | Shree Enterprises | _ | Shree Enterprises | _ | bhagalpur@cipet.gov.in
Melting Point Appartus (Capacity Tube Method) (Q3) |  | CIPET:CSTS BHAGALPUR | Dinesh Scientific | DS-MPA-400 | DS-MPA-400 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 326119 |  |  | Testing | Dinesh Scientific | _ | Dinesh Scientific | _ | bhagalpur@cipet.gov.in
Punching Press |  | CIPET:CSTS BHAGALPUR | Srimathy Engineers | ESSARRAM / HARIHAR SICO / HPC - 30 | SICO / HPC - 30 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 1392400 |  |  | Testing | Srimathy Engineers | Email: ssrimathyengineers@gmail.com | Srimathy Engineers | Email: ssrimathyengineers@gmail.com | bhagalpur@cipet.gov.in
Environmental Chamber |  | CIPET:CSTS BHAGALPUR | World Invent Scientific Technologies | Wist WTENV 100 - W2 | WTENV 100 - W2 | External Funding | MoCF |  |  | Testing | Chandan Kumar | 415000 |  |  | Testing | World Invent Scientific Technologies | Email: tenders@worldinventscientific.com | World Invent Scientific Technologies | Email: tenders@worldinventscientific.com | bhagalpur@cipet.gov.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE