## Sheet2 (2)
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Contour Cutter |  | Testing | Make:-ATS Faar Spa, Italy |  |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for specimen preparation | Testing | Mechanical | 980000 | www.cipet.gov.in | Working | Characterisation |  |  |  | ATS Faar Spa, Italy | eastcalibration@gmail.com |  |  | guwahati@cipet.gov.in
Impact Tester |  | Testing | Make:-Ceast, Italy, P/N6963.000 type, Izod & charpy type, Range: 1.0 to 25.0 joule | Type No.6185/Sl.No-16582 |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for impact test of samples | Testing | Mechanical | 615062 | www.cipet.gov.in | Working | Characterisation |  |  |  | Ceast, Italy, P/N6963.000 type, Izod & charpy type, Range: 1.0 to 25.0 joule | eastcalibration@gmail.com |  |  | guwahati@cipet.gov.in
Universal Tester –10.0 Tons | UTM | Testing | Make:-Hounsefield, England, H 100K-S Type, Max Capacity:- 100KN | Sl.No.-0084,Model No-H100KS |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for various mechanical properties of plastics like tensile,flexural,compressive tests etc. | Testing | Mechanical | 1912658 | www.cipet.gov.in | Working | Characterisation |  |  |  | Hounsefield, England, H 100K-S Type, Max Capacity:- 100KN |  |  |  | guwahati@cipet.gov.in
Hydrostatic Pressure testing equipment |  | Testing | Make:-CIPET, Chennai | 1) Six station ,upto 20 kg/Cm2 for long term tester 2) Short term ,upto 140 Kg/Cm2 for Short term tester.Type No.STPT-1-03 |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for hydrostatic tests of pipes | Testing | Mechanical | 517371 | www.cipet.gov.in | Working | Characterisation |  |  |  | CIPET, Chennai | chennai@cipet.gov.in |  |  | guwahati@cipet.gov.in
Atomic Absorption Spectro Photometer |  | Testing | Make:-Perkin Elmer, USA | AA 700 type |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for effect on water test for various pipe & solvent cement sample | Testing | Chemical | 1820000 | www.cipet.gov.in | Working | Characterisation |  |  |  | Perkin Elmer, USA |  |  |  | guwahati@cipet.gov.in
Q-Sun Xenon Tester |  | Testing | Make:-Q-Panel lab Products, USA, Q-Sun | XE-3-HS type |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Uesd for accelarated sunlight exposure of various samples | Testing | Mechanical | 22,000,00.00 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make:-Q-Panel lab Products, USA, Q-Sun |  |  |  | guwahati@cipet.gov.in
UV Weather –O – Meter Radiometer UVA UVB |  | Testing | Make:Q-LAB Model:QUV/SPRY Sl No. 09-3149-2-CR-10 | HDT DI-01,107 |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for UV exposure of samples | Testing | Mechanical | 595260 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make:Q-LAB |  |  |  | guwahati@cipet.gov.in
HDT/VST Apparatus |  | Testing | Make: Gotech | Model - HV-2000-C3 |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for thermal properties | Testing | Mechanical | 800000 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make: Gotech |  |  |  | guwahati@cipet.gov.in
Haze Meter |  | Testing | Make: EEL | Model: EEL 57 D |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for optical properties | Testing | Mechanical | 836880.4 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make: EEL |  |  |  | guwahati@cipet.gov.in
Differential Scanning Calorimetry | DSC | Testing | Make:PerkinElmer | Model -DSC 8000 |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for OIT,Tg & degree of cystallinity | Testing | Chemical | 2177974 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make:PerkinElmer |  |  |  | guwahati@cipet.gov.in
UV-Weather-o-Meter |  | Testing | Make: Deepak Polypast Pvt. Ltd. | Model- SR. No. of M/C DPPL/19-20/2551/6285 |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for UV exposure of samples | Testing | Mechanical | 560550 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make: Deepak Polypast Pvt. Ltd. |  |  |  | guwahati@cipet.gov.in
Gas chromatography | GC | Testing | Make:Thermofisher Scientific India Pvt. Ltd. | Model -TRACE 1300 |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for VCM test of UPVC pipe material | Testing | Chemical | 3363000 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make:Thermofisher Scientific India Pvt. Ltd. | princyelsa.alexander@thermofisher.com |  |  | guwahati@cipet.gov.in
TGA Apparatus |  | Testing | Make: TA Instruments | Model: Discovery TGA55 |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for filler content of plastics | Testing | Chemical | 3125820 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make: TA Instruments | princyelsa.alexander@thermofisher.com |  |  | guwahati@cipet.gov.in
Atomic Absorption Spectro Photometer |  | Testing | Make: ANALYTIK JENA AG, GERMANY | Model: ZEEnit 700P Atomic Absorption Spectro Photometer |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for UV exposure of samples | Testing | Chemical | 5841000 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make: ANALYTIK JENA AG, GERMANY | prashant.dutt@shivaglobalteknosys.com |  |  | guwahati@cipet.gov.in
FT-IR |  | Testing | Make: Thermofisher Scientific | Model: NICOLET SUMMIT PRO |  | External | Ministry of Chemical & Fertilizers, Department of Chemical & Petrochemical , Govt. of India | NA | Used for identification of plastics samples | Testing | Chemical | 1770000 | www.cipet.gov.in | Working | Characterisation |  |  |  | Make: Thermofisher Scientific |  |  |  | guwahati@cipet.gov.in