## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Hot Air Oven | HAO |  | Pooja Scientific | Pooja Scientific | NITRRBMEFFEQ41 | Government | Institute Budget |  |  | Biomedical Engineering | Baking Facility | 15930 |  |  | Fabrication | Surana Enterprises |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Ultrasonic Cleaner Bath | UCB |  | Citizen | CUB5 | NITRRBMEFFEQ12 | Government | Institute Budget |  |  | Biomedical Engineering | Ultrasonic cleaning facility | 23010 |  |  | Fabrication | Surana Enterprises |  |  | mbasu.bme@nitrr.ac.in | mbasu.bme@nitrr.ac.in
Vortex Mixer | VM |  | Neuation | iSwixVT | NITRRBMEFFEQ19 | Government | DST |  |  | Biomedical Engineering | Vortex generator facility | 12980 |  |  | Fabrication | Kasliwal Brothers |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Centrifuge Machine | CM |  | Remi | R4C | NITRRBMEFFEQ21 | Government | Institute Budget |  |  | Biomedical Engineering | Normal centrifugation facility | 19411 |  |  | Fabrication | Surana Enterprises |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Magnetic Strirrer with Hot Plate | MS |  | Glassco | 500DNAG01 | NITRRBMEFFEQ18 | Government | DST |  |  | Biomedical Engineering | Magnetic stirrer based liquid mixing facility | 32231 |  |  | Fabrication | Kasliwal Brothers |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
WEIGHING MACHINE | WM |  | Aczet | CY223C | NITRRBMEFFEQ15 | Government | Institute Budget |  |  | Biomedical Engineering | Sub mili gram weighing facility | 57331 |  |  | Characterization | Surana Enterprises |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Water Bath with Hot and Cold Water Circulator | WB |  | Equibath | Refrigerated circulating water bath | NITRRBMEFFEQ36 | Government | Institute Budget |  |  | Biomedical Engineering | Dual temperature water bath facility | 70300 |  |  | Fabrication | Kasliwal Brothers |  |  | mbasu.bme@nitrr.ac.in | mbasu.bme@nitrr.ac.in
Autoclave | Au |  | Pooja Scientific Instruments | PSI | NITRRBMEFFEQ42 | Government | Institute Budget |  |  | Biomedical Engineering | Sterilization facility | 32000 |  |  | Fabrication | Surana Enterprises |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Electrospinning Unit | ESU |  | Espin Nanotech | Super ES2 | NITRRBMEFFEQ43 | Government | Institute Budget |  |  | Biomedical Engineering | Polymeric Nano fibers production facilities | 512000 |  |  | Fabrication |  |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Lyophilizer Freeze Dryer | LFDU |  | Delvac | LYODEL | NITRRBMEFFEQ08 | Government | Institute Budget |  |  | Biomedical Engineering | Vacuum drying facilities | 1625018 |  |  | Fabrication | Surana Enterprises |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
16 channel EEG data acquisition | 16DAQ |  | AD instruments | gtec | NITRRBMEFFEQ05 | Government | Institute Budget |  |  | Biomedical Engineering | Low power high precision data acquisition facility | 196975 |  |  | Characterization |  |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Microplate Reader | MR |  | Thermo scientific | Multiskan sky | NITRRBMEFFEQ26 | Government | DST |  |  | Biomedical Engineering | Absorption based spectroscopy facility | 804300 |  |  | Characterization |  |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Inverted fluorescence Microscope | IFC |  | ZEISS | Axiocam 202 Mono | NITRRBMEFFEQ35 | Government | Institute Budget |  |  | Biomedical Engineering | inverted fluoroscence microscopy facility | 1414999 |  |  | Characterization |  |  |  | mbasu.bme@nitrr.ac.in | mbasu.bme@nitrr.ac.in
Biosafety Cabinet Class II | BSC |  | Thermo scientific | 1384 A2 | NITRRBMEFFEQ33 | Government | Institute Budget |  |  | Biomedical Engineering | class 1000 clean cabinet facility | 1035720 |  |  | Fabrication |  |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
80 Deep Freezer | 80DF |  | Thermo scientific | Thermo scientific | NITRRBMEFFEQ44 | Government | Institute Budget |  |  | Biomedical Engineering | cryo freezing facility | 850000 |  |  | Fabrication |  |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Syringe Pump | SP1 |  | MARSAP SERVICES PVT LTD | Harvord PHD ULTRA | NITRRBMEFFEQ30 | Government | DST |  |  | Biomedical Engineering | programmable infusion pump facility of low volume | 466200 |  |  | Fabrication | Laxmi Scientific |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
High Precision Laser Cutting and Engraving Machine | LCE |  | TECH LABS INDIA | GCC Laserpro X252 | NITRRBMEFFEQ01 | Government | Institute Budget |  |  | Biomedical Engineering | polymer cutting and engraving facility | 822150 |  |  | Fabrication |  |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Spin Coater | SC |  | APEX INSTRUMENTS CO PVT LTD | SPINXG PLA | NITRRBMEFFEQ16 | Government | DST |  |  | Biomedical Engineering | nano coating facility | 140221 |  |  | Fabrication |  |  |  | mbasu.bme@nitrr.ac.in | mbasu.bme@nitrr.ac.in
Oxygen Plasma Cleaner Machine | OPC |  | Harrick Plasma | PDC32G 2 | NITRRBMEFFEQ14 | Government | Institute Budget |  |  | Biomedical Engineering | plasma based cleaning and bonding facility | 1280300 |  |  | Fabrication |  |  |  | mbasu.bme@nitrr.ac.in | mbasu.bme@nitrr.ac.in
Flow Controller for Pressure Based Fluid Control | FCP |  | Fluigent | Flow EZ | NITRRBMEFFEQ38 | Government | Institute Budget |  |  | Biomedical Engineering | microfluidic workstation facility | 1800000 |  |  | Fabrication and Charactrization |  |  |  | mbasu.bme@nitrr.ac.in | mbasu.bme@nitrr.ac.in
Inverted Microscope | IMT |  | Invitrogen Thermo Fisher | EVOS M5000 | NITRRBMEFFEQ07 | Government | Institute Budget |  |  | Biomedical Engineering | inverted fluoroscence microscopy facility | 2442600 |  |  | Charactrization |  |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Syringe Pump | SP2 |  | Shenchen | SPLab 12 | NITRRBMEFFEQ29 | Government | DST |  |  | Biomedical Engineering | high precision syringe pump facility | 320000 |  |  | Fabrication | Laxmi Scientific |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
pH Meter | PH |  | Eutech Instruments | Cyberscan | NITRRBMEFFEQ20 | Government | Institute Budget |  |  | Biomedical Engineering | digital pH measurment facility | 39000 |  |  | Characterization | Surana Enterprises |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Conductivity Meter | CM |  | Systronics | 304 | 304 | Government | Institute Budget |  |  | Biomedical Engineering | liquid conductivity measurement facility | 28000 |  |  | Characterization | Kasliwal Brothers |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
3d printer | 3D1 |  | Ultimaker | Ultimaker S3 | NITRRBMEFFEQ27 | Government | DST |  |  | Biomedical Engineering |  | 498000 |  |  | Fabrication |  |  |  | mbasu.bme@nitrr.ac.in | mbasu.bme@nitrr.ac.in
Deep Freezer | DF |  | Elanpro | Elanpro | NITRRBMEFFEQ39 | Government | Institute Budget |  |  | Biomedical Engineering | Deep freezing facility | 69000 |  |  | Fabrication |  |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Microviscometer | MV |  | Anton Parr | Anton Parr | NITRRBMEFFEQ | Government | Institute Budget |  |  | Biomedical Engineering | Kinetic viscosity measurement facility | 1745000 |  |  | Characterization | Anton Paar |  |  | arinbit.bme@nitrr.ac.in | arinbit.bme@nitrr.ac.in
Trigno 16 Channel Wireless EMG EMG System | WEMG |  | Delsys | DST 01 | WEMG | Institution | Institute Budget |  |  | Biomedical Engineering |  | 1950000 |  |  | Characterization | CAD Engineering |  |  | bsingh.bme@nitrr.ac.in | bsingh.bme@nitrr.ac.in
fNIRS Imaging System | FNIRS |  | BIOPAC Systems | M 2000 | FNIRS | TEQIP | Institute Budget |  |  | Biomedical Engineering |  | 1795500 |  |  | Characterization | Gentech |  |  | bsingh.bme@nitrr.ac.in | bsingh.bme@nitrr.ac.in
64 Channel EEG Acquisition Kit | EEG |  | Brain Product | actiCHamp | EEG | Institution | Institute Budget |  |  | Biomedical Engineering |  | 4694838 |  |  | Characterization | Aerobe |  |  | bsingh.bme@nitrr.ac.in | bsingh.bme@nitrr.ac.in
ARVR Setup | ARVR |  | Microsoft and HTC | Microsoft and HTC | ARVR | Institution | Institute Budget |  |  | Biomedical Engineering |  | 450000 |  |  | Characterization |  |  |  | sgupta.bme@nitrr.ac.in | sgupta.bme@nitrr.ac.in
Universal Testing Machine | UTM |  | Tinius Olsen | HK10 | UTM | Institution | Institute Budget |  |  | Biomedical Engineering | Universal Testing Machine | 2600000 |  |  | Characterization | Aimil Pvt Ltd |  |  | nksingh.bme@nitrr.ac.in, mmarieswaran.bme@nitrr.ac.in | nksingh.bme@nitrr.ac.in, mmarieswaran.bme@nitrr.ac.in
Filament Extruder | FExt |  | 3Devo | Precision 450 | FExt | Institution | Institute Budget |  |  | Biomedical Engineering |  | 1050000 |  |  | Fabrication | Monotech Pvt Ltd |  |  | mmarieswaran.bme@nitrr.ac.in | mmarieswaran.bme@nitrr.ac.in
Stereo Microscope | Streo |  | Leica | Ivesta | Streo | Institution | Institute Budget |  |  | Biomedical Engineering |  | 1089000 |  |  | Characterization | Intech Pvt Ltd |  |  | mmarieswaran.bme@nitrr.ac.in | mmarieswaran.bme@nitrr.ac.in
Contact Angle Mesurement Set up | ContAng |  | APEX INSTRUMENTS | ACAM series | ContAng | Institution | Institute Budget |  |  | Biomedical Engineering |  | 1380000 |  |  | Characterization | Apex Instuments |  |  | nksingh.bme@nitrr.ac.in | nksingh.bme@nitrr.ac.in
FDM Dual Extruder 3D printer | 3DPrint |  | Creatbot | F430 | 3DPrint | Institution | Institute Budget |  |  | Biomedical Engineering |  | 420000 |  |  | Fabrication | 3Idea |  |  | mmarieswaran.bme@nitrr.ac.in | mmarieswaran.bme@nitrr.ac.in

## Worksheet 1
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE