## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Laser Raman Spectrometer |  | FI & Raman Lab | Horiba Jobin Yvon | LabRam HR 800 | 2/464 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | FI & Raman | 7241000 |  | Under Maintenance | Analytical Measurement | koushik@wihg.res.in
Fuid inclusion Microthermometry heating/freezing Stage | FI Microthermometry Stage | FI & Raman Lab | Linkam | THMS-600 | 11004-0422 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | FI & Raman | 3000000 |  | Working | Analytical Measurement | koushik@wihg.res.in
Fission Track Counting Microscope | FTCM | Fission Track Lab | Leica | DM6 M | 473068 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Fission Track | 4000000 |  | Working | Analytical Measurement | vikas.himg@wihg.res.in
Drone |  | Fission Track Lab | Roter Precision Instruments | Trinity F90+ | #01255 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities |  | 13676250 |  | Working | Analytical Measurement | ramperu@wihg.res.in
3D Monitor |  | Fission Track Lab | Schneider Digital | 3D PluraView UHD (4k) M | 202428096 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities |  | 1450000 |  | Working | Analytical Measurement | ramperu@wihg.res.in
Field Relative Gravimeter | FGRVM | Geophysics Group | GF Instruments | LG-1 Galileo | 2105004321060048 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geophysics | 6866772 |  | Working | Research Infrastructure | param@wihg.res.in
Multi-Channel Analysis of Surface Waves | MASW | Geophysics Group | Nano Matrics | N.A. | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geophysics | 2800000 |  | Working | Analytical Measurement | bappamukherjee@wihg.res.in
Consolidation test apparatus(1) |  | Geotechnical Lab | AIMIL Ltd | N.A. | 0 2285 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 42286 |  | Under Maintenance | Analytical Measurement | tariq@wihg.res.in
Consolidation test apparatus(2) |  | Geotechnical Lab | AIMIL Ltd | N.A. | 0 1283 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 42286 |  | Under Maintenance | Analytical Measurement | tariq@wihg.res.in
Direct test apparatus | DST | Geotechnical Lab | AIMIL Ltd | N.A. | 0 2553 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 54912 |  | Working | Analytical Measurement | tariq@wihg.res.in
Slake durability test apparatus |  | Geotechnical Lab | AIMIL Ltd | N.A. | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 20696 |  | Working | Analytical Measurement | tariq@wihg.res.in
Standard penetrometer |  | Geotechnical Lab | AIMIL Ltd | N.A. | 0 2030 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 23400 |  | Working | Analytical Measurement | tariq@wihg.res.in
Standard Proctor compaction test apparatus |  | Geotechnical Lab | AIMIL Ltd | N.A. | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 2912 |  | Working | Analytical Measurement | tariq@wihg.res.in
Unconfined compression test apparatus for Rock | UCS | Geotechnical Lab | AIMIL Ltd | N.A. | 0 7117 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 129375 |  | Working | Analytical Measurement | tariq@wihg.res.in
Unconfined compression test apparatus for soil | UCS | Geotechnical Lab | AIMIL Ltd | N.A. | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 39041 |  | Working | Analytical Measurement | tariq@wihg.res.in
Ultrasonic pulse system for P and S wave velocity ,(GCTS, USA ) |  | Geotechnical Lab | GCTS | GCTS ULT- 100 | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 2872254 |  | Under Maintenance | Analytical Measurement | tariq@wihg.res.in
Casagrande test apparatus |  | Geotechnical Lab | HEICO | N.A. | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 4368 |  | Working | Analytical Measurement | tariq@wihg.res.in
Universal permeameter |  | Geotechnical Lab | HEICO | N.A. | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 21320 |  | Under Maintenance | Analytical Measurement | tariq@wihg.res.in
Triaxial set up |  | Geotechnical Lab | Tinius olsen | H50KN | 13040 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geotechnical | 993217 |  | Under Maintenance | Analytical Measurement | tariq@wihg.res.in
Clean Chemistry Lab Class 10000 |  | LA-MC-ICPMS Lab | Chemietron Clean Tech | Class 10000 | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Clean Chemistry | 7000000 |  | Under Maintenance | Research Infrastructure | aditya@wihg.res.in
Water Purification Systems | Milli-Q | LA-MC-ICPMS Lab | Merck Millipore | IQ-7000 | F2SB45594 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | LA-MC-ICPMS | 2317520 |  | Working | Analytical Measurement | aditya@wihg.res.in
Laser Ablation Multi-Collector Inductively Coupled Plasma Mass Spectrometry | LA-MC-ICPMS | LA-MC-ICPMS Lab | ThermoFisher Scientific | Neptune Plus | SN01200N | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | LA-MC-ICPMS | 73605339 |  | Under Maintenance | Analytical Measurement | aditya@wihg.res.in
Keyence microscope | Keyence | Micropalaeontology Lab | KEYENCE | VHX-600E | 8330 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Micropalaeontology | 5000000 |  | Under Maintenance | Analytical Measurement | kapesa@wihg.res.in
Magnetic Barrier Laboratory Separator | Mag. Separator | Mineral Sepration Lab | Frantz | LB-1 | 862 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Mineral Sepration | 6600000 |  | Working | Analytical Measurement | vikas.himg@wihg.res.in, aditya@wihg.res.in
Magnetic Barrier Laboratory Separator | Mag. Separator | Mineral Sepration Lab | Frantz | LB-1 | 505 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Mineral Sepration | 4000000 |  | Working | Analytical Measurement | vikas.himg@wihg.res.in, aditya@wihg.res.in
Wilfley Table | Wilfley Table | Mineral Sepration Lab | Holman | Holman-Wilfley 2015 | 15032L103 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Mineral Sepration | 1000000 |  | Working | Analytical Measurement | vikas.himg@wihg.res.in, aditya@wihg.res.in
Jaw Crusher |  | Mineral Sepration Lab | Schmersal | 1747 | 101157376 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Mineral Sepration | 2696818 |  | Working | Analytical Measurement | vikas.himg@wihg.res.in
Automatic Resistivity and IP System | ARES-ERT | MT Lab | GF Instruments | ARES II | 1505136 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geophysics | 3446660 |  | Under Maintenance | Characterization | rawatg@wihg.res.in
Dual Speed Magnetometer | JR 6 | Palaeomagnetic Lab | AGICO | JR 6 | 9032 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Palaeomagnetic | 2200000 |  | Working | Analytical Measurement | maheshkapawar@wihg.res.in
Kappabridge | KLY 3 | Palaeomagnetic Lab | AGICO | KLY 3 | 3021 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Palaeomagnetic | 2500000 |  | Working | Analytical Measurement | maheshkapawar@wihg.res.in
Kappabridge | KLY 5 | Palaeomagnetic Lab | AGICO | KLY 5 | 17017 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Palaeomagnetic | 5926922 |  | Working | Analytical Measurement | maheshkapawar@wihg.res.in
Fusions Stepped Heating System | LFS | Stable Isotope Lab | Teledyne | Fusions CO2, C-55L Laser HD, LIQ CLD | BTH.1138380.28822 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Stable Isotope | 5271000 |  | Under Maintenance | Analytical Measurement | aditya@wihg.res.in
Continuous Flow Isotope Ratio Mass Spectrometry | CF-IRMS | Stable Isotope Lab | ThermoFisher Scientific | Delta V Plus | SN08472D | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Stable Isotope | 12189000 |  | Working | Analytical Measurement | aditya@wihg.res.in
Dual Inlet Isotope Ratio Mass Spectrometry | DI-IRMS | Stable Isotope Lab | ThermoFisher Scientific | MAT 253 Plus | 09023G | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Stable Isotope | 20691355 |  | Working | Analytical Measurement | aditya@wihg.res.in
Elemental Analyzer | EA | Stable Isotope Lab | ThermoFisher Scientific | Flash 2000 | 2010.F0074 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Stable Isotope | 2413000 |  | Working | Analytical Measurement | aditya@wihg.res.in
Gas Bench | GB | Stable Isotope Lab | ThermoFisher Scientific | Gas Bench-II | 1114262-400 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Stable Isotope | 2667000 |  | Working | Analytical Measurement | aditya@wihg.res.in
Gas Chromatography | GC | Stable Isotope Lab | ThermoFisher Scientific | Isolink Fen 12C/13C | 620100205 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Stable Isotope | 2477000 |  | Under Maintenance | Analytical Measurement | aditya@wihg.res.in
Keil IV Carbonate | Kiel | Stable Isotope Lab | ThermoFisher Scientific | Keil IV | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Stable Isotope | 14926165 |  | Working | Analytical Measurement | aditya@wihg.res.in
Abrasive Cutoff Machine |  | Thin Section Lab | Struers | Labotom-20 | 69300088 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Thin Section | 6405756 |  | Working | Analytical Measurement | vikas.himg@wihg.res.in
Automatic Grinding and Polishing machine |  | Thin Section Lab | Struers | Labopol-30 | 63320294 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Thin Section | 2727569 |  | Working | Analytical Measurement | vikas.himg@wihg.res.in
Thermoluminescence / Optically Stimulated Luminescence Reader | TL/ OSL | TL/OSL Lab | RISO | DA-20 | 226F-01/2016 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | TL/OSL | 5979508 |  | Under Maintenance | Analytical Measurement | pinkybisht@wihg.res.in
Thermoluminescence / Optically Stimulated Luminescence Reader | TL/ OSL | TL/OSL Lab | RISO | DA-20 | 227F-01/2016 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | TL/OSL | 42862030 |  | Working | Analytical Measurement | pinkybisht@wihg.res.in
Thermoluminescence / Optically Stimulated Luminescence Reader | TL/ OSL | TL/OSL Lab | RISO | DA-20 | 332E-01/2012 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | TL/OSL | 10405819 |  | Under Maintenance | Analytical Measurement | pinkybisht@wihg.res.in
Total Organic Carbon Analyser | TOC | TOC Lab | SHIMADZU | SSM-5000A | H52755400144NK | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | TOC | 2754600 |  | Working | Analytical Measurement | prakasam@wihg.res.in
Triple Quadrupole Inductively Coupled Plasma Mass Spectrometry | TQ-ICPMS | TQ-ICPMS Lab | Agilent Technologies | 8900 | SG 22523445 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | TQ-ICPMS | 15802398 |  | Working | Analytical Measurement | peruc@wihg.res.in
Microwave Digestion System | MDS | TQ-ICPMS Lab | Anton Paar Analytics | Mult-wave 7301 | 84904508 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | TQ-ICPMS | 6979850 |  | Working | Analytical Measurement | peruc@wihg.res.in
Water Purification Systems | Milli-Q | Water Chemistry Lab | Merck Millipore | IQ-7000 | BM1KB6292 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Water Chemistry | 2800000 |  | Working | Analytical Measurement | sameer@wihg.res.in
Laser Water Isotope Analyzer | LWIA | Water Chemistry Lab | Picarro | L2140-i | 5519-HKDS2258 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Water Chemistry | 16736035 |  | Working | Analytical Measurement | sameer@wihg.res.in
Ion-Chromatograph | IC | Water Chemistry Lab | ThermoFisher Scientific | ICS-6000 | 22096440 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Water Chemistry | 11914669 |  | Working | Analytical Measurement | sameer@wihg.res.in
X-Ray Diffraction | XRD | XRD Lab | Anton Paar Analytics | XRDynamic 500 | 192000 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | XRD | 13496204 |  | Working | Analytical Measurement | subhojit@wihg.res.in
Wavelength Dispersive X-Ray Fluorescence | WD-XRF | XRF Lab | Bruker | S8 Tiger | 204532 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | XRF | 8258000 |  | Working | Analytical Measurement | hiredya@wihg.res.in
Microscope |  |  | Leica | DM 6B | N.A. | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Petrography | 3200000 |  | Working | Characterization | suman@wihg.res.in
Planetary Ball Mill |  |  | Retsch | PM10 | 42-2407901P | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Geochemistry | 2277400 |  | Working | Analytical Measurement | koushik@wihg.res.in
Advance Research Polarising Microscope |  |  | Zeiss | Axio Scope A1 | 3356010135 | Internal Funding | DST, Govt. of India |  | Wadia Sophisticated Analytical Instrument Facilities | Petrography | 2016620 |  | Working | Characterization | satya@wihg.res.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE