## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Model +A2:A1191-S Laboratory attritor |  |  | Union Process | 1-S | 971101 | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Briquetting press machine with 3 HP variable speed motor and 20 HP safe drive motor |  |  | K.R.Komarek Inc |  | 11599 | Others | Not found |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, rajesh@cgcri.res.in
Model 01-HD Attritor (Electronic- VFD) Grinding tank capacity 1400 cc |  |  | Union Process | 01-HD | 1JBF3ZO1 | External Funding | Ministry of Steel |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Automatic microprocessor controlled grinding & polishing machine. |  |  | Struers | Tegramin-2006016127 | 60110114 | External Funding | External agency |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
High Temperature thermal analyser TG-DTA/DSC |  |  | Netzsch | STA449F3 | STA449F3A-1050-M | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | souma@cgcri.res.in
Measurement of linear changes with temperature |  |  | TA Instruments | DIL802 | 8556 | Others | Not found |  |  |  |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Automatic Hydraulic Laboratory Press(Carver make) |  |  | Carver | AUTOFOUR/30-12-NE | 140368 | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Compact laser flash diffusivity system; Operating principle: laser pulse; Source of laser: Nd-glass; Detector: IR ; Measurement temperature range: RT to 1100°C. |  |  | TA Instruments | DLF-1200 | DLF1-PP34 | Internal Funding | CSIR |  |  |  |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | somnaths@cgcri.res.in
Determination of refractoriness under load (RUL) and creep in compression of ceramic materials; Measurement temperature: upto 1650 °C |  |  | Netzsch | RUL 421 | 2440183 | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | gopal@cgcri.res.in
High temperature flexural strength tester; Maximum temperature: 1500 °C |  |  | Netzsch | HMOR422 | 280001046 | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Electric Screw Press Maximum pressure: 8000 kN |  |  | Zibo Dekuan Automation Equipment Co Ltd | SD2-400 | 20400132 | Internal Funding | CSIR |  |  |  |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, satyajit@cgcri.res.in
Electric Arc Furnace |  |  | Eastern Metech Pvt Ltd |  |  | Internal Funding | CSIR |  |  |  |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | satyajit@cgcri.res.in
Eirich Mixer |  |  | EIRICH | RV02E | 500884 | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Induction Furnace |  |  | Inductotherm(India)Pvt Ltd | WECO30L | 910/10/2017 | Internal Funding | CSIR |  |  |  |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, satyajit@cgcri.res.in
Thermomechanical analyser Max temp 1550°C Max load 3N |  |  | Netzsch | TMA402F3 | HTP40000A28-1053 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | kdana@cgcri.res.in
Freeze Dryer |  |  | Eyela | EYELA FDU2110 | 11415798 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | rajesh@cgcri.res.in
Universal Testing Machine (UTM-1) and the accessories added time-to-time |  |  | INSTRON, UK | 5500R |  | Internal Funding | Institute Fund |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sk_dalui@cgcri.res.in
UNIVERSAL TESTING MACHINE (UTM-2) and the accessories added time-to-time |  |  | Zwick/ Roell, Germany | Z-100 |  | Internal Funding | Institute Fund |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sk_dalui@cgcri.res.in
VICKERS HARDNESS TESTER |  |  | LECO, USA | LV700 |  | Internal Funding | Institute Fund |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sk_dalui@cgcri.res.in
NANO INDENTER |  |  | NANOMECHANICHS INC, USA | i-NANO |  | Internal Funding | Institute Fund |  |  |  |  | 1 |  | Non-Functional | Lab Equipment |  |  |  |  | sk_dalui@cgcri.res.in
Atmospheric Controlled 1100°C chamber furnace with vaccum pumps, Gas purging facility and water chiller cum circulation |  |  | VB Ceramic, Chennai | Nil |  | Internal Funding | Institute Fund |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | ncpramanik@cgcri.res.in
Electroheat High Temparature chamber type furnace type-1 (150´150´300) temp upto 1700°C with 16 segment programming |  |  | Naskar & Co, Howrah |  |  | Internal Funding | Institute Fund |  |  |  |  | 1 |  |  | Lab Equipment |  |  |  |  | atiar@cgcri.res.in
Standalone nanoindentor system,compressing of following items as per stock register (pierosconner fitted with hysitron) |  |  | Hysitron, USA | T1700 |  | Internal Funding | Institute Fund |  |  |  |  | 1 |  | Non-Functional | Lab Equipment |  |  |  |  | sk_dalui@cgcri.res.in
Fischerscope H100xyp 603126 equipment consisting of measuring head H100SMC, positioning device,H100CXYP, rubber feet 4pads, hardness Ref. Plate 6-2-725, Bercovich indenter H100c, 603-105-1set, Knoop indenter 1set |  |  | Helmut Fischer, GmBH, Germany | Fischerscope H100X-Yp |  | Internal Funding | Institute Fund |  |  |  |  | 1 |  | Non-Functional | Lab Equipment |  |  |  |  | sk_dalui@cgcri.res.in
Scratch Tester DUCOM, BANGALORE Model - TR-101-M3 |  |  | DUCOM, BANGALORE | TR-101-M3 |  | Others | Not found |  |  |  |  | 1 |  | Non-Functional | Lab Equipment |  |  |  |  | sk_dalui@cgcri.res.in
Brook Field Viscometer with 4 spindle of steel |  |  | Brook Field | LVF |  | Internal Funding | Institute Fund |  |  |  |  | 1 |  |  | Lab Equipment |  |  |  |  | sk_dalui@cgcri.res.in
Split Hopkinson Pressure bar |  |  | REL Inc., USA |  |  | Internal Funding | CSIR |  |  |  |  | 1 |  | Non-Functional | Lab Equipment |  |  |  |  | saikat@cgcri.res.in
CNC Vertical Milling m/c |  |  | HAAS Automation Inc. | VF1 | SN1101267 | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
Microtest Universal Testing m/c |  |  | Micro Test S.A | EFH/100/FR | R100/117 | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
Nano indentation |  |  | Hysitron INC | TI Premier |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
Graphite Element Furnace Furnace |  |  | Thermal Technologe USA | 220V-20KVA 50HZ-1HP | C048-8912 | Others | Not found |  |  |  |  | 1 |  | Functiona | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
Hot Isotatic Press |  |  | AIP | HP-830 |  | Others | Not found |  |  |  |  | 1 |  | Not Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
Astro Furnace |  |  | Astro Industried | 20KVA-220V-50HZ-1PH | C021-0204 | Others | Not found |  |  |  |  | 1 |  | Functionial | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
Nabertherm Furnace with accessories |  |  | Nabertherm Gmbh | LBVHT540/16-MO-H2 |  | External Funding | RCI |  |  |  |  | 1 |  | Not Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
Spark Plasma Sintering Furnace |  |  | FCT GmbH |  |  | External Funding | CERMESA |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
XTH-225-X Ray Micro CT System |  |  | X-Tek System Ltd, England | XTH 225KV | JN 2055 | Others | Not found |  |  |  |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
ELB High Precision Surface Grinding M/C |  |  | ELB-Schliff Werkzeugmaschinen GmbH | SMART N6 HGT 840D-SL | 52173(200244) | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
Hard ceramic Turning m/c Schaublin Lathe 225 Tmi |  |  | Schaublin Machine SA | 225 Tmi | 353268-2012 | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
CNC Wire cut EDM |  |  | Electronica Hi-Tech Machine Tools Pvt. Ltd. | Job Master Profit | 10/21-22 | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
Nanoform XTC Lathe |  |  | AMTEK PRECITECH INC | Nanoform Xtc | 2019-070 | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sganga@cgcri.res.in
ELECTROSPINING APPARATUS WITH ACCESSORIES |  |  | Nanotech |  |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | s.hansda@cgcri.res.in
EPPENDORF REFRIGERATED CENTRIFUGE S 4301 |  |  | EPPENDORT | S430R |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | s.hansda@cgcri.res.in
SPIN COATER AND CHARACTERIZATION SYSTEM |  |  |  | HO-TH-5 HO- IAD-CAM- 01B |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | s.hansda@cgcri.res.in
High temp. Nano indentation systcm |  |  | Hysitron Inc (Currently Bruker) | TI-premeree |  | External Funding | DST |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | soupitak@cgcri.res.in
Laser Based Micro Machining System | [5 empty] | Others | Not found |  |  |  |  | 1 |  |  | Lab Equipment |  |  |  |  | soupitak@cgcri.res.in
AC0USITE EMISSION SENSING MODULE | [5 empty] | Others | Not found |  |  |  |  | 1 |  |  | Lab Equipment |  |  |  |  | soupitak@cgcri.res.in
VACUUM ARC MELTING FURNACE |  |  | VEC Solutions | VAM01 |  | Others | CGCRI |  |  |  |  | 1 |  |  | Lab Equipment |  |  |  |  | soupitak@cgcri.res.in
HARDNESS TESTER |  |  | ESEWAY | W4303 |  | Others | Not found |  |  |  |  | 1 |  | Yes/Under Maintainance | Lab Equipment |  |  |  |  | mitun@cgcri.res.in
Tribometer |  |  | Nanovea USA |  |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mitun@cgcri.res.in
Scratch Adhesion Tester |  |  | Ducum Instruments |  |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | jui@cgcri.res.in
DESKTOP SEM |  |  | Phenom World,Netherland | PRO X |  | Others | Not found |  |  |  |  | 1 |  | Yes/ Under maintenance | Lab Equipment |  |  |  |  | mitun@cgcri.res.in
OPTICAL MICROSCOPE |  |  | Olympus Corp.,Japan | BX51XC30 |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mitun@cgcri.res.in
ONE RAISING HEARTH FURNACE |  |  | Kanthal |  |  | Others | Not found |  |  |  |  | 1 |  | Yes/ Under maintenance | Lab Equipment |  |  |  |  | sumana@cgcri.res.in
EXTRUDER |  |  | Specific Engg, Vadodara,Gujarat |  |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sbodhak@cgcri.res.in
GAMMA RAY STERILISATION &REFUBRISHED |  |  | Board of Radiation and isotope Technology (BRIT) DAE Govt. of India navi Mumbai |  |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | bkundu@cgcri.res.in
PLASMA SPRAY |  |  | ADOR FONTECH Ltd ,Bengaluru | sulzar metco 9M |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | bkundu@cgcri.res.in
SPRAY DRIER |  |  | Scientech Nundy Street,Kolkata/ |  |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | bkundu@cgcri.res.in
Contact Angle Measurment |  |  | Kruss Gmbh ,Germany | DSA2SE |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mitun@cgcri.res.in
CNC Lathe |  |  | Praga Tools Limited , Hyderabad |  |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | ppatra@cgcri.res.in
High energy Planetary Ball machine |  |  | Retsch , Germany Pm 100 | Pm 100 |  | Others | Not found |  |  |  |  | 1 |  | Yes/ Under maintenance | Lab Equipment |  |  |  |  | bkundu@cgcri.res.in
3D PRINTER |  |  | Divide by Zero,Kanpur/AEQN 400 V3 | /AEQN 400 V3 |  | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sbodhak@cgcri.res.in
MCVD System-1 (Glass Working Lathe + UltradryVapour Delivery & Control System) |  |  | Tystar Corporation, USA & Litton, USA | GDS-2001 EJ2029540 |  | External Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mcpal@cgcri.res.in
Optical Fiber Analyzer (EXFO) |  |  | EXFO,USA | NR 9200 |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | anirband@cgcri.res.in
Optical Fiber Drawing Tower-1 |  |  | Heathway, UK | Custom Made | CGCRI-2084 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mcpal@cgcri.res.in
FBG Writing Station |  |  | TeraXion, Canada | TeraXion Grating Writing Station |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | palas@cgcri.res.in
Optical Preform Analyzer |  |  | Photon Kinetics, Inc. USA | PK 2600 | 56941219 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | dshyamal@cgcri.res.in
WDM Test Bed |  |  | EXFO, Canada | IQ-206 |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mcpal@cgcri.res.in
Polymide Recoater |  |  | Vytran, USA | PTR-200-PRL |  | Others | Not Known |  |  |  |  | 1 |  | Not Working (Un-availibility of chemicals/technology outdated) | Lab Equipment |  |  |  |  | palas@cgcri.res.in
Fluorescence lifetime measurement set-up |  |  | Edinburg Instruments, UK | UC-920 |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mcpal@cgcri.res.in
Optical Spectrum Analyzer (600-1700 nm) |  |  | Yokogawa, Japan |  |  | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | palas@cgcri.res.in
Rewinding/Re-spooling Machine |  |  | Control Interface Limited, UK | Custom Made | CGCRI-3056 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | debashri@cgcri.res.in
Cane & Capillary Drawing Tower |  |  | Control Interface Limited, UK | Custom Made | CGCRI-3159 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mcpal@cgcri.res.in
MCVD System-2 with Vapour Phase Delivery System |  |  | Nextrom, Finland | OFC-12 |  | External Funding | CSIR,MeitY,DRDO |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | anirband@cgcri.res.in
Optical Spectrum Analyser(1200-2400 nm) |  |  | Yokogawa, Japan | AQ-6375 | 91L803633 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
Optical Spectrum Analyser(600-1600 nm) |  |  | Yokogawa, Japan | AQ-6319 | 91H402746 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
Optical Fiber Drawing Tower-2 |  |  | Control Interface Limited, UK | Custom Made | CGCRI-3277 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mcpal@cgcri.res.in
Fiber Attenuation Loss Measurement Set-up (Bentham)-1 | [5 empty] | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | mcpal@cgcri.res.in
Tegramin-20 (Grinding and Polishing Machine) |  |  | M/s Struers A/S Denmark | Tegramin-20 | 60110190 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | dshyamal@cgcri.res.in
Digital Phosphor Oscilloscope(2.5 GHz,40GS/s) |  |  | Tektronix, USA | DPO7254C | C140371 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
Fiber Attenuation Loss Measurement Set-up (Bentham)-2 |  |  | Bentham, USA | TMc300F | 16834 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
Optical Spectrum Analyzer (350-1200 nm) |  |  | Yokogawa, Japan | AQ-6373 | 91R804507 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment
Fully Automated Optical Fiber Refractive Index Profile Measurement System (PK) |  |  | Photon Kinetics, USA | S14 | 59001138 | Internal Funding | CSIR |  |  |  |  | 1 |  | Not working currently/Troubleshooting going on | Lab Equipment |  |  |  |  | anirband@cgcri.res.in
OSA207 Fourier Transform Optical Spectrum Analyzer |  |  | Thorlabs, USA | OSA 207 |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | palas@cgcri.res.in
Solid State Laser System (Impress 213 NG) |  |  | Xiton Photonics, France | Impress-213 |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | palas@cgcri.res.in
ISOMET LOW SPEED SAW |  |  | M/s Buehler | 11-1280-250 | 744-ISF-7409 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | dshyamal@cgcri.res.in
Fiber tapering & splicing Glass Processing System |  |  | Thorlabs-Vytran, USA | GPX 3400 | 7546 | Internal Funding | CSIR |  |  |  |  | 1 |  | Non-Working | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
Splicer(FSM 100P+) |  |  | Fujikura Ltd., Japan | FSM 100P+ | 3920 | External Funding | DRDO |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
Fiber Re-coater |  |  | Thorlabs, USA | PTR-304B |  | External Funding | DRDO |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
Optical Spectrum Analyser |  |  | Yokogawa, Japan | AQ6370D-22-L1-H-FC/RFC |  | External Funding | DRDO |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | palas@cgcri.res.in
CMOS Bean Profiler with m² measurement setup |  |  | Ophir Optronics Solutions Ltd, Israel | NS2s-Ge/9/5-STD | P/N: PH00460 | External Funding | DRDO |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | debashri@cgcri.res.in
Femto Second Laser based Fibre Bragg Garting System. Part A: Satsuma with dual wavelength 1030 nm & 515 nm(Model:SATSUMA HP) Part B: Custom built optical fiber holder along with imaging and focusing assembly suitable for femto second laser based FBG inscription |  |  | Newport, USA | FemtoFBG |  | External Funding | DRDO |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | palas@cgcri.res.in
Digital Phosphor Oscilloscope(20 GHz,100GS/s) |  |  | Tektronix, USA | DPO72004C | C600799 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
Optical Spectrum Analyzer (350-1750 nm) | [5 empty] | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | debashri@cgcri.res.in
APS-113 Long stroke Air bearing Shaker | [5 empty] | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | nandini_b@cgcri.res.in
Electrodynamic Shaker Model TV52120 | [5 empty] | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | nandini_b@cgcri.res.in
Femto-second Laser 10W 200 microJ 1000KHz | [5 empty] | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | palas@cgcri.res.in
Solid State Laser System (Impress 213-2) |  |  | Xiton Photonics, France | Impress-213 |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | palas@cgcri.res.in
Continuous Tunable Laser Keysight N7778C |  |  | Keysight Technologies, USA | Keysight N7778C |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | nabarun@cgcri.res.in
Real Time Signal Analyser(1-3 GHz) |  |  | Tektronix, USA | RSA5103B | B051483 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
Splicer(FSM 100P+) & Fiber Cleaver(CT-116) |  |  | Fujikura Ltd., Japan | FSM 100P+ & CT-116 | 08217 and 00277 | External Funding | CGCRI |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atasi@cgcri.res.in
High precision Impedance Analyzer model 6510B with built in Microcomputer PC & others accessories . |  |  | M/S Wayne Kerr Electronics Pvt. Ltd. , | 6510B | 1592989 | External Funding | BARC, DAE |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | santanu@cgcri.res.in
Bottom Loading Type High Temperature Furnace |  |  | M/S Sandvik Asia Private Limited |  | 6019837 | External Funding | P-50 Equipment Head |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | santanu@cgcri.res.in
Fortigate 600 D UTM bundle |  |  | Fortinet | 600D | FGT6HD5819800281 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | agniv@cgcri.res.in
Atomic absorption spectroscopy (AAS) |  |  | Motras Scientific Instrument. Ltd. | AAS Plus |  | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | vigneshm@cgcri.res.in
Automated gas sorption analyzer |  |  | Quantachrome Instruments | Autosorb iQ | 14715111901 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | gmahesh@cgcri.res.in
Gas Chromatograph |  |  | Agilent Technologies | 490GC |  | Others | Not Known |  |  |  |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | gmahesh@cgcri.res.in
Gas Chromatography |  |  | Dani Instruments | Master GC |  | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | somjyoti@cgcri.res.in
Ion Chromatography |  |  | Metrohm | IC pro 881 |  | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | subhendu@cgcri.res.in
Total Organic Carbon |  |  | Shimadzu Instruments | TOC-V |  | Internal Funding | CSIR |  |  |  |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | subhendu@cgcri.res.in
Porometer |  |  | Quantachrome Instruments | 3G4A000000000-1 | 15012062601 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | roy.sanjukta@cgcri.res.in
Optical Microscope |  |  | Leica Microsystems Ltd, Germany | DFC295 |  | Others | Not Known |  |  |  |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | gcsahoo@cgcri.res.in
High Performance Liquid Chromatography |  |  | Shimadzu Instruments | LC-20AD | L20265419192 SS | External Funding | DST |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | sourja@cgcri.res.in
Zeta Sizer Analyzer ( Nano series) |  |  | Malvern Instrument Ltd, UK | ZEN1600 | MAL1033419 | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | roy.sanjukta@cgcri.res.in
Polarimeter |  |  | Rudolph Research Analytical, USA | AUTOPOL II | 32104 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | gcsahoo@cgcri.res.in
Thermogravimetry Differential Thermal Analysis (TGA/DTA) |  |  | NetZsch, Germany |  |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | gmahesh@cgcri.res.in
Planetary mill Pulverisette |  |  | Fritsch, Germany |  |  | Others | Not Known |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | gcsahoo@cgcri.res.in
Kinematic VISCOMETER |  |  | Anton Paar , USA | SVM 1001 Smart Viscometer | 84946867 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | vigneshm@cgcri.res.in
Model 1-S Laboratory attritor |  |  | Union Process | 1-S | 971101 | Others | Not found |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Briquetting press machine with 3 HP variable speed motor and 20 HP safe drive motor |  |  | K.R.Komarek Inc |  | 11599 | Others | Not found |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, rajesh@cgcri.res.in
Model 01-HD Attritor (Electronic- VFD) Grinding tank capacity 1400 cc |  |  | Union Process | 01-HD | 1JBF3ZO1 | External Funding | Ministry of Steel |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Automatic microprocessor controlled grinding & polishing machine. |  |  | Struers | Tegramin-2006016127 | 60110114 | External Funding | External agency |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
High Temperature thermal analyser TG-DTA/DSC |  |  | Netzsch | STA449F3 | STA449F3A-1050-M | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | souma@cgcri.res.in
Measurement of linear changes with temperature |  |  | TA Instruments | DIL802 | 8556 | Internal Funding | Not found |  |  |  |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Automatic Hydraulic Laboratory Press(Carver make) |  |  | Carver | AUTOFOUR/30-12-NE | 140368 | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Compact laser flash diffusivity system; Operating principle: laser pulse; Source of laser: Nd-glass; Detector: IR ; Measurement temperature range: RT to 1100°C. |  |  | TA Instruments | DLF-1200 | DLF1-PP34 | Internal Funding | CSIR |  |  |  |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | somnaths@cgcri.res.in
Determination of refractoriness under load (RUL) and creep in compression of ceramic materials; Measurement temperature: upto 1650 °C |  |  | Netzsch | RUL 421 | 2440183 | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | gopal@cgcri.res.in
High temperature flexural strength tester; Maximum temperature: 1500 °C |  |  | Netzsch | HMOR422 | 280001046 | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Electric Screw Press Maximum pressure: 8000 kN |  |  | Zibo Dekuan Automation Equipment Co Ltd | SD2-400 | 20400132 | Internal Funding | CSIR |  |  |  |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, satyajit@cgcri.res.in
Electric Arc Furnace |  |  | Eastern Metech Pvt Ltd |  |  | Internal Funding | CSIR |  |  |  |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | satyajit@cgcri.res.in
Eirich Mixer |  |  | EIRICH | RV02E | 500884 | Internal Funding | CSIR |  |  |  |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Induction Furnace |  |  | Inductotherm(India)Pvt Ltd | WECO30L | 910/10/2017 | Internal Funding | CSIR |  |  |  |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, satyajit@cgcri.res.in
Thermomechanical analyser Max temp 1550°C Max load 3N |  |  | Netzsch | TMA402F3 | HTP40000A28-1053 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | kdana@cgcri.res.in
Freeze Dryer |  |  | Eyela | EYELA FDU2110 | 11415798 | Internal Funding | CSIR |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | rajesh@cgcri.res.in
Upgradation of Clemex Microhardness Tester to its latest version including camera and Dell PC |  |  | NA | NA | NA | Others | NA |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atiar@cgcri.res.in
1800 °C Raising Furnace |  |  | NA | NA | NA | Others | NA |  |  |  |  | 1 |  | Functional | Lab Equipment |  |  |  |  | atiar@cgcri.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund