## Sheet1
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Model A2 A1191 S Laboratory attritor |  |  | Union Process | 1-S | 971101 | Others | Not found |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Briquetting press machine with 3 HP variable speed motor and 20 HP safe drive motor |  |  | K.R.Komarek Inc | NA | 11599 | Others | Not found |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, rajesh@cgcri.res.in
Model 01 HD Attritor Electronic VFD Grinding tank capacity 1400 cc |  |  | Union Process | 01-HD | 1JBF3ZO1 | External Funding | Ministry of Steel |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Automatic microprocessor controlled grinding and polishing machine |  |  | Struers | Tegramin-2006016127 | 60110114 | External Funding | External agency |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
High Temperature thermal analyser TG DTA DSC |  |  | Netzsch | STA449F3 | STA449F3A-1050-M | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | souma@cgcri.res.in
Measurement of linear changes with temperature |  |  | TA Instruments | DIL802 | 8556 | Others | Not found |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Automatic Hydraulic Laboratory Press Carver make |  |  | Carver | AUTOFOUR/30-12-NE | 140368 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Compact laser flash diffusivity system Operating principle laser pulse Source of laser Nd glass Detector IR Measurement temperature range RT to 1100 C |  |  | TA Instruments | DLF-1200 | DLF1-PP34 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | somnaths@cgcri.res.in
Determination of refractoriness under load RUL and creep in compression of ceramic materials Measurement temperature upto 1650 C |  |  | Netzsch | RUL 421 | 2440183 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | gopal@cgcri.res.in
High temperature flexural strength tester Maximum temperature 1500 C |  |  | Netzsch | HMOR422 | 280001046 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Electric Screw Press Maximum pressure 8000 kN |  |  | Zibo Dekuan Automation Equipment Co Ltd | SD2-400 | 20400132 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, satyajit@cgcri.res.in
Electric Arc Furnace |  |  | Eastern Metech Pvt Ltd | NA | NA | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | satyajit@cgcri.res.in
Eirich Mixer |  |  | EIRICH | RV02E | 500884 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Induction Furnace |  |  | Inductotherm(India)Pvt Ltd | WECO30L | 910/10/2017 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, satyajit@cgcri.res.in
Thermomechanical analyser Max temp 1550 C Max load 3 N |  |  | Netzsch | TMA402F3 | HTP40000A28-1053 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Functional | Lab Equipment |  |  |  |  | kdana@cgcri.res.in
Freeze Dryer |  |  | Eyela | EYELA FDU2110 | 11415798 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Functional | Lab Equipment |  |  |  |  | rajesh@cgcri.res.in
Planetary mill Pulverisette |  |  | Union Process | 1-S | 971101 | Others | Not found |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Kinematic VISCOMETER |  |  | K.R.Komarek Inc | NA | 11599 | Others | Not found |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, rajesh@cgcri.res.in
Model 1 S Laboratory attritor |  |  | Union Process | 01-HD | 1JBF3ZO1 | External Funding | Ministry of Steel |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Briquetting press machine with 3 HP variable speed motor and 20 HP safe drive motor |  |  | Struers | Tegramin-2006016127 | 60110114 | External Funding | External agency |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Model 01 HD Attritor Electronic VFD Grinding tank capacity 1400 cc |  |  | Netzsch | STA449F3 | STA449F3A-1050-M | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | souma@cgcri.res.in
Automatic microprocessor controlled grinding and polishing machine |  |  | TA Instruments | DIL802 | 8556 | Internal Funding | Not found |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
High Temperature thermal analyser TG DTA DSC |  |  | Carver | AUTOFOUR/30-12-NE | 140368 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Measurement of linear changes with temperature |  |  | TA Instruments | DLF-1200 | DLF1-PP34 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | somnaths@cgcri.res.in
Automatic Hydraulic Laboratory Press Carver make |  |  | Netzsch | RUL 421 | 2440183 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | gopal@cgcri.res.in
Compact laser flash diffusivity system Operating principle laser pulse Source of laser Nd glass Detector IR Measurement temperature range RT to 1100 C |  |  | Netzsch | HMOR422 | 280001046 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Determination of refractoriness under load RUL and creep in compression of ceramic materials Measurement temperature upto 1650 C |  |  | Zibo Dekuan Automation Equipment Co Ltd | SD2-400 | 20400132 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, satyajit@cgcri.res.in
High temperature flexural strength tester Maximum temperature 1500 C |  |  | Eastern Metech Pvt Ltd | NA | NA | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non Functional | Lab Equipment |  |  |  |  | satyajit@cgcri.res.in
Electric Screw Press Maximum pressure 8000 kN |  |  | EIRICH | RV02E | 500884 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in
Electric Arc Furnace |  |  | Inductotherm(India)Pvt Ltd | WECO30L | 910/10/2017 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Non functional | Lab Equipment |  |  |  |  | pradeep@cgcri.res.in, satyajit@cgcri.res.in
Eirich Mixer |  |  | Netzsch | TMA402F3 | HTP40000A28-1053 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Functional | Lab Equipment |  |  |  |  | kdana@cgcri.res.in
Induction Furnace |  |  | Eyela | EYELA FDU2110 | 11415798 | Internal Funding | CSIR |  |  | Refractory and Traditional Ceramics Division RTCD |  | 1 |  | Functional | Lab Equipment |  |  |  |  | rajesh@cgcri.res.in