## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Density Meter | Density Meter | Chemical Engineering department | Make: Aton Paar, Model: DMA 1001, Temperature range from 15 °C to 60 °C | Make: Aton Paar, Model: DMA 1001, Temperature range from 15 °C to 60 °C | Make: Aton Paar, Model: DMA 1001, Temperature range from 15 °C to 60 °C | Ministry of education | Ministry of education | Ministry of education | Make: Aton Paar, Model: DMA 1001, Temperature range from 15 °C to 60 °C | Chemical Engineering department | Density Meter | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Aton Paar, Model: DMA 1001, Temperature range from 15 °C to 60 °C | pskr@nitw.ac.in | Make: Aton Paar, Model: DMA 1001, Temperature range from 15 °C to 60 °C | pskr@nitw.ac.in | pskr@nitw.ac.in
Four Probe Resistivity Measurement | Four Probe Resistivity Measurement | Chemical Engineering department | Make:Indfurr Furnaces,Source meter make: Keithley , Model: 2450 | Make:Indfurr Furnaces,Source meter make: Keithley , Model: 2450 | Make:Indfurr Furnaces,Source meter make: Keithley , Model: 2450 | Ministry of education | Ministry of education | Ministry of education | Make:Indfurr Furnaces,Source meter make: Keithley , Model: 2450 | Chemical Engineering department | Four Probe Resistivity Measurement | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make:Indfurr Furnaces,Source meter make: Keithley , Model: 2450 | anjanapa@nitw.ac.in | Make:Indfurr Furnaces,Source meter make: Keithley , Model: 2450 | anjanapa@nitw.ac.in | anjanapa@nitw.ac.in
Gas Chromatography | Gas Chromatography | Chemical Engineering department | Make: Agilent, Model: Agilent 8860, Detectors-3, Inlets-2, Maximum Temperature Ramp Rate- 75 °C/min, Operating Temperature Range - +8 °C above ambient to 425, Oven Cool Down - 300 °C to 50 °C in 5.7 minutes (25 °C ambient), Peak Area Repeatability <2% RSD, Typical Pressure Control -0.01 psi, Valves-3, | Make: Agilent, Model: Agilent 8860, Detectors-3, Inlets-2, Maximum Temperature Ramp Rate- 75 °C/min, Operating Temperature Range - +8 °C above ambient to 425, Oven Cool Down - 300 °C to 50 °C in 5.7 minutes (25 °C ambient), Peak Area Repeatability <2% RSD, Typical Pressure Control -0.01 psi, Valves-3, | Make: Agilent, Model: Agilent 8860, Detectors-3, Inlets-2, Maximum Temperature Ramp Rate- 75 °C/min, Operating Temperature Range - +8 °C above ambient to 425, Oven Cool Down - 300 °C to 50 °C in 5.7 minutes (25 °C ambient), Peak Area Repeatability <2% RSD, Typical Pressure Control -0.01 psi, Valves-3, | Ministry of education | Ministry of education | Ministry of education | Make: Agilent, Model: Agilent 8860, Detectors-3, Inlets-2, Maximum Temperature Ramp Rate- 75 °C/min, Operating Temperature Range - +8 °C above ambient to 425, Oven Cool Down - 300 °C to 50 °C in 5.7 minutes (25 °C ambient), Peak Area Repeatability <2% RSD, Typical Pressure Control -0.01 psi, Valves-3, | Chemical Engineering department | Gas Chromatography | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Agilent, Model: Agilent 8860, Detectors-3, Inlets-2, Maximum Temperature Ramp Rate- 75 °C/min, Operating Temperature Range - +8 °C above ambient to 425, Oven Cool Down - 300 °C to 50 °C in 5.7 minutes (25 °C ambient), Peak Area Repeatability <2% RSD, Typical Pressure Control -0.01 psi, Valves-3, | anjanapa@nitw.ac.in | Make: Agilent, Model: Agilent 8860, Detectors-3, Inlets-2, Maximum Temperature Ramp Rate- 75 °C/min, Operating Temperature Range - +8 °C above ambient to 425, Oven Cool Down - 300 °C to 50 °C in 5.7 minutes (25 °C ambient), Peak Area Repeatability <2% RSD, Typical Pressure Control -0.01 psi, Valves-3, | anjanapa@nitw.ac.in | anjanapa@nitw.ac.in
Dip. Coating Unit | Dip. Coating Unit | Chemical Engineering department | Make: Holmarc, Model: HO-TH-02B, Drive mechanism : Lead screw, Stroke length max. : 150 mm, Maximum sample size : 75 x 50 mm, Drawing speed min. : 18 micron / sec, Drawing speed max. : 9000 micron / sec, Max. power consumption : 600 Watts, Max. Temperature : 200° Celsius, Max. Substrate size : 75 mm x 25 mm, Maximum load capacity : 2 Kg | Make: Holmarc, Model: HO-TH-02B, Drive mechanism : Lead screw, Stroke length max. : 150 mm, Maximum sample size : 75 x 50 mm, Drawing speed min. : 18 micron / sec, Drawing speed max. : 9000 micron / sec, Max. power consumption : 600 Watts, Max. Temperature : 200° Celsius, Max. Substrate size : 75 mm x 25 mm, Maximum load capacity : 2 Kg | Make: Holmarc, Model: HO-TH-02B, Drive mechanism : Lead screw, Stroke length max. : 150 mm, Maximum sample size : 75 x 50 mm, Drawing speed min. : 18 micron / sec, Drawing speed max. : 9000 micron / sec, Max. power consumption : 600 Watts, Max. Temperature : 200° Celsius, Max. Substrate size : 75 mm x 25 mm, Maximum load capacity : 2 Kg | Ministry of education | Ministry of education | Ministry of education | Make: Holmarc, Model: HO-TH-02B, Drive mechanism : Lead screw, Stroke length max. : 150 mm, Maximum sample size : 75 x 50 mm, Drawing speed min. : 18 micron / sec, Drawing speed max. : 9000 micron / sec, Max. power consumption : 600 Watts, Max. Temperature : 200° Celsius, Max. Substrate size : 75 mm x 25 mm, Maximum load capacity : 2 Kg | Chemical Engineering department | Dip. Coating Unit | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Holmarc, Model: HO-TH-02B, Drive mechanism : Lead screw, Stroke length max. : 150 mm, Maximum sample size : 75 x 50 mm, Drawing speed min. : 18 micron / sec, Drawing speed max. : 9000 micron / sec, Max. power consumption : 600 Watts, Max. Temperature : 200° Celsius, Max. Substrate size : 75 mm x 25 mm, Maximum load capacity : 2 Kg | anjanapa@nitw.ac.in | Make: Holmarc, Model: HO-TH-02B, Drive mechanism : Lead screw, Stroke length max. : 150 mm, Maximum sample size : 75 x 50 mm, Drawing speed min. : 18 micron / sec, Drawing speed max. : 9000 micron / sec, Max. power consumption : 600 Watts, Max. Temperature : 200° Celsius, Max. Substrate size : 75 mm x 25 mm, Maximum load capacity : 2 Kg | anjanapa@nitw.ac.in | anjanapa@nitw.ac.in
Bench Ultraviolet Light Accelerated Weathering Tester | Bench Ultraviolet Light Accelerated Weathering Tester | Chemical Engineering department | Make: Biuge, Model: BGD 852, The settable range of temperature for test is RT + 5°C ~ 80°C, The timing range of the testing procedure can range from 1 hour to 99999 hours, The maximum irradiance that is offered by the instrument is 0.7 W/m., and 0.4 W/m. | Make: Biuge, Model: BGD 852, The settable range of temperature for test is RT + 5°C ~ 80°C, The timing range of the testing procedure can range from 1 hour to 99999 hours, The maximum irradiance that is offered by the instrument is 0.7 W/m., and 0.4 W/m. | Make: Biuge, Model: BGD 852, The settable range of temperature for test is RT + 5°C ~ 80°C, The timing range of the testing procedure can range from 1 hour to 99999 hours, The maximum irradiance that is offered by the instrument is 0.7 W/m., and 0.4 W/m. | Ministry of education | Ministry of education | Ministry of education | Make: Biuge, Model: BGD 852, The settable range of temperature for test is RT + 5°C ~ 80°C, The timing range of the testing procedure can range from 1 hour to 99999 hours, The maximum irradiance that is offered by the instrument is 0.7 W/m., and 0.4 W/m. | Chemical Engineering department | Bench Ultraviolet Light Accelerated Weathering Tester | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Biuge, Model: BGD 852, The settable range of temperature for test is RT + 5°C ~ 80°C, The timing range of the testing procedure can range from 1 hour to 99999 hours, The maximum irradiance that is offered by the instrument is 0.7 W/m., and 0.4 W/m. | raghuraj@nitw.ac.in | Make: Biuge, Model: BGD 852, The settable range of temperature for test is RT + 5°C ~ 80°C, The timing range of the testing procedure can range from 1 hour to 99999 hours, The maximum irradiance that is offered by the instrument is 0.7 W/m., and 0.4 W/m. | raghuraj@nitw.ac.in | raghuraj@nitw.ac.in
Ultrasonic Probe Sonicator | Ultrasonic Probe Sonicator | Chemical Engineering department | Make:: Q Sonica, Model No: Q-700, Power Rating 700 Watts, Adjustable Pulse On/Off 1 Second to 24 Hours, Programmable Timer 72 Hours, Volume Up to 2 Liters, Programmability 10 Programs, Frequency 20 kHz | Make:: Q Sonica, Model No: Q-700, Power Rating 700 Watts, Adjustable Pulse On/Off 1 Second to 24 Hours, Programmable Timer 72 Hours, Volume Up to 2 Liters, Programmability 10 Programs, Frequency 20 kHz | Make:: Q Sonica, Model No: Q-700, Power Rating 700 Watts, Adjustable Pulse On/Off 1 Second to 24 Hours, Programmable Timer 72 Hours, Volume Up to 2 Liters, Programmability 10 Programs, Frequency 20 kHz | Ministry of education | Ministry of education | Ministry of education | Make:: Q Sonica, Model No: Q-700, Power Rating 700 Watts, Adjustable Pulse On/Off 1 Second to 24 Hours, Programmable Timer 72 Hours, Volume Up to 2 Liters, Programmability 10 Programs, Frequency 20 kHz | Chemical Engineering department | Ultrasonic Probe Sonicator | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make:: Q Sonica, Model No: Q-700, Power Rating 700 Watts, Adjustable Pulse On/Off 1 Second to 24 Hours, Programmable Timer 72 Hours, Volume Up to 2 Liters, Programmability 10 Programs, Frequency 20 kHz | shirish@nitw.ac.in | Make:: Q Sonica, Model No: Q-700, Power Rating 700 Watts, Adjustable Pulse On/Off 1 Second to 24 Hours, Programmable Timer 72 Hours, Volume Up to 2 Liters, Programmability 10 Programs, Frequency 20 kHz | shirish@nitw.ac.in | shirish@nitw.ac.in
Fast Pyrolosys Reactor | Fast Pyrolosys Reactor | Chemical Engineering department | Make: Dass, Model: DC-CPS4/12 | Make: Dass, Model: DC-CPS4/12 | Make: Dass, Model: DC-CPS4/12 | Ministry of education | Ministry of education | Ministry of education | Make: Dass, Model: DC-CPS4/12 | Chemical Engineering department | Fast Pyrolosys Reactor | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Dass, Model: DC-CPS4/12 | pskr@nitw.ac.in | Make: Dass, Model: DC-CPS4/12 | pskr@nitw.ac.in | pskr@nitw.ac.in
Refrigerated Centrifuge with LCD Display | Refrigerated Centrifuge with LCD Display | Chemical Engineering department | Make: ESAW India, Model: ESAW RC-36, Centrifuge design Bench Top, Maximum RPM with no load 12000 to 15000 or above, RPM setting accuracy plus minus 5%, Number of steps of RPM Variation available in the settings - 10, Maximum timer set point max 99h, 59min, 59sec, Ambient operating Temperature range in Degree centigrade Celsius and humidity range 0 to 50 and Relative humidity 15 to 90% | Make: ESAW India, Model: ESAW RC-36, Centrifuge design Bench Top, Maximum RPM with no load 12000 to 15000 or above, RPM setting accuracy plus minus 5%, Number of steps of RPM Variation available in the settings - 10, Maximum timer set point max 99h, 59min, 59sec, Ambient operating Temperature range in Degree centigrade Celsius and humidity range 0 to 50 and Relative humidity 15 to 90% | Make: ESAW India, Model: ESAW RC-36, Centrifuge design Bench Top, Maximum RPM with no load 12000 to 15000 or above, RPM setting accuracy plus minus 5%, Number of steps of RPM Variation available in the settings - 10, Maximum timer set point max 99h, 59min, 59sec, Ambient operating Temperature range in Degree centigrade Celsius and humidity range 0 to 50 and Relative humidity 15 to 90% | Ministry of education | Ministry of education | Ministry of education | Make: ESAW India, Model: ESAW RC-36, Centrifuge design Bench Top, Maximum RPM with no load 12000 to 15000 or above, RPM setting accuracy plus minus 5%, Number of steps of RPM Variation available in the settings - 10, Maximum timer set point max 99h, 59min, 59sec, Ambient operating Temperature range in Degree centigrade Celsius and humidity range 0 to 50 and Relative humidity 15 to 90% | Chemical Engineering department | Refrigerated Centrifuge with LCD Display | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: ESAW India, Model: ESAW RC-36, Centrifuge design Bench Top, Maximum RPM with no load 12000 to 15000 or above, RPM setting accuracy plus minus 5%, Number of steps of RPM Variation available in the settings - 10, Maximum timer set point max 99h, 59min, 59sec, Ambient operating Temperature range in Degree centigrade Celsius and humidity range 0 to 50 and Relative humidity 15 to 90% | anjanapa@nitw.ac.in | Make: ESAW India, Model: ESAW RC-36, Centrifuge design Bench Top, Maximum RPM with no load 12000 to 15000 or above, RPM setting accuracy plus minus 5%, Number of steps of RPM Variation available in the settings - 10, Maximum timer set point max 99h, 59min, 59sec, Ambient operating Temperature range in Degree centigrade Celsius and humidity range 0 to 50 and Relative humidity 15 to 90% | anjanapa@nitw.ac.in | anjanapa@nitw.ac.in
3D Printer | 3D Printer | Chemical Engineering department | Make, Forms Lab Model: Form_3 | Make, Forms Lab Model: Form_3 | Make, Forms Lab Model: Form_3 | Ministry of education | Ministry of education | Ministry of education | Make, Forms Lab Model: Form_3 | Chemical Engineering department | 3D Printer | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make, Forms Lab Model: Form_3 | raghuraj@nitw.ac.in | Make, Forms Lab Model: Form_3 | raghuraj@nitw.ac.in | raghuraj@nitw.ac.in
Karl Fischer Titrator | Karl Fischer Titrator | Chemical Engineering department | Make: LABWAN, Model: LW-537W, Required Measurement Time a) Fast (1.8 mgH2O/min) b) Medium (1.2 mgH2O/min) c) Slow (0.6 mgH2O/min), Measurement Range (water/min) 10 microgram, Accuracy (microgram) +/- 3, Operating Temperature 25 degree Celsius, Humidity </= 85% | Make: LABWAN, Model: LW-537W, Required Measurement Time a) Fast (1.8 mgH2O/min) b) Medium (1.2 mgH2O/min) c) Slow (0.6 mgH2O/min), Measurement Range (water/min) 10 microgram, Accuracy (microgram) +/- 3, Operating Temperature 25 degree Celsius, Humidity </= 85% | Make: LABWAN, Model: LW-537W, Required Measurement Time a) Fast (1.8 mgH2O/min) b) Medium (1.2 mgH2O/min) c) Slow (0.6 mgH2O/min), Measurement Range (water/min) 10 microgram, Accuracy (microgram) +/- 3, Operating Temperature 25 degree Celsius, Humidity </= 85% | Ministry of education | Ministry of education | Ministry of education | Make: LABWAN, Model: LW-537W, Required Measurement Time a) Fast (1.8 mgH2O/min) b) Medium (1.2 mgH2O/min) c) Slow (0.6 mgH2O/min), Measurement Range (water/min) 10 microgram, Accuracy (microgram) +/- 3, Operating Temperature 25 degree Celsius, Humidity </= 85% | Chemical Engineering department | Karl Fischer Titrator | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: LABWAN, Model: LW-537W, Required Measurement Time a) Fast (1.8 mgH2O/min) b) Medium (1.2 mgH2O/min) c) Slow (0.6 mgH2O/min), Measurement Range (water/min) 10 microgram, Accuracy (microgram) +/- 3, Operating Temperature 25 degree Celsius, Humidity </= 85% | murali@nitw.ac.in | Make: LABWAN, Model: LW-537W, Required Measurement Time a) Fast (1.8 mgH2O/min) b) Medium (1.2 mgH2O/min) c) Slow (0.6 mgH2O/min), Measurement Range (water/min) 10 microgram, Accuracy (microgram) +/- 3, Operating Temperature 25 degree Celsius, Humidity </= 85% | murali@nitw.ac.in | murali@nitw.ac.in
High Pressure Autoclave Reactor | High Pressure Autoclave Reactor | Chemical Engineering department | Make: Amar Equipment pvt ltd, Model: A2113, Max Temperature: 250oC, Mass International, Capacity : 500 ml | Make: Amar Equipment pvt ltd, Model: A2113, Max Temperature: 250oC, Mass International, Capacity : 500 ml | Make: Amar Equipment pvt ltd, Model: A2113, Max Temperature: 250oC, Mass International, Capacity : 500 ml | Ministry of education | Ministry of education | Ministry of education | Make: Amar Equipment pvt ltd, Model: A2113, Max Temperature: 250oC, Mass International, Capacity : 500 ml | Chemical Engineering department | High Pressure Autoclave Reactor | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Amar Equipment pvt ltd, Model: A2113, Max Temperature: 250oC, Mass International, Capacity : 500 ml | pskr@nitw.ac.in | Make: Amar Equipment pvt ltd, Model: A2113, Max Temperature: 250oC, Mass International, Capacity : 500 ml | pskr@nitw.ac.in | pskr@nitw.ac.in
Pervaporation "Membrane System" | Pervaporation "Membrane System" | Chemical Engineering department | Make: Remi, Model: 2 ml, Peristaltic Pump Make: Ravel, Model: Prime, Model: max capacity: 500 ml, 2 stage vaccum pump make: TRUVAC, Model: TVB-1.5D | Make: Remi, Model: 2 ml, Peristaltic Pump Make: Ravel, Model: Prime, Model: max capacity: 500 ml, 2 stage vaccum pump make: TRUVAC, Model: TVB-1.5D | Make: Remi, Model: 2 ml, Peristaltic Pump Make: Ravel, Model: Prime, Model: max capacity: 500 ml, 2 stage vaccum pump make: TRUVAC, Model: TVB-1.5D | Ministry of education | Ministry of education | Ministry of education | Make: Remi, Model: 2 ml, Peristaltic Pump Make: Ravel, Model: Prime, Model: max capacity: 500 ml, 2 stage vaccum pump make: TRUVAC, Model: TVB-1.5D | Chemical Engineering department | Pervaporation "Membrane System" | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Remi, Model: 2 ml, Peristaltic Pump Make: Ravel, Model: Prime, Model: max capacity: 500 ml, 2 stage vaccum pump make: TRUVAC, Model: TVB-1.5D | murali@nitw.ac.in | Make: Remi, Model: 2 ml, Peristaltic Pump Make: Ravel, Model: Prime, Model: max capacity: 500 ml, 2 stage vaccum pump make: TRUVAC, Model: TVB-1.5D | murali@nitw.ac.in | murali@nitw.ac.in
Xenon Photo Chemical Reactor | Xenon Photo Chemical Reactor | Chemical Engineering department | Make: Lelesil Innovative Systems, Model: 5B Flexi Photo Reactor System | Make: Lelesil Innovative Systems, Model: 5B Flexi Photo Reactor System | Make: Lelesil Innovative Systems, Model: 5B Flexi Photo Reactor System | Ministry of education | Ministry of education | Ministry of education | Make: Lelesil Innovative Systems, Model: 5B Flexi Photo Reactor System | Chemical Engineering department | Xenon Photo Chemical Reactor | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Lelesil Innovative Systems, Model: 5B Flexi Photo Reactor System | rajmohan@nitw.ac.in | Make: Lelesil Innovative Systems, Model: 5B Flexi Photo Reactor System | rajmohan@nitw.ac.in | rajmohan@nitw.ac.in
Radical Stereo Microscope with Achromatic Lens | Radical Stereo Microscope with Achromatic Lens | Chemical Engineering department | Make: Radical Scientific, Model:RSMR-3T; Zoom Ratio 9:1, Numerical Aperture of Objective 0.3, Nominal Working distance(mm) (+/- 10%) 110 millimeter, Magnification- 1X to 100X | Make: Radical Scientific, Model:RSMR-3T; Zoom Ratio 9:1, Numerical Aperture of Objective 0.3, Nominal Working distance(mm) (+/- 10%) 110 millimeter, Magnification- 1X to 100X | Make: Radical Scientific, Model:RSMR-3T; Zoom Ratio 9:1, Numerical Aperture of Objective 0.3, Nominal Working distance(mm) (+/- 10%) 110 millimeter, Magnification- 1X to 100X | Ministry of education | Ministry of education | Ministry of education | Make: Radical Scientific, Model:RSMR-3T; Zoom Ratio 9:1, Numerical Aperture of Objective 0.3, Nominal Working distance(mm) (+/- 10%) 110 millimeter, Magnification- 1X to 100X | Chemical Engineering department | Radical Stereo Microscope with Achromatic Lens | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Radical Scientific, Model:RSMR-3T; Zoom Ratio 9:1, Numerical Aperture of Objective 0.3, Nominal Working distance(mm) (+/- 10%) 110 millimeter, Magnification- 1X to 100X | manohar@nitw.ac.in | Make: Radical Scientific, Model:RSMR-3T; Zoom Ratio 9:1, Numerical Aperture of Objective 0.3, Nominal Working distance(mm) (+/- 10%) 110 millimeter, Magnification- 1X to 100X | manohar@nitw.ac.in | manohar@nitw.ac.in
Ultrasonicator Homogenizer with Probe | Ultrasonicator Homogenizer with Probe | Chemical Engineering department | Make: Sonic and Materialc Inc, Model: VCX130FSJ, 10-100ml, Power: 130watt, Frequency: 20kHz | Make: Sonic and Materialc Inc, Model: VCX130FSJ, 10-100ml, Power: 130watt, Frequency: 20kHz | Make: Sonic and Materialc Inc, Model: VCX130FSJ, 10-100ml, Power: 130watt, Frequency: 20kHz | Ministry of education | Ministry of education | Ministry of education | Make: Sonic and Materialc Inc, Model: VCX130FSJ, 10-100ml, Power: 130watt, Frequency: 20kHz | Chemical Engineering department | Ultrasonicator Homogenizer with Probe | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Sonic and Materialc Inc, Model: VCX130FSJ, 10-100ml, Power: 130watt, Frequency: 20kHz | shirish@nitw.ac.in | Make: Sonic and Materialc Inc, Model: VCX130FSJ, 10-100ml, Power: 130watt, Frequency: 20kHz | shirish@nitw.ac.in | shirish@nitw.ac.in
Tubular Furnace Setup | Tubular Furnace Setup | Chemical Engineering department | Make: Carbolite, Model: TFI 12/125/600, Specs: 1200°C maximum operating temperature. | Make: Carbolite, Model: TFI 12/125/600, Specs: 1200°C maximum operating temperature. | Make: Carbolite, Model: TFI 12/125/600, Specs: 1200°C maximum operating temperature. | Ministry of education | Ministry of education | Ministry of education | Make: Carbolite, Model: TFI 12/125/600, Specs: 1200°C maximum operating temperature. | Chemical Engineering department | Tubular Furnace Setup | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Carbolite, Model: TFI 12/125/600, Specs: 1200°C maximum operating temperature. | manohar@nitw.ac.in | Make: Carbolite, Model: TFI 12/125/600, Specs: 1200°C maximum operating temperature. | manohar@nitw.ac.in | manohar@nitw.ac.in
Orbital Shaking Incubator | Orbital Shaking Incubator | Chemical Engineering department | Make: Labline, Model: CIS24 Plus | Make: Labline, Model: CIS24 Plus | Make: Labline, Model: CIS24 Plus | Ministry of education | Ministry of education | Ministry of education | Make: Labline, Model: CIS24 Plus | Chemical Engineering department | Orbital Shaking Incubator | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Labline, Model: CIS24 Plus | rajmohan@nitw.ac.in | Make: Labline, Model: CIS24 Plus | rajmohan@nitw.ac.in | rajmohan@nitw.ac.in
Tubular Furnace with Super Heated Steam Generator | Tubular Furnace with Super Heated Steam Generator | Chemical Engineering department | Make: Pyromaster Chennai,Model: Custum made, Operating temperature from 50 to 1000oC | Make: Pyromaster Chennai,Model: Custum made, Operating temperature from 50 to 1000oC | Make: Pyromaster Chennai,Model: Custum made, Operating temperature from 50 to 1000oC | Ministry of education | Ministry of education | Ministry of education | Make: Pyromaster Chennai,Model: Custum made, Operating temperature from 50 to 1000oC | Chemical Engineering department | Tubular Furnace with Super Heated Steam Generator | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Pyromaster Chennai,Model: Custum made, Operating temperature from 50 to 1000oC | ramsagar@nitw.ac.in | Make: Pyromaster Chennai,Model: Custum made, Operating temperature from 50 to 1000oC | ramsagar@nitw.ac.in | ramsagar@nitw.ac.in
HPLC Pump | HPLC Pump | Chemical Engineering department | Make: Sara Labs, Flow rate: 0.01-20 ml | Make: Sara Labs, Flow rate: 0.01-20 ml | Make: Sara Labs, Flow rate: 0.01-20 ml | Ministry of education | Ministry of education | Ministry of education | Make: Sara Labs, Flow rate: 0.01-20 ml | Chemical Engineering department | HPLC Pump | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Sara Labs, Flow rate: 0.01-20 ml | shirish@nitw.ac.in | Make: Sara Labs, Flow rate: 0.01-20 ml | shirish@nitw.ac.in | shirish@nitw.ac.in
Electrospinning Apparatus | Electrospinning Apparatus | Chemical Engineering department | Make: Physics Instruments Co, Model: V2VH,High Voltage Power Supply: Variable from 0 to 40KV; Max Current 0.4 mA Syringe Dispenser: Number of syringe pumps required: 02 Specifications of pumps: Pump allows user to fix 10 syringes to operate all of them at same flow rate for maximum throughput. A micro controller with digital display to indicate flow rate and with controls to set the flow rate should be supplied. Flow rate: 1 µl/min to 300 µl/min and handle syringes of 2, 5 and 10 ml. Spinning alignment: horizontal arrangement; Coaxial spinning | Make: Physics Instruments Co, Model: V2VH,High Voltage Power Supply: Variable from 0 to 40KV; Max Current 0.4 mA Syringe Dispenser: Number of syringe pumps required: 02 Specifications of pumps: Pump allows user to fix 10 syringes to operate all of them at same flow rate for maximum throughput. A micro controller with digital display to indicate flow rate and with controls to set the flow rate should be supplied. Flow rate: 1 µl/min to 300 µl/min and handle syringes of 2, 5 and 10 ml. Spinning alignment: horizontal arrangement; Coaxial spinning | Make: Physics Instruments Co, Model: V2VH,High Voltage Power Supply: Variable from 0 to 40KV; Max Current 0.4 mA Syringe Dispenser: Number of syringe pumps required: 02 Specifications of pumps: Pump allows user to fix 10 syringes to operate all of them at same flow rate for maximum throughput. A micro controller with digital display to indicate flow rate and with controls to set the flow rate should be supplied. Flow rate: 1 µl/min to 300 µl/min and handle syringes of 2, 5 and 10 ml. Spinning alignment: horizontal arrangement; Coaxial spinning | Ministry of education | Ministry of education | Ministry of education | Make: Physics Instruments Co, Model: V2VH,High Voltage Power Supply: Variable from 0 to 40KV; Max Current 0.4 mA Syringe Dispenser: Number of syringe pumps required: 02 Specifications of pumps: Pump allows user to fix 10 syringes to operate all of them at same flow rate for maximum throughput. A micro controller with digital display to indicate flow rate and with controls to set the flow rate should be supplied. Flow rate: 1 µl/min to 300 µl/min and handle syringes of 2, 5 and 10 ml. Spinning alignment: horizontal arrangement; Coaxial spinning | Chemical Engineering department | Electrospinning Apparatus | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Physics Instruments Co, Model: V2VH,High Voltage Power Supply: Variable from 0 to 40KV; Max Current 0.4 mA Syringe Dispenser: Number of syringe pumps required: 02 Specifications of pumps: Pump allows user to fix 10 syringes to operate all of them at same flow rate for maximum throughput. A micro controller with digital display to indicate flow rate and with controls to set the flow rate should be supplied. Flow rate: 1 µl/min to 300 µl/min and handle syringes of 2, 5 and 10 ml. Spinning alignment: horizontal arrangement; Coaxial spinning | pvsuresh@nitw.ac.in | Make: Physics Instruments Co, Model: V2VH,High Voltage Power Supply: Variable from 0 to 40KV; Max Current 0.4 mA Syringe Dispenser: Number of syringe pumps required: 02 Specifications of pumps: Pump allows user to fix 10 syringes to operate all of them at same flow rate for maximum throughput. A micro controller with digital display to indicate flow rate and with controls to set the flow rate should be supplied. Flow rate: 1 µl/min to 300 µl/min and handle syringes of 2, 5 and 10 ml. Spinning alignment: horizontal arrangement; Coaxial spinning | pvsuresh@nitw.ac.in | pvsuresh@nitw.ac.in
Two-Stage fixed bed reactor setup using vertical three-zone gradient split tubular furnce for CLC experiments | Two-Stage fixed bed reactor setup using vertical three-zone gradient split tubular furnce for CLC experiments | Chemical Engineering department | Make: Carbolite, Model: TG3-1200; 1200°C maximum operating temperature. ➢ Each zone has a Carbolite Gero EPC3016P1 programmable temperature controller with 24 segments. ➢ TG3 12/60/600: Overall heated length of 600 mm divided into three 150 mm heated zones with two 75 mm unheated zone barriers; Maximum continuous operating temperature: 1100 °C ➢ Maximum outer Ø accessory tube: 60 mm ➢ Overall heated length: 600 mm ➢ Recommended tube length for use with modified atmosphere: 1050 mm ➢ Furnace external dimensions H x W x D in mm: 575 x 795 x 480 ➢ Control module dimensions H x W x D in mm: 230 x 785 x 480 ➢ Maximum power: 2000 Watts ➢ Thermocouple: Type N ➢ Weight: 56 kg. | Make: Carbolite, Model: TG3-1200; 1200°C maximum operating temperature. ➢ Each zone has a Carbolite Gero EPC3016P1 programmable temperature controller with 24 segments. ➢ TG3 12/60/600: Overall heated length of 600 mm divided into three 150 mm heated zones with two 75 mm unheated zone barriers; Maximum continuous operating temperature: 1100 °C ➢ Maximum outer Ø accessory tube: 60 mm ➢ Overall heated length: 600 mm ➢ Recommended tube length for use with modified atmosphere: 1050 mm ➢ Furnace external dimensions H x W x D in mm: 575 x 795 x 480 ➢ Control module dimensions H x W x D in mm: 230 x 785 x 480 ➢ Maximum power: 2000 Watts ➢ Thermocouple: Type N ➢ Weight: 56 kg. | Make: Carbolite, Model: TG3-1200; 1200°C maximum operating temperature. ➢ Each zone has a Carbolite Gero EPC3016P1 programmable temperature controller with 24 segments. ➢ TG3 12/60/600: Overall heated length of 600 mm divided into three 150 mm heated zones with two 75 mm unheated zone barriers; Maximum continuous operating temperature: 1100 °C ➢ Maximum outer Ø accessory tube: 60 mm ➢ Overall heated length: 600 mm ➢ Recommended tube length for use with modified atmosphere: 1050 mm ➢ Furnace external dimensions H x W x D in mm: 575 x 795 x 480 ➢ Control module dimensions H x W x D in mm: 230 x 785 x 480 ➢ Maximum power: 2000 Watts ➢ Thermocouple: Type N ➢ Weight: 56 kg. | Ministry of education | Ministry of education | Ministry of education | Make: Carbolite, Model: TG3-1200; 1200°C maximum operating temperature. ➢ Each zone has a Carbolite Gero EPC3016P1 programmable temperature controller with 24 segments. ➢ TG3 12/60/600: Overall heated length of 600 mm divided into three 150 mm heated zones with two 75 mm unheated zone barriers; Maximum continuous operating temperature: 1100 °C ➢ Maximum outer Ø accessory tube: 60 mm ➢ Overall heated length: 600 mm ➢ Recommended tube length for use with modified atmosphere: 1050 mm ➢ Furnace external dimensions H x W x D in mm: 575 x 795 x 480 ➢ Control module dimensions H x W x D in mm: 230 x 785 x 480 ➢ Maximum power: 2000 Watts ➢ Thermocouple: Type N ➢ Weight: 56 kg. | Chemical Engineering department | Two-Stage fixed bed reactor setup using vertical three-zone gradient split tubular furnce for CLC experiments | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Carbolite, Model: TG3-1200; 1200°C maximum operating temperature. ➢ Each zone has a Carbolite Gero EPC3016P1 programmable temperature controller with 24 segments. ➢ TG3 12/60/600: Overall heated length of 600 mm divided into three 150 mm heated zones with two 75 mm unheated zone barriers; Maximum continuous operating temperature: 1100 °C ➢ Maximum outer Ø accessory tube: 60 mm ➢ Overall heated length: 600 mm ➢ Recommended tube length for use with modified atmosphere: 1050 mm ➢ Furnace external dimensions H x W x D in mm: 575 x 795 x 480 ➢ Control module dimensions H x W x D in mm: 230 x 785 x 480 ➢ Maximum power: 2000 Watts ➢ Thermocouple: Type N ➢ Weight: 56 kg. | pvsuresh@nitw.ac.in | Make: Carbolite, Model: TG3-1200; 1200°C maximum operating temperature. ➢ Each zone has a Carbolite Gero EPC3016P1 programmable temperature controller with 24 segments. ➢ TG3 12/60/600: Overall heated length of 600 mm divided into three 150 mm heated zones with two 75 mm unheated zone barriers; Maximum continuous operating temperature: 1100 °C ➢ Maximum outer Ø accessory tube: 60 mm ➢ Overall heated length: 600 mm ➢ Recommended tube length for use with modified atmosphere: 1050 mm ➢ Furnace external dimensions H x W x D in mm: 575 x 795 x 480 ➢ Control module dimensions H x W x D in mm: 230 x 785 x 480 ➢ Maximum power: 2000 Watts ➢ Thermocouple: Type N ➢ Weight: 56 kg. | pvsuresh@nitw.ac.in | pvsuresh@nitw.ac.in
Gas Analyzer | Gas Analyzer | Chemical Engineering department | Make: Applied Technology Systems, Model: ATS-206A, Specifications: Gas Range Sensor Type Accuracy Resolution CO2 0-100% NDIR ±2% 0.1% V/V CO 0-50% NDIR ±2% 0.1% V/V O2 0-25% EC ±2% 0.1% V/V H2 0-20% TCD ±2% 0.1% V/V HC 0-5% NDIR ±2% 0.1% V/V Features: • Display : LCD • Sampling : Auto Suction • Power Supply : Rechargeable battery • Ambient Temperature range : 5 to 50 oC • Probe : min 1.5 feet | Make: Applied Technology Systems, Model: ATS-206A, Specifications: Gas Range Sensor Type Accuracy Resolution CO2 0-100% NDIR ±2% 0.1% V/V CO 0-50% NDIR ±2% 0.1% V/V O2 0-25% EC ±2% 0.1% V/V H2 0-20% TCD ±2% 0.1% V/V HC 0-5% NDIR ±2% 0.1% V/V Features: • Display : LCD • Sampling : Auto Suction • Power Supply : Rechargeable battery • Ambient Temperature range : 5 to 50 oC • Probe : min 1.5 feet | Make: Applied Technology Systems, Model: ATS-206A, Specifications: Gas Range Sensor Type Accuracy Resolution CO2 0-100% NDIR ±2% 0.1% V/V CO 0-50% NDIR ±2% 0.1% V/V O2 0-25% EC ±2% 0.1% V/V H2 0-20% TCD ±2% 0.1% V/V HC 0-5% NDIR ±2% 0.1% V/V Features: • Display : LCD • Sampling : Auto Suction • Power Supply : Rechargeable battery • Ambient Temperature range : 5 to 50 oC • Probe : min 1.5 feet | Ministry of education | Ministry of education | Ministry of education | Make: Applied Technology Systems, Model: ATS-206A, Specifications: Gas Range Sensor Type Accuracy Resolution CO2 0-100% NDIR ±2% 0.1% V/V CO 0-50% NDIR ±2% 0.1% V/V O2 0-25% EC ±2% 0.1% V/V H2 0-20% TCD ±2% 0.1% V/V HC 0-5% NDIR ±2% 0.1% V/V Features: • Display : LCD • Sampling : Auto Suction • Power Supply : Rechargeable battery • Ambient Temperature range : 5 to 50 oC • Probe : min 1.5 feet | Chemical Engineering department | Gas Analyzer | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Applied Technology Systems, Model: ATS-206A, Specifications: Gas Range Sensor Type Accuracy Resolution CO2 0-100% NDIR ±2% 0.1% V/V CO 0-50% NDIR ±2% 0.1% V/V O2 0-25% EC ±2% 0.1% V/V H2 0-20% TCD ±2% 0.1% V/V HC 0-5% NDIR ±2% 0.1% V/V Features: • Display : LCD • Sampling : Auto Suction • Power Supply : Rechargeable battery • Ambient Temperature range : 5 to 50 oC • Probe : min 1.5 feet | pvsuresh@nitw.ac.in | Make: Applied Technology Systems, Model: ATS-206A, Specifications: Gas Range Sensor Type Accuracy Resolution CO2 0-100% NDIR ±2% 0.1% V/V CO 0-50% NDIR ±2% 0.1% V/V O2 0-25% EC ±2% 0.1% V/V H2 0-20% TCD ±2% 0.1% V/V HC 0-5% NDIR ±2% 0.1% V/V Features: • Display : LCD • Sampling : Auto Suction • Power Supply : Rechargeable battery • Ambient Temperature range : 5 to 50 oC • Probe : min 1.5 feet | pvsuresh@nitw.ac.in | pvsuresh@nitw.ac.in
Battery Cycler | Battery Cycler | Chemical Engineering department | Make: Neware, Model: CT4008TN, Number of Channels: 8 or more in the same single chassis, Voltage Range: -5 to 5 V or better, Voltage Accuracy: 0.05% of full scale or better, Input Range: 5 µA to 10 mA or better with a minimum of 3 ranges, Current Accuracy: 0.05% of full scale or better, Response Time: Less than 500 µs, Minimum Data Record Interval: 100 m s or better | Make: Neware, Model: CT4008TN, Number of Channels: 8 or more in the same single chassis, Voltage Range: -5 to 5 V or better, Voltage Accuracy: 0.05% of full scale or better, Input Range: 5 µA to 10 mA or better with a minimum of 3 ranges, Current Accuracy: 0.05% of full scale or better, Response Time: Less than 500 µs, Minimum Data Record Interval: 100 m s or better | Make: Neware, Model: CT4008TN, Number of Channels: 8 or more in the same single chassis, Voltage Range: -5 to 5 V or better, Voltage Accuracy: 0.05% of full scale or better, Input Range: 5 µA to 10 mA or better with a minimum of 3 ranges, Current Accuracy: 0.05% of full scale or better, Response Time: Less than 500 µs, Minimum Data Record Interval: 100 m s or better | Ministry of education | Ministry of education | Ministry of education | Make: Neware, Model: CT4008TN, Number of Channels: 8 or more in the same single chassis, Voltage Range: -5 to 5 V or better, Voltage Accuracy: 0.05% of full scale or better, Input Range: 5 µA to 10 mA or better with a minimum of 3 ranges, Current Accuracy: 0.05% of full scale or better, Response Time: Less than 500 µs, Minimum Data Record Interval: 100 m s or better | Chemical Engineering department | Battery Cycler | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Neware, Model: CT4008TN, Number of Channels: 8 or more in the same single chassis, Voltage Range: -5 to 5 V or better, Voltage Accuracy: 0.05% of full scale or better, Input Range: 5 µA to 10 mA or better with a minimum of 3 ranges, Current Accuracy: 0.05% of full scale or better, Response Time: Less than 500 µs, Minimum Data Record Interval: 100 m s or better | manohar@nitw.ac.in | Make: Neware, Model: CT4008TN, Number of Channels: 8 or more in the same single chassis, Voltage Range: -5 to 5 V or better, Voltage Accuracy: 0.05% of full scale or better, Input Range: 5 µA to 10 mA or better with a minimum of 3 ranges, Current Accuracy: 0.05% of full scale or better, Response Time: Less than 500 µs, Minimum Data Record Interval: 100 m s or better | manohar@nitw.ac.in | manohar@nitw.ac.in
Glove Box | Glove Box | Chemical Engineering department | Make: Vaccum Techniques Pvt Ltd, Model: Labpro1800, Number of ports: 04, Inner Box Dimensions: 1800-2000 mm (length) x 900-1100 mm (height) x 750-850 mm(depth), Leak rate; less than 0.05 % vol /hour, Dust filter: HEPA H13 in/out or better, Compatible to Regeneration gases (N 2 & H 2 mixture / Ar & H 2 mixture (H 2 5-10%) and working gases (N 2 /Ar/ He), Front Window safety glass made with Polycarbonate with SAPHIR coated, Main antechamber with the dimentions of 600-700 * 380-400 mm (L x D), Mini- Antechamber with the dimentions of 150-180 mm Dia, 400-440 mm L and with Vacuum range of 10 -3 mbar , Gas purification System with the Attainable purity level: Moisture ; less than 1 ppm, Oxygen; less than 1 ppm, Automatic PLC-controlled regeneration sequence with nitrogen N 2 /Argon and Hydrogen (5-10%) | Make: Vaccum Techniques Pvt Ltd, Model: Labpro1800, Number of ports: 04, Inner Box Dimensions: 1800-2000 mm (length) x 900-1100 mm (height) x 750-850 mm(depth), Leak rate; less than 0.05 % vol /hour, Dust filter: HEPA H13 in/out or better, Compatible to Regeneration gases (N 2 & H 2 mixture / Ar & H 2 mixture (H 2 5-10%) and working gases (N 2 /Ar/ He), Front Window safety glass made with Polycarbonate with SAPHIR coated, Main antechamber with the dimentions of 600-700 * 380-400 mm (L x D), Mini- Antechamber with the dimentions of 150-180 mm Dia, 400-440 mm L and with Vacuum range of 10 -3 mbar , Gas purification System with the Attainable purity level: Moisture ; less than 1 ppm, Oxygen; less than 1 ppm, Automatic PLC-controlled regeneration sequence with nitrogen N 2 /Argon and Hydrogen (5-10%) | Make: Vaccum Techniques Pvt Ltd, Model: Labpro1800, Number of ports: 04, Inner Box Dimensions: 1800-2000 mm (length) x 900-1100 mm (height) x 750-850 mm(depth), Leak rate; less than 0.05 % vol /hour, Dust filter: HEPA H13 in/out or better, Compatible to Regeneration gases (N 2 & H 2 mixture / Ar & H 2 mixture (H 2 5-10%) and working gases (N 2 /Ar/ He), Front Window safety glass made with Polycarbonate with SAPHIR coated, Main antechamber with the dimentions of 600-700 * 380-400 mm (L x D), Mini- Antechamber with the dimentions of 150-180 mm Dia, 400-440 mm L and with Vacuum range of 10 -3 mbar , Gas purification System with the Attainable purity level: Moisture ; less than 1 ppm, Oxygen; less than 1 ppm, Automatic PLC-controlled regeneration sequence with nitrogen N 2 /Argon and Hydrogen (5-10%) | Ministry of education | Ministry of education | Ministry of education | Make: Vaccum Techniques Pvt Ltd, Model: Labpro1800, Number of ports: 04, Inner Box Dimensions: 1800-2000 mm (length) x 900-1100 mm (height) x 750-850 mm(depth), Leak rate; less than 0.05 % vol /hour, Dust filter: HEPA H13 in/out or better, Compatible to Regeneration gases (N 2 & H 2 mixture / Ar & H 2 mixture (H 2 5-10%) and working gases (N 2 /Ar/ He), Front Window safety glass made with Polycarbonate with SAPHIR coated, Main antechamber with the dimentions of 600-700 * 380-400 mm (L x D), Mini- Antechamber with the dimentions of 150-180 mm Dia, 400-440 mm L and with Vacuum range of 10 -3 mbar , Gas purification System with the Attainable purity level: Moisture ; less than 1 ppm, Oxygen; less than 1 ppm, Automatic PLC-controlled regeneration sequence with nitrogen N 2 /Argon and Hydrogen (5-10%) | Chemical Engineering department | Glove Box | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Vaccum Techniques Pvt Ltd, Model: Labpro1800, Number of ports: 04, Inner Box Dimensions: 1800-2000 mm (length) x 900-1100 mm (height) x 750-850 mm(depth), Leak rate; less than 0.05 % vol /hour, Dust filter: HEPA H13 in/out or better, Compatible to Regeneration gases (N 2 & H 2 mixture / Ar & H 2 mixture (H 2 5-10%) and working gases (N 2 /Ar/ He), Front Window safety glass made with Polycarbonate with SAPHIR coated, Main antechamber with the dimentions of 600-700 * 380-400 mm (L x D), Mini- Antechamber with the dimentions of 150-180 mm Dia, 400-440 mm L and with Vacuum range of 10 -3 mbar , Gas purification System with the Attainable purity level: Moisture ; less than 1 ppm, Oxygen; less than 1 ppm, Automatic PLC-controlled regeneration sequence with nitrogen N 2 /Argon and Hydrogen (5-10%) | manohar@nitw.ac.in | Make: Vaccum Techniques Pvt Ltd, Model: Labpro1800, Number of ports: 04, Inner Box Dimensions: 1800-2000 mm (length) x 900-1100 mm (height) x 750-850 mm(depth), Leak rate; less than 0.05 % vol /hour, Dust filter: HEPA H13 in/out or better, Compatible to Regeneration gases (N 2 & H 2 mixture / Ar & H 2 mixture (H 2 5-10%) and working gases (N 2 /Ar/ He), Front Window safety glass made with Polycarbonate with SAPHIR coated, Main antechamber with the dimentions of 600-700 * 380-400 mm (L x D), Mini- Antechamber with the dimentions of 150-180 mm Dia, 400-440 mm L and with Vacuum range of 10 -3 mbar , Gas purification System with the Attainable purity level: Moisture ; less than 1 ppm, Oxygen; less than 1 ppm, Automatic PLC-controlled regeneration sequence with nitrogen N 2 /Argon and Hydrogen (5-10%) | manohar@nitw.ac.in | manohar@nitw.ac.in
Multi-Channel Electrochemical Workstation | Multi-Channel Electrochemical Workstation | Chemical Engineering department | Make: Autolab, Model: Multi Autolab MT204, Current Rating: 400mA, Voltage Range: -5 to 5V | Make: Autolab, Model: Multi Autolab MT204, Current Rating: 400mA, Voltage Range: -5 to 5V | Make: Autolab, Model: Multi Autolab MT204, Current Rating: 400mA, Voltage Range: -5 to 5V | Ministry of education | Ministry of education | Ministry of education | Make: Autolab, Model: Multi Autolab MT204, Current Rating: 400mA, Voltage Range: -5 to 5V | Chemical Engineering department | Multi-Channel Electrochemical Workstation | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Autolab, Model: Multi Autolab MT204, Current Rating: 400mA, Voltage Range: -5 to 5V | manohar@nitw.ac.in | Make: Autolab, Model: Multi Autolab MT204, Current Rating: 400mA, Voltage Range: -5 to 5V | manohar@nitw.ac.in | manohar@nitw.ac.in
3D Printer | 3D Printer | Chemical Engineering department | Make: AMS india , Model: Advance-Hyrel 3D, Specs: Build Volume: 200*200*200mm< Max Temp: Upto 80°C(Build platform) | Make: AMS india , Model: Advance-Hyrel 3D, Specs: Build Volume: 200*200*200mm< Max Temp: Upto 80°C(Build platform) | Make: AMS india , Model: Advance-Hyrel 3D, Specs: Build Volume: 200*200*200mm< Max Temp: Upto 80°C(Build platform) | Ministry of education | Ministry of education | Ministry of education | Make: AMS india , Model: Advance-Hyrel 3D, Specs: Build Volume: 200*200*200mm< Max Temp: Upto 80°C(Build platform) | Chemical Engineering department | 3D Printer | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: AMS india , Model: Advance-Hyrel 3D, Specs: Build Volume: 200*200*200mm< Max Temp: Upto 80°C(Build platform) | raghuraj@nitw.ac.in | Make: AMS india , Model: Advance-Hyrel 3D, Specs: Build Volume: 200*200*200mm< Max Temp: Upto 80°C(Build platform) | raghuraj@nitw.ac.in | raghuraj@nitw.ac.in
Rheometer (Viscometer) | Rheometer (Viscometer) | Chemical Engineering department | Make: Anton Paar, Model RheoLab QC, Working Range: Temperature working range 5-120C Torque 0.2-75 mNm Share stress 0.5-30000 Pa Share rate 0.01-6500 1/sec Viscosity 1-1000000000 mPa.sec speed 0.01 to 1200 l/min | Make: Anton Paar, Model RheoLab QC, Working Range: Temperature working range 5-120C Torque 0.2-75 mNm Share stress 0.5-30000 Pa Share rate 0.01-6500 1/sec Viscosity 1-1000000000 mPa.sec speed 0.01 to 1200 l/min | Make: Anton Paar, Model RheoLab QC, Working Range: Temperature working range 5-120C Torque 0.2-75 mNm Share stress 0.5-30000 Pa Share rate 0.01-6500 1/sec Viscosity 1-1000000000 mPa.sec speed 0.01 to 1200 l/min | Ministry of education | Ministry of education | Ministry of education | Make: Anton Paar, Model RheoLab QC, Working Range: Temperature working range 5-120C Torque 0.2-75 mNm Share stress 0.5-30000 Pa Share rate 0.01-6500 1/sec Viscosity 1-1000000000 mPa.sec speed 0.01 to 1200 l/min | Chemical Engineering department | Rheometer (Viscometer) | 1000000 | www.nitw.ac.in | working fine | Characteriztion |  |  |  | Make: Anton Paar, Model RheoLab QC, Working Range: Temperature working range 5-120C Torque 0.2-75 mNm Share stress 0.5-30000 Pa Share rate 0.01-6500 1/sec Viscosity 1-1000000000 mPa.sec speed 0.01 to 1200 l/min | avv@nitw.ac.in | Make: Anton Paar, Model RheoLab QC, Working Range: Temperature working range 5-120C Torque 0.2-75 mNm Share stress 0.5-30000 Pa Share rate 0.01-6500 1/sec Viscosity 1-1000000000 mPa.sec speed 0.01 to 1200 l/min | avv@nitw.ac.in | avv@nitw.ac.in