## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Rotary Evaporator | Rotary evaporator | Project Lab | Heidolph | ML-G3 |  | VGST | VGST, Govt. of Karnataka, Bengaluru | Establishment of R&D facilities for synthesis, characterization and study on applications of protein based polymer | Heating capacity:1300 W, Hight adjustment: 155 mm, RPM:10-280, Temp:20-210 deg. C | chemistry | Synthesis | 570000 | Heidolph | Working | R&D |  |  |  | M/s. Inkarp Instrumentts Pvt. Ltd., Bengaluru | sales@inkarp.co.in | M/s. Inkarp Instrumentts Pvt. Ltd., Bengaluru | service@heidoplh.de
Gas Chromatograph, CLARUS 480 | GC | Project Lab | Perkin -elmer | Clarus480 | N6649480 | DST | DST, Govt. of India, New Delhi | Development of laboratory testing facility for bi-diesel production center at JSSATE | FID, TCD with capillary and poropack column | chemistry | Testing | 686884 | Perkin -elmer | Working | R&D |  |  |  | M/s. PerkinElmer Singapore Pte Limited, Singapore | jane.doe@perkinelmer.com . | jane.doe@perkinelmer.com . | jane.doe@perkinelmer.com
Copper strip corrosion test apparatus with digital temperature control –cum-indicator | Copper strip corrosion | Project Lab | CI |  |  | DST | DST, Govt. of India, New Delhi | Development of laboratory testing facility for bi-diesel production center at JSSATE | AS per ASTMD130 standard for biodiesel, 50Hz, 220 Volts | chemistry | Testing | 52295.5 | CI | Working | R&D |  |  |  | M/s. Techno Instruments Bangalore | enquiry@technoinstruments.co.in, | enquiry@technoinstruments.co.in, | enquiry@technoinstruments.co.in,
Karl fisher Moisture analyzer digital automatic: Auto titrator | Karl Fisher | Project Lab | Mayora | AT-97 |  | DST | DST, Govt. of India, New Delhi | Development of laboratory testing facility for bi-diesel production center at JSSATE | Autotitrator | chemistry | Testing | 353058 | Mayora | Working | R&D |  |  |  | M/s. Techno Instruments Bangalore | enquiry@technoinstruments.co.in, | enquiry@technoinstruments.co.in, | enquiry@technoinstruments.co.in
FTIR Spectrophotometer | FTIR | Project Lab | Agilent | G8044AA cary -630 | MY20082004 | VGST | VGST, Govt. of Karnataka, Bengaluru | Establishment of R&D facilities for synthesis, characterization and study on applications of protein based polymer | Range-600-400 cm-1, Diamond ATR | chemistry | Testing | 987708.98 | Agilent | Working | R&D |  |  |  | M/s. Agilent Technologies, Bengaluru | informatics_support@agilent.com. | informatics_support@agilent.com. | informatics_support@agilent.com
UV-VISIBLE Spectrophotometer | Spetrophotometer | Project Lab | Shimadzu | UV26001 | 90273020 | VGST | VGST, Govt. of Karnataka, Bengaluru | Establishment of R&D facilities for synthesis, characterization and study on applications of protein based polymer | Range:200-800 nm, Both Liquid and soild | chemistry | Testing | 1025000 | Shimadzu | Working | R&D |  |  |  | M/s. Toshwin analytical Mumbai | blr@toshvin.com | blr@toshvin.com | blr@toshvin.com