## Sheet1
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
High Definition oscilloseope Model HD08038 make teledyne, with high voltage differential probes | Oscilloscope |  | Teledyne LeCroy | HDO 8038 | NA | Internal | CSIR |  |  | CMERI |  | 1437211 |  | Functional | APP & EQUIP |  |  |  |  | afrozakhtar@cmeri.res.in
100KN closed loop servo hydraulic universal testing machine with optional items room temp axial extensometer 01 No 15 TR refregerent based chiller unit for power pack 01 No Tool kit 01 set test specimen 01 set Monitor with personal computer CPU and UPS 1500 Va | 100kN-UTM |  | BISS, Bengaluru, India | Median-100 | NA | Internal | CSIR-CMERI |  |  | CMERI |  | 11345509 |  | Functional | APP & EQUIP |  |  |  |  | s_dutta@cmeri.res.in
Power delivery system |  |  | Oerlikon Metco | Twin 150-HT-230-OP | NA | External | DST & CSIR |  |  | CMERI |  | 3128992 |  | Functional | APP & EQUIP |  |  |  |  | aklohar.cmeri@nic.in
Powder coating facility detail as per Mach 21-49 |  |  | ELECSHINE ENGG | NA | EEPL-2017-121 | External | NA |  |  | CMERI |  | 1931055 |  |  | APP & EQUIP |  |  |  |  | anup.rajak@cmeri.res.in
Supply installation testing & commissioning of snygas engine with alternator capacity 15 KVA (03 Nos.) | Gas engine |  | SIYA | NA | T-655, T-656, T-657 | Internal | CSIR |  |  | CMERI |  | 1734029 |  | Non-functional | APP & EQUIP |  |  |  |  | ssamanta.cmeri@csir.res.in
F35A53D WUXGA uizsion bright X port model GP3 lens en43 wide angle zoom 1.2-1.7:1 |  |  | BARCO | F35 | 14490048 | External | VECC-DAE |  |  | CMERI |  | 1863000 |  | functional | APP & EQUIP |  |  |  |  | a_mahapatra@cmeri.res.in
High power diode laser |  |  | NA | COMPACT-EVOLUTION 1200/300-980 LC | ILS-5647 ETC. | External | DST & CSIR |  |  | CMERI |  | 5524391 |  | Functional | APP & EQUIP |  |  |  |  | aklohar.cmeri@nic.in
Witee combined confocal raman imaging microscope as per following details with optical table top 4'X3'X regid table support | AFM-Raman |  | DILAS Diodenlaser GmbH | XMB3000-3003 ETC. | 100-1100-1162 ETC. | Internal | CSIR |  |  | CMERI |  | 13842471 |  | Functional | APP & EQUIP |  |  |  |  | rr.sahoo.cmeri@csir.res.in
Magnetorheological device extended including measuring plate PP20/MRD/IT magnetic flux density with measuring plate Pp20/MRD/TI D: 20 mm for power supply magneto cell ps mRD 70/170 01 no, hood with heating cooling 40 C to 200 C inch flow meter unit twin gap meaxring system 01 no |  |  | NA | NA | NA | External | NA |  |  | CMERI |  | 1547189 |  |  | APP & EQUIP |  |  |  |  | p_samanta@cmeri.res.in
FASTCAM AX200 540 KM 32 GB & case sn 10442437752 01 no, Infiniprobe TS 160 macro/micro imaging system 01 no, white led light source of size 100X100 mm 01 no, high power led lamp 7700 lumen along with magic arm 01 no, Carbon fibre tripod for camera along with geared head and sliding plate 01 no |  |  | Photron | AX200 | 10442437752 | External | NA |  |  | CMERI |  | 2995540 |  | Functional | APP & EQUIP |  |  |  |  | phanikumar@cmeri.res.in
Allot net enforcer AC 502 hardware Item no KAC502AC sl no 50X1209012204 |  |  | Allot | FG-600D-BDL, FC-10-00603-274-01-12, FC-10-00603-950-02-12 | NA | Internal | CSIR-CMERI |  |  | CMERI |  | 1590000 |  |  | APP & EQUIP |  |  |  |  | r_barnwal@cmeri.res.in
Fully automatic fly ash brick making plant as per following fly ash concrete brick/ paver making vibro hydraulit press fully automatic with mould and accessories 01 no,(2) Pantype mixer with geared motor and accessories 01 set (3) belt conveyor with geared motor and accessories 01 set (4) pellet trollys 03 nos (1 set) (5) finished brick conveying conveyer with 0.5 HP geared motor drive 01 set | Brick making machine |  | NA | NA | NA | Internal | CSIR |  |  | CMERI |  | 1918000 |  | Functional | APP & EQUIP |  |  |  |  | a_ganguly@cmeri.res.in
High temperature vacum tribometer TQ20HTVI make DUCOM | Pin on Disc Tribometer |  | DUCOM | TR-20 HTVT | NA | External | DST |  |  | CMERI |  | 2936441 |  | Functional | APP & EQUIP |  |  |  |  | nilrudra.cmeri@csir.res.in
Universal 5 Axis milling CMX 70U machine machine sl no 1535000539A detal specificating posted behind |  |  | DMG ASIA PTE LTD,SINGAPORE AND DMG MORI INDIA PVT LTD,BANGALORE | C- A3395F CMX 70 U | 1535000539A | External | NA |  |  | CMERI |  | 2118100 |  | Functional | APP & EQUIP |  |  |  |  | r_padhi@cmeri.res.in
CNC vertical machining cautre, model MCV 350 245 no 84571020 with 4 axis rotary table no 84669390 -01 no |  |  | ACE MAUNFACTURING SYTEM LTD,BLR | MCV 350 | 84669390 | External | NA |  |  | CMERI |  | 2217721 |  | Functional | APP & EQUIP |  |  |  |  | r_padhi@cmeri.res.in
High precision submerged type CNC wire cut EDM |  |  | CHING HUNG MACHINARY & ELECTRIC INDUSTRIAL COMPANY LTD,TAIWAN | G43S | M15040233 | External | NA |  |  | CMERI |  | 6107891 |  | functional | APP & EQUIP |  |  |  |  | k_viji@cmeri.res.in
CNC ELECTRIC DISCHARGE MACHINE |  |  | ELECTRONICA INDIALTD ,PUNE | Xpert 1, Sr No. 14-17/18 | E97349358000 ETC. | External | NA |  |  | CMERI |  | 6701767 |  | Functional | APP & EQUIP |  |  |  |  | k_viji@cmeri.res.in
Hi LIFE make CNC cylindrical grinding machine model SWIFT 500 sl no 1402 With accessories |  |  | M/s HiLife machines tools ltd, Ahmedabad | SWIFT 500 | 1402 | External | NA |  |  | CMERI |  | 4846785 |  | fuctional | APP & EQUIP |  |  |  |  | a_majumder@cmeri.res.in
CNC Friction Stir Welding machine, model FSW 30-600 make RV machine tools 01 no, Ziquid cooled tool holder 01 no, ziquid cool tool holder stand 01 no | Friction stir welding machine, FSW machine |  |  | FSW 30-600 CNC | 510065 | Internal | CSIR - CMERI |  |  | CMERI |  | 4442750 |  | Functional | APP & EQUIP |  |  |  |  | schakraborty.cmeri@csir.res.in
3D Co ordinate Measuring Machine CMM Make : Zeiss Model : CMM spectrum 7/7/6 RDSVASTXXT | CMM |  | ZEISS | CMMSPECTRUM | 43522402725 | Internal | CSIR |  |  | CMERI |  | 4360100 |  | Functional | APP & EQUIP |  |  |  |  | rabi.mondal@cmeri.res.in
Multiwave go plus 50 HZ 130000/85143080/AT optimiyed microwave digestion system | Microwave Digester |  | Anton Paar | GO | 83073137 | Internal | CSIR - CMERI |  |  | CMERI |  | 1061400 |  | Functional | APP & EQUIP |  |  |  |  | rr.sahoo.cmeri@csir.res.in
Power Brick LV with ARM processor PBL4 AA105 A -010A0000 | Controller and drives |  | NA | NA | NA | External | DST |  |  | CMERI |  | 1356915 |  | Functional | APP & EQUIP |  |  |  |  | s_dutta@cmeri.res.in
Automated Double sided PCB machine 1. 4 MILL300ATC 01 no, Air compressor 01 no, Dust unit 01 , EDWIN X PO1 license 01 no | PCB engraver, PCB mill, automated PCB prototyping |  | Mipec | 4M Mill | NA | Internal | CSIR |  |  | CMERI |  | 1522500 |  | Functional | APP & EQUIP |  |  |  |  | somandal88@cmeri.res.in
Regenerative AC dynamometer test bench along with its AC regenerative drive for motor performance testing of electric vehicles application Model AG 150 SR No 242/263 | EV motor testing setup |  | SAJ Test Plant Private Limited | AG 150 | 242/263 | External | DST-SERB |  |  | CMERI |  | 1330000 |  | Functional | APP & EQUIP |  |  |  |  | sk_giri@cmeri.res.in
Rapid prototyping machine | 3D printer |  | Stratasys | objet260 | G3700136 | Internal | CSIR-CMERI |  |  | CMERI |  | 7667475 |  | Non-Functional | APP & EQUIP |  |  |  |  | mani.r@cmeri.res.in
High temperature furnace model AC 090501 | High Temperature Test Facility |  | BISS | AC-09-0501 | NA | Internal | CSIR-CMERI |  |  | CMERI |  | 4245200 |  | Functional | APP & EQUIP |  |  |  |  | s_dutta@cmeri.res.in
High temperature self aligning type LCF/HCF grips model NO AC 05 12L3 | High Temperature Test Facility |  | BISS | AC-05-12L3 | NA | Internal | CSIR-CMERI |  |  | CMERI |  |  |  | Functional | APP & EQUIP |  |  |  |  | s_dutta@cmeri.res.in
Horizontal wire rope testing machine of 2000 KN capacity. Make : Ashian engineers company India model : AEC 1112 AC 2000KN sl no 2K21J29 | Horizontal Wire Rope Test Machine, Key words: Wire Rope, Load Test |  | Ashian engineers company | AEC 1112 AC 2000KN | 2K21J29 | Internal | CSIR-CMERI |  |  | CMERI |  | 2357250 |  | Functional | APP & EQUIP |  |  |  |  | srd@cmeri.res.in
High temperature Vacuum Sintering furnace make - MIS Laxmi Vacuum Model : VERSATREATVSF150 SL no LVT/VSF/280/2021 | Vaccum sintering furnace. |  | MIS Laxmi Vacuum | VERSATREATVSF150 | LVT/VSF/280/2021 | External | DSIR-CRTDH |  |  | CMERI |  | 4725000 |  | Functional | APP & EQUIP |  |  |  |  | s_pujar@cmeri.res.in
Anton Paar SS Solid density analyzer Helium Pyenometer (i) Ultrapye 3000 -01 no Make : Anton Paar Sl no 1050031464 (ii) Laptop -01 no Make Lenovo Model : Idapad Garming 3, Sl no 81Y4019EIN , (iii) He Gas cylinder +2 Stage -01 no regulator | Pyenometer |  | Anton Paar | Ultrapye 3000 | 1050031464 | Internal | CSIR |  |  | CMERI |  | 1240899 |  | Functional | APP & EQUIP |  |  |  |  | c_loha@cmeri.res.in
4 Axes FILAMENT WINDING MACHINE with standard cotrols unit make : CNC technics Model No H4X1SD040L020 a> 4 axes CNC filancent winding M/C - 01 no b> External mechanical creel stand with of spools- 06 no C> Tem controlled drum type resin bath cap - 10 ltrs <d> cod fit life plus software- 01 no |  |  | CNC TECHNICS Pvt. Ltd. | H4X1SD040L020 | NA | Internal | CSIR |  |  | CMERI |  | 4012000 |  | Functional | APP & EQUIP |  |  |  |  | p_samanta@cmeri.res.in
Creep Testing Machine Make : Star Testing (STS) series - STS 9018 M/C No STS 268 | Creep Testing Machine/Stress Rupture Test Machine |  | Star Testing (STS) | STS 9018 | STS 268 | Internal | CSIR |  |  | CMERI |  | 2548800 |  | Fully Functional | APP & EQUIP |  |  |  |  | shiv.kumar.cmeri@nic.in
Microwave sintering furnace Model No : MH5816 Make : Enerzi heating reinited |  |  | Enerzi heating reinited | MH5816 | NA | External | NA |  |  | CMERI |  | 3752400 |  | Functional | APP & EQUIP |  |  |  |  | sudip@cmeri.res.in
Slow speed gravity fed high precision cutter Minitom consisting of (i) HSN 84649000 SL no 44310867----01 no (ii) sample cleanning kit ultrasonic cleaner sl no 20220528412022 HSN -84798940----01 no | Diamond disc cutter |  | STRUERS APS | NA | 44310867 | Internal | CSIR |  |  | CMERI |  | 1036748 |  | Functional | APP & EQUIP |  |  |  |  | ma.mukherjee.cmeri@nic.in
Optical scanning system consisting of smart scan HER 12LED blue basic system ASN 230205 | 3D Bluelight Scanner |  | Hexagon | Hexagon Smartscan 12MP | ASN 230205 | Internal | CSIR |  |  | CMERI |  | 6454600 |  | Functional | APP & EQUIP |  |  |  |  | sj_kundu@cmeri.res.in
Asphire make optical Emission spectrometer optical emission spectrometer model AS-S3 With 3 bases sl no 26093397 |  |  | ASPHIRE | AS-S3 | 26093397 | Internal | CSIR |  |  | CMERI |  | 2806040 |  | Functional | APP & EQUIP |  |  |  |  | v_prakash@cmeri.res.in
High precision Micro vickers and Knoop hardness tester machine | Micro Hardness Tester |  | Micromach | MMV SA | 154 | Internal | CSIR |  |  | CMERI |  | 1590640 |  | Functional | APP & EQUIP |  |  |  |  | h.roy.cmeri.@nic.in
Hydragraphic oven griphic sonar survey equipment as per followieng specifications 1X P/N 15000005 wideband receiver,200-400 KHz focused 1" | Multi Beam SONAR |  | R2 SONIC | SONIC 2022AUV | 10030040, 55200002, SVC-R2 | Internal | CSIR |  |  | CMERI |  | 11828196 |  | Functional | APP & EQUIP |  |  |  |  | ranjitray@cmeri.res.in
2000 series rotary actuator 6061 aluminum RS 485 cons with both end terminal cable 04 Nos matching connector | Rotary Actuator |  | NA | 6061 ALUMINIUM RS485 COMS | 2G.354-V | Internal | CSIR |  |  | CMERI |  | 1807767 |  | functional | APP & EQUIP |  |  |  |  | vkumar.cmeri@nic.in
2000 series high speed rotary aluminium p/no 2G 354 -V-AL sl no 606,607,608,609,610,611 with both and termination cable 1.5m length 07 Nos matching connector 07 NO | Rotary Actuator |  | NA | 2G 354 -V-AL | 6.0661e+17 | Internal | CSIR |  |  | CMERI |  | 2732362 |  | Functional | APP & EQUIP |  |  |  |  | ranjitray@cmeri.res.in
Manufacturing of demonstrable prototype of AUV-1000 (1000m) depth rating with special material suitable and sustainable in underwater environment as per CSIR CMERI design and associated handing/liftng accessories | AUV prototype, AUV pressure hull |  | NA | AUV-1000 | NA | Internal | CSIR |  |  | CMERI |  | 7642875 |  | Functional | APP & EQUIP |  |  |  |  | snandy.cmeri@csir.res.in
XYZ wedge air bearing stage system | 3DoF WABSS Prototype |  | NA | NA | NA | External | DST |  |  | CMERI |  | 3035807 |  | Functional | APP & EQUIP |  |  |  |  | s_dutta@cmeri.res.in
Dual axis 1750 fiber optics part nO 01-0345 -03 sl no RD2-17-422 & RD217423 dual axis 1750 fiber optic gyro p/ NO 01-03 ys -04 sl no RD2-17366 | Dual axis gyro |  | Dual axis | 01-0345 -03 | RD2-17-422 & RD217423 | Internal | CSIR |  |  | CMERI |  | 1731944 |  |  | APP & EQUIP |  |  |  |  | s_dutta@cmeri.res.in
supply iNstallation & commissioning of vacuum Hot press 1700C make nano tee model NT/HP/1700 | Sintering Furnace |  | Nanotech | NT/HP/1700 | NA | External | DST |  |  | CMERI |  | 1700000 |  | Functional | APP & EQUIP |  |  |  |  | nilrudra.cmeri@csir.res.in
optical sensor interrogatr system In PXIC 4844 4 ch optical sensor interrogator p/ No 781285-01 01 no sl no 1224seiko giken widekey bulkead adaptor p/n 78176801 01 no Fc/APC to LC/ APC single mode 0.5 m adaptor cable p/n 152058 ORS -01 no spliced FBG strain and transperature sensor with & accessories 01 set | Fiber Bragg grating interrogator, optical sensor interrogator |  | National Instruments | NI 4844 | NA | Internal | CSIR |  |  | CMERI |  | 1660594 |  | Non Functional | APP & EQUIP |  |  |  |  | somandal88@cmeri.res.in
Delta tau make UMAC controller description UMAC CPU 3-3766CO 2015 R000000 -01 NO |  |  | DELTA TAU | UMAC | NA | External | DST & CSIR |  |  | CMERI |  | 1073252 |  | Functional | APP & EQUIP |  |  |  |  | aklohar.cmeri@nic.in
SM4M-1 thruster C/W metal shell whip 250VDC with PWM 1.1 KW shaped laminations code 8501320099 | thruster |  | Saab Seaeye | SM4M-1 |  | Internal | CSIR |  |  | CMERI |  |  |  | functional | APP & EQUIP |  |  |  |  | vkumar.cmeri@nic.in
S0218050A Tyrone Opslag FS2S4AC-36 serial no $X21121802 S4AC20011802) | Data storage server |  | Tyrone | Opslag | S4AC20011802 | External | Bose Institute - IFCC, Kolkata |  |  | CMERI |  | 1164070 |  | Functional | APP & EQUIP |  |  |  |  | amitkmrj@cmeri.res.in
1500m rated nav ques 600 micro DVL including NAV quest studio windows XP software one 2 m test cable, internel heading/pitch roll temperature pensor & one transit case, tuco 2 m pin to pin cables with a female 8 pin underwater connector on each end and two 8 pin make underwater bulkhead connectros with multi cell current profiling option 01 NO | Doppler Velocity Log |  | Link Quest | NAVQUEST Micro | NA | Internal | CSIR |  |  | CMERI |  | 1444801 |  | Functional | APP & EQUIP |  |  |  |  | dibyendu@cmeri.res.in
Micro Arm 5E system 1000m depth resistand ARm5E Micro OF with accessories |  |  | NA | NA | NA | External | NA |  |  | CMERI |  | 2319033 |  |  | APP & EQUIP |  |  |  |  | soumen.sen.cmeri@nic.in/ vkumar.cmeri@nic.in
2 camera system with DAQ pro capture base sstems inlcudes the following xcitex make colour high speed camera model XC-2c with 1000 fps @1980X1080 resolution 7 meter camera cable and camera power supply video processing unit with 1TB HD drive keyboard & mouse pro capture and pro capture touch control software packages pro analyst introductory edition all DAQ hardware and cables with DAQ option DAQ/8 pro capture data collection acquisition module 8 channels 250 k samples second max 16 bit 1 meter cable terminal board for 8 channels with suitable BNC termination and L meter length cable set for complete interfacing of the system processing unit pro analyst 3D professional ultrimate bundle 01 license PA 2086 B1 cable repecters 1 each p/no CR |  |  | Xcitex | XC-2C | NA | External | NA |  |  | CMERI |  | 2483931 |  |  | APP & EQUIP |  |  |  |  | soumen.sen.cmeri@nic.in
Hydroacous tic USBK ACMy etg 52C 601-02 E 52CR 71/7 | USBL cum Acoustic Modem |  | Evologics Berlin | S2CR 7/17 Hydroacoustic USBL Acoustic Modem | NA | External | CSIR, New Delhi |  |  | CMERI |  | 3202237 |  | Functional | APP & EQUIP |  |  |  |  | srk_vadali@cmeri.res.in
ACE MLBX 130T dspace with software hardware computing platform sl no 811529,761933,777026,749225 |  |  | NA | NA | NA | External | CEFIPRA |  |  | CMERI |  | 2205000 |  | Functional | APP & EQUIP |  |  |  |  | saikatkshome.cmeri@nic.in
Robot integrated pulse synergic intelligent MIGIMAG welding machine & accessories TPSI 320DI- sl no 30062875WE ABB 1820557214 | WAAM -3DP |  | Fronius | NA | NA | External | DST-SERB |  |  | CMERI |  | 1921500 |  | Funcyional | APP & EQUIP |  |  |  |  | ma.mukherjee.cmeri@nic.in
Multichannel electrochemical workstation with EIS and RRDE setup | PGSTAT 204 |  | Metrohm | NA | NA | External | DST |  |  | CMERI |  | Rs. 1795500/- |  | Functional | APP & EQUIP |  |  |  |  | e.chaturvedi@cmeri.res.in
PXIe 8880 system and accessories NI Pxle 8880 controller windows 10 64 bit, 8 GB upgrade replacement RAM for Pxlc 8880, 800 GB 1.8 SATA SSD upgrade Pxle 8880 , Pxle 1092 9 slot 3 U PXI express chassis with timming and synch ronization NI px slot blocker set 075, w indows 10 lot wnterprise USB recovery media for PXI multilong UAGE, display port to VGA adapter cable , powr cord 240 V 10 A Euro right angle |  |  | NI | PXIe 8880 | NA | External | NA |  |  | CMERI |  | 1624010 |  |  | APP & EQUIP |  |  |  |  | soumen.sen.cmeri@nic.in
Laser making machine make : Markolaser, model :30W- F- SPM - Mininie (a) granite worktable and column -01 no, (b) making software 7 controller installed in (Make : X510UN sl no : IANOCX09N281434-01 no © Workstation enclosed in machine ( it is not an individual item) | 30W Pulsed Fiber Laser |  | MARKOLASER | 30W-F-SPM-MINNE | NA | External | CIL |  |  | CMERI |  | 2526970 |  | Functional | APP & EQUIP |  |  |  |  | n_kumar@cmeri.res.in
(1) Freefly wave camera 2 TB (SN W923191 ) (2) free world FW 279S monitor (SN : 279S22300014 ) (3) sirui 50L humidity control cabinet SNHCD76474 (4) Antivibration table CM/L0008533277 | Wave camera |  | NA | NA | NA | External | CIL |  |  | CMERI |  | 1510360 |  | Functional | APP & EQUIP |  |  |  |  | n_kumar@cmeri.res.in
SCRATCH TESTER MACHINE Model No : TR -101 Make : DUCOM Slno :1467 Warrenty :2 years | Scratch Tester |  | DUCOM | TR-101 | NA | External | DST |  |  | CMERI |  | 2180640 |  | Functional | APP & EQUIP |  |  |  |  | nilrudra.cmeri@csir.res.in
DVL Integrated AHRS and INS for Pve -Cali brated Atlitude heading and position Information with Integrated Press use sensor and altimeter Model : Nucleus 1000 Make : Nortek As Norway | DVL(Doppler Velocity Log),Nucleus DVL, |  | Nortek As Norway | Nucleus 1000 | 300166 | External | MoES |  |  | CMERI |  | 1968240 |  | Functional | APP & EQUIP |  |  |  |  | s.veeraragavan@cmeri.res.in
Customized 4 Axes 2P2R Motion stage with Joint sensors | Passive Physical Multicopter Simulator |  | NA | NA | NA | External | NA |  |  | CMERI |  | 2767100 |  | Functional as of today | APP & EQUIP |  |  |  |  | soumen.sen.cmeri@nic.in
Electron Beam Evaporation system | EBPVD |  | HHV ADVANCED TECHNOLOGIES | Auto 500 | DL359 | Internal | CSIR |  |  | CMERI |  | 5192000 |  | Functional | APP & EQUIP |  |  |  |  | r.ghosh.cmeri@nic.in
Benchtop X- Ray Diffractometer XRD , Model mini flex 600 , Make : RIGAKU , sl no BD 69000602-01 | XRD |  | RIGAKU | MINIFLEX | BD69000602-01 | Internal | CSIR |  |  | CMERI |  | 3815000 |  | Functional | APP & EQUIP |  |  |  |  | s_dutta@cmeri.res.in
1. PXIE 8862 2.6 Ghz 8 core i7 controller windows 11 64 bit TPM -(01no ) 2. PXI 7853 R R Series Multifunction RIO Device Virtex 5 LX 85, 8AI, 8 AO 96 DIO 750 KS/SUS/N PA2798706 -(01 no) 3. SCB 68 A Noise rejecting shielded I/O Connector block -(03 no) 4. SHC68-68 RMIO shielded cable for the reconfigurable MIO connector 68 Pin D Type to 68 Pin VHDCI, 1m -(01 no) 5. SHC 68-68 RDIO shielded cable for DIO connector of the 7831 R Boards 68 Pin D Type to 68 Pin D Type to 68 Pin VHDCI 01 m (02 no ) 6. NIPXLe 4322 Isolated analog output module S/N HE3371562 -(01 no) 7. PXIe 1092 9 slot 3U PXI express chassis S/N PA2796945 -(01 no ) |  |  | NI | PXIE 8862, PXI 7853 R, SCB 68 A, SHC68-68, SHC 68, PXLe 4322, PXIe 1092 | S/N PA2796510, S/N HE3371562, S/N PA2796945 | Internal | CSIR |  |  | CMERI |  | 4499936 |  | Functional | APP & EQUIP |  |  |  |  | s_dutta@cmeri.res.in
Online Gas Analyzer with control panel Make : AMB Model : OGAMA003 Desktop computer make Acer, Model : Aspire TC1760 SL no 250502166107 with 2 KVA UPS Make : Microtek Model : Max 2 KV IB SL no : 8997112001 | Online Gas Analyzer |  | M/S. AMB ELECTRONIC SYSTEM TECH PRIVATE LIMITED | OGAMA003 and Aspire TC1760 and Max 2 KV IB | 250502166107 | Internal | CSIR |  |  | CMERI |  | 1309800 |  | Functional | APP & EQUIP |  |  |  |  | c_loha@cmeri.res.in
Open Architechture collaborative Manipulator test bed (A) Robotics Arm/Svaya Borot 6 Kg payload SR- L6 with JTS SR No : R6AF9Z1A2Y-01 no (B) Controller box - 01 no © USER Interface 1. Tablet based graphical UI 2. Laptop HP Z Book power G11A8WNDPT sl no : 5CD4423HCV -01 no (D) Structural Mobile Stand for the borotic Arm - 01 no |  |  | SVAYA | sr-l6 with jts, pgn-plus-p 100-1, ati axia80-m20, etc. | 5CD4423HCV | External | NA |  |  | CMERI |  | 3920848 |  |  | APP & EQUIP |  |  |  |  | sumitkumar@cmeri.res.in
Multi capability Rotary reciprocating Tribometer Make :Ducom Model : POD 4.0 Sl no ; 1525 | POD tribometer |  | Ducom | POD 4.0 | 1525 | External | NA |  |  | CMERI |  | 2419000 |  | Functional | APP & EQUIP |  |  |  |  | rr.sahoo.cmeri@csir.res.in
Data Acquisition system Make : HBK, Germany Sl no : 846883506 | DAQ system |  | HBK, GERMANY |  | 846883506 | External | Ministry of Agriculture |  |  | CMERI |  | 1108052 |  | Functional | APP & EQUIP |  |  |  |  | s_chel@cmeri.res.in