## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Video Spectral Analyzer-VSC 8000 |  | Corporate R&D Center,Currency Note press, Nashik | Foster + Freeman |  |  | SPMCIL |  |  | The VSC8000 combines sophisticated digital imaging and multi-wavelength LED technology with a clear and efficient software interface, to provide a complete solution to the examination of all questioned documents. 1)Examine and authenticate documents. 2)Reveal hidden details and evidence of counterfeiting 3)Capture and observe UltraHD images Super-Resolution Imaging-Unique to the VSC8000, Super-Resolution Imaging (SRI) is an optical system providing excellent clarity and image resolution of documents up to A4/Letter size. Precision XY Stage:-A motorized XY translation stage, with simple on-screen controls, allows fast and precise positioning of documents at high magnification. Microspectrophotometer:-Non-destructive spectral analysis of documents to identify differences in inks and paper formulation. Multi-spectral illumination:-Directional, multi-spectral light sources from UV through the visible spectrum, to IR can reveal details that are normally invisible to the eye, increase image contrast and excite document security features Hyper-Spectral Imaging :-An advanced technique for the discrimination of inks. Incremental images of documents are captured across a broad spectrum. A false-color overlay highlights spectral differences. | Corporate R&D Center |  |  |  | Running
Ink Rub Tester Model- Sutherland 2000 Rub Tester ( ASTM D5264, F1571, FINAT, FTM27) |  | Corporate R&D Center,Currency Note press, Nashik | Sutherland 2000 Rub Tester |  |  | SPMCIL |  |  | Rub resistance describes the ability of printed material to withstand marking, scuffing or smudge during handling in conversion, packaging, transportation, distribution and use. QT-IRT simulates a similar environment to test the rub resistance on printed materials. It is used to analyze the life of label by creating actual environment of application to evaluate abrasion resistance of surface coating layer of printed material. It simulates the actual working environment of product and helps to identify the quality and printing method to be used for printing of label based on application of product and its working environment. | Corporate R&D Center |  |  |  | Running
Spectrodensitometer |  | Corporate R&D Center,Currency Note press, Nashik | Konica Minolta Spectrodensitometer FD-7 |  |  | SPMCIL |  |  | A spectrophotometer is a device for measuring light intensity by measuring the wavelength of light. | Corporate R&D Center |  |  |  | Running
Automatic Drawdown Machine |  | Corporate R&D Center,Currency Note press, Nashik | Little JOE ADM-2 |  |  | SPMCIL |  |  | The Gardco Automatic Drawdown Machine II was designed to draw down sample coatings with a high degree of reproducibility. Manual drawdowns are often inconsistent due to different operators, which can make comparisons between samples difficult or unreliable. Other factors affecting drawdown coatings are the shear rate and the amount of weight being applied on the applicator. With the Automatic Drawdown Machine the operator can get consistent, precision coating drawdowns every time. | Corporate R&D Center |  |  |  | Running
Automatic bar coater |  | Corporate R&D Center,Currency Note press, Nashik | Sheen 1133N Automatic Film Applicator |  |  | SPMCIL |  |  | The Automatic Film Applicator provides a reliable basis to apply coating films to test charts, panels or foils in a uniform and reproducible way in order to eliminate variations caused by human factors. Variations in speed, pressure and direction of draw down cause irregularities. Other factors that may influence the result are the shear rate and the weight of the applicator. It’s possible to produce a large number of identical laboratory precision draw downs in a short period of time. The quality of the applied film is important for research on rheological properties of the applied media. To prepare samples for testing rheological properties, abrasion resistance, hiding power and gloss the Automatic film applicator is a must have. Multiple types of automatic film applicators are available for either glass/paper/metal substrates or foils. | Corporate R&D Center |  |  |  | Running
Viscometer |  | Corporate R&D Center,Currency Note press, Nashik | Rheometer Haake Viscotester IQ |  |  | SPMCIL |  |  | A viscometer is a tool that is used to measure the viscosity of a material. By measuring the viscosity, the viscometer is able to quantify the thickness or the amount of internal friction of a material. During the test, the fluid material and the test equipment are brought into contact with one another and the drag is used in the viscosity calculation. | Corporate R&D Center |  |  |  | Running
UV Curing |  | Corporate R&D Center,Currency Note press, Nashik |  |  |  | SPMCIL |  |  | UV Curing is the drying method the printing process uses and it plays a major role in perfecting luxury materials. Ultraviolet curing is a photochemical process where the high-intensity UV light instantly cures - or dries - inks, coatings and adhesives. This method offers numerous advantages over traditional drying methods, as this method has been proven to increase production speed, reduce reject rates, facilitate superior bonding as well as improving scratch and solvent resistance. The drying technique was originally introduced back in the 1960s, with more and more industries adopting the method ranging from automotive to electronics and telecommunications. It’s grown to become a multi-billion pound worldwide industry and continues to grow at a rapid rate, more than 10% per year, and has displaced the conventional water and solvent-based thermal drying techniques because of it’s increased productivity, improved product quality and performance, as well as the fact that it’s environmentally friendly | Corporate R&D Center |  |  |  | Running
Circulation Simulation |  | Corporate R&D Center,Currency Note press, Nashik | Professional Series Rotary Tumbler Model C40 Pro |  |  | SPMCIL |  |  | The flow characteristics of the ink on the ink fountain roller of offset printing machine is very important for the ink amount control and the ink amount control can determine the color quality of printing products. This study simulates first the ink flow of only one ink area then two situations are simulated to analyze how the ink area is affected by its adjacent ink areas on each side. In the printing process, the pressure and speed and ink layer thickness of ink on the ink fountain roller are affected by the interaction between adjacent ink areas. Compared with previous work that is limited to analyze the ink flow characteristics of only one ink area, the study aims to analyze the ink flow characteristics under the interactional effect of adjacent ink areas. The research provides a reference to the mutual influence between ink areas in the actual printing process and it’s important for the printing color quality control and has a better application prospect. | Corporate R&D Center |  |  |  | Running
Light Fastness and weathering tester |  | Corporate R&D Center,Currency Note press, Nashik | ATLAS Xenotest Alpha |  |  | SPMCIL |  |  | The purpose of light fastness testing is principally to predict a material’s resistance to fading, yellowing or darkening. However, the test can also be employed to assess physical degradation such as cracking and shrinkage. Here it is common to carry out physical tests before and after exposure to determine the degree of degradation. This article covers only the subject of discolouration due to light. | Corporate R&D Center |  |  |  | Running