## Sheet2
Equipment Name | Approved Abbreviation | Location | Make Manufacturer | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Cyclic Triaxial shear test equipment | CTST | Advanced Geotechnical Laboratory | Hydraulic and Engineering Instruments HEICO | 2009311 | HS28.620 | Internal | Institute | NA | CTST used for estimation of cyclic shear strength, pore pressure generation, and soil deformation characteristics. | Civil Engineering | Advanced Geotechnical Laboratory | Rs.3779650 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | Hydraulic and Engineering Instruments HEICO | info@mts.com | Hydraulic and Engineering Instruments HEICO | info@mts.com | ankti@iitism.ac.in
Universal Testing Machine for Geosynthetic | UTM-G | Advanced Geotechnical Laboratory | Hydraulic and Engineering Instruments HEICO | H2021 037 | HLC693.35 | External | CIL | NA | UTM G is primarily used to calculate the tensile strength, tear resistance, puncture resistance of geosynthetics. | Civil Engineering | Advanced Geotechnical Laboratory | Rs.2266320 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | Hydraulic and Engineering Instruments HEICO | info@mts.com | Hydraulic and Engineering Instruments HEICO | info@mts.com | ankti@iitism.ac.in
Flexible Wall Permeameter | FWP | Geotechnical Engineering Laboratory | Humboldt | 240354078 | HM 4150M.3F | Internal | Institute | NA | FWP is used to calculate the hydraulic conductivity of a soil sample. | Civil Engineering | Geotechnical Engineering Laboratory | Rs.2495000 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | Humboldt |  | Humboldt |  | ankti@iitism.ac.in
Bi Axial Shake Table | BAST | Concrete Laboratory | Bangalore Integrated System Pvt. Limited BISS | SH-01-1510B | 18021510B02 | Internal | Institute | NA | BAST is used to calculate the dynamic response of a structure under simulated earthquake conditions. | Civil Engineering | Concrete Laboratory | Rs.13067320 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | Bangalore Integrated System Private Limited BISS | sales.india@instron.com | Bangalore Integrated System Private Limited BISS | sales.india@instron.com | ankti@iitism.ac.in
Universal Testing Machine | UTM | Concrete Laboratory | Microtest | PEH/250/16L/SCM | R250/112 | Internal | Institute | NA | UTM is used to calculate the mechanical properties of materials, such as tensile strength, compressive strength, flexural strength, yield strength, elongation, and modulus of elasticity. | Civil Engineering | Concrete Laboratory | Rs. 127460 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | Microtest | sales@microtest.com.tw | Microtest | sales@microtest.com.tw | ankti@iitism.ac.in
Compression and Flexure Testing Machine | CFTM | Concrete Laboratory | Controls | MCC8/50 C8422/M | 15003063 | Internal | Institute | NA | CFTM is used to calculate the compressive strength and flexural strength of a material. | Civil Engineering | Concrete Laboratory | Rs.4141769 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | Controls | controls@controls.it | Controls | controls@controls.it | ankti@iitism.ac.in
Photo Elasticity Bench | PEB | Structural Engineering Laboratory | GUNT Hamburg | FL 210.01 | 315071 | External | DST Fist | NA | PEB is used to calculate and analyze stress distribution in transparent materials under load by using the principles of photoelasticity. | Civil Engineering | Structural Engineering Laboratory | Rs.2066699 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | GUNT Hamburg | sales@gunt.de | GUNT Hamburg | sales@gunt.de | ankti@iitism.ac.in
Repeated Load Testing Machine | RLTM | Strength of Material Laboratory | SPRANKTRONICS | SPRANK/RLR-TRIAX-22/11 | SPRANK/3429/03/23 | Internal | Institute | NA | RLTM is used to evaluate the fatigue behavior, resilient modulus, and permanent deformation of materials under cyclic loading conditions. | Civil Engineering | Strength of Material Laboratory | Rs.2033898 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | SPRANKTRONICS | NA | SPRANKTRONICS | NA | ankti@iitism.ac.in
Servo Controlled Actuator | SCA | Concrete Laboratory | Walter Bai Ag | AHA 50/250 | K32173 | External | DST Fist | NA | SCA is used to apply precise and controlled forces, displacements, or velocities in various engineering and testing applications. | Civil Engineering | Concrete Laboratory | Rs.6195000 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | Walter Bai Ag | info@walterbai.com | Walter Bai Ag | info@walterbai.com | ankti@iitism.ac.in
Rheometer | RHM | Concrete Laboratory | Schleibinger Gerate | EBT V | 2021 21775 | External | DST Fist | NA | RHM is used to measure the rheological properties of fluids, semi-solids, and soft materials, including their viscosity, shear stress, shear rate, elasticity, and viscoelastic behavior. | Civil Engineering | Concrete Laboratory | Rs.2479999 | https://civil.iitism.ac.in/ | Up | Characterization | NA | NA | NA | Schleibinger Gerate | schlei@schleibinger.com | Schleibinger Gerate | schlei@schleibinger.com | ankti@iitism.ac.in
,