## Sheet 2
Equipment Name | Name of Equipment Technologist/Operator | Email id of Equipment Technologist/Operator | Contact No. (Mobile No.) of Equipment Technologist/Operator | Approved Abbreviation | Landmark/Location (Room No.) | Make (Manufacturer of Equipment) | Model No. | Funding Agency Type (External/Institution) | Funding Agency Details (Use Comma if multiple) Such as DST, CSIR, ICMR etc. | Equipment Description | Cost of Instrument Sanctioned in the Project | Year of Installation | Present status of Equipment (Up/Down/Under Maintenance) | % of total time to be made available to the external users | Category | Lab/Facility Name | Department Name | Name of Head of the Department | Email id of Head of the Department | Phone No. (Office) of Head of the Department | Name of Department Representative | Contact No. of Department Representative | Email id of Department Representative | Name of Faculty Incharge of Facility | Email id of Faculty Incharge of Facility | Contact No. of Faculty Incharge of Facility | Name of Departments (in case Faculty Incharge belongs to multiple departments) | Name of Departments (in case Equipment Technologist/Operator belongs to multiple departments) | Name of the Project | Duration (From Year - To Year)
Scanning Electron Micorscopy | CIF Operator | cifc@itbhu.ac.in | 9415988100 | SEM | CIF | Carl Zeiss Microscopy Ltd., United Kingdom | EVO 18 | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | Scanning electron microscope (SEM) is electron microscope that produces images of a sample by scanning the surface with a focused beam of electrons. | GBP 116200.00 | 2015 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988100 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Energy Dispersive Spectroscopy | CIF Operator | cifc@itbhu.ac.in | 9415988100 | EDS | CIF | EDAX Inc., USA | 51N1000 EDS System | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | EDS is an analytical technique used for the elemental analysis or chemical characterization of a sample. It is equipped with SEM. | USD 41800.00 | 2015 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988101 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Scanning Probe Micorscopy | CIF Operator | cifc@itbhu.ac.in | 9415988100 | SPM | CIF | NT-MDT Services & Logistics Ltd., Ireland | NTEGRA Prima | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | Scanning probe microscope (SPM) is a microscopy that forms images of surfaces using a physical probe that scans the specimen. It is having atomic force and electron tunneling modes. | USD 170109.00 | 2015 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988102 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
PCB Prototyping | CIF Operator | cifc@itbhu.ac.in | 9415988100 | PCB | CIF | LPKf Laser & Electronics AG, Federal Rupublic of Germany | LPKF Protomat s103 | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | PCB Prototyping Machine is a process of removing areas of copper from a sheet of printed circuit board material to crcreate the pads, singnal traces and structure according to patterns from a digital circuit board plan known as layout file. | EURO 43891.00 | 2015 | Up | 10% | Fabrication | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988103 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Magnetic Property Measurement System | CIF Operator | cifc@itbhu.ac.in | 9415988100 | MPMS | CIF | Quantum Design Inc., USA | SQUID Magnetometer Evercool System | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | A SQUID (for superconducting quantum interference device) is a very sensitive magnetometer used to measure extremely subtle magnetic fields, based on superconducting loops containing Josephson junctions. | USD 725760.00 | 2015 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988104 | skpatel.ms@itbhu.ac.in | Dr. Chandan Upadhyay | cupadhyay.mst@iitbhu.ac.in | 8005304675 | School of Materials Science & Technology | NA | NA | NA
Friction and Wear Testing machine | CIF Operator | cifc@itbhu.ac.in | 9415988100 | Tribometer | CIF | RTEC Instruments, USA | Multi Function Tribometer | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | A tribometer measures the frictional coefficient by pressing a ball into a sample of the material and rotating the material to create motion across the surface. The mass of the material is determined before and after measurement, allowing an engineer to determine the volume loss after the rubbing | USD 181187.00 | 2015 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988105 | skpatel.ms@itbhu.ac.in | Prof. Sunil Mohan | smohan.mst@itbhu.ac.in | 9415920858 | Department of Metallurgical Engineering | NA | NA | NA
Nuclear magnetic resonance spectroscopy | CIF Operator | cifc@itbhu.ac.in | 9415988100 | NMR | CIF | Bruker BioSpin International AG, Switzerland | Avance III 500MHz NMR Spectrometer | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | Nuclear magnetic resonance spectroscopy (NMR) is an information rich, non-destructive analytical technique. It provides detailed information about molecular structure, dynamic processes and allows the direct observation of chemical reactions. | EURO 349500.00 | 2015 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988106 | skpatel.ms@itbhu.ac.in | Dr. Jeyakumar Kandasamy | jeyakumar.chy@iitbhu.ac.in | 9794516773 | Department of Chemistry | NA | NA | NA
Ion-Chromatography | CIF Operator | cifc@itbhu.ac.in | 9415988100 | IC | CIF | Metrohm AG, Switzerland | Dual channel 930 Compact IC Flex ChS/PP | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | Ion chromatography is used for water chemistry analysis. Ion chromatographs are able to measure concentrations of major anions, such as fluoride, chloride, nitrate, nitrite, and sulfate, as well as major cations such as lithium, sodium, ammonium, potassium, calcium, and magnesium in the parts-per-billion (ppb) range. | CHF 106062.40 | 2015 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988107 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
High Resolution Transmission Electron Microscope | CIF Operator | cifc@itbhu.ac.in | 9415988100 | TEM | CIF | FEI Company of USA (SEA) Pte Ltd. Singapore | Tecnai G2 20 TWIN | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | Transmission electron microscopy is a microscopy technique in which a beam of electrons is transmitted through a specimen to form an image. | EURO 400950.00 | 2016 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988108 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Energy Dispersive Spectroscopy | CIF Operator | cifc@itbhu.ac.in | 9415988100 | EDS | CIF | EDAX Inc., USA | EDS | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | EDS is an analytical technique used for the elemental analysis or chemical characterization of a sample. It is equipped with electron microscopy. | USD 64000.00 | 2016 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988109 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Field Emission Scanning Electron Microscope | CIF Operator | cifc@itbhu.ac.in | 9415988100 | FE-SEM | CIF | FEI Company of USA (SEA) Pte Ltd. Singapore | Nova Nano SEM 450 | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | FE-SEM is another type of electron microscope that produces images of a sample by scanning the surface with a focused beam of electrons.Schottky Field Emission Scanning Electron Microscope (FESEM) that combines high- and low-voltage ultra-high resolution capabilities with low-vacuum, high-resolution imaging capabilities. | EURO 200000.00 | 2016 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988110 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Energy Dispersive Spectroscopy | CIF Operator | cifc@itbhu.ac.in | 9415988100 | EDS | CIF | EDAX Inc. USA | EDS | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | EDS is an analytical technique used for the elemental analysis or chemical characterization of a sample. It is equipped with electron microscopy. | USD 100000.00 | 2016 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988111 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Electron backscatter diffraction | CIF Operator | cifc@itbhu.ac.in | 9415988100 | EBSD | CIF | EDAX Inc. USA | EBSD | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | Electron backscatter diffraction (EBSD) is a scanning electron microscope–based microstructural-crystallographic characterization technique commonly used in the study of crystalline or polycrystalline materials. |  | 2016 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988112 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Bench Top X-Ray Diffraction | CIF Operator | cifc@itbhu.ac.in | 9415988100 | BT-XRD | CIF | Rigaku Corporation, Japan | Rigaku Miniflex 600 Desktop X-Ray Diffraction System | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | X-ray powder diffraction (XRD) is a rapid analytical technique primarily used for phase identification of a crystalline material and can provide information on unit cell dimensions. | JPY 6904313.00 | 2016 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988114 | skpatel.ms@itbhu.ac.in | Dr. A. K. Singh | aksingh.mst@iitbhu.ac.in | 9451277287 | School of Materials Science & Technology | NA | NA | NA
High Resolution X-Ray Diffraction | CIF Operator | cifc@itbhu.ac.in | 9415988100 | HR-XRD | CIF | Rigaku Corporation, Japan | Rigaku SmartLab 9kW Powder type (without χcradle) | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | HR-XRD is used for high resolution XRD measurement at room and high temperatures. It is also used for determination of phase, crystallinity and unit cell parameters of material in form of thin films. | JPY 33468455.00 | 2016 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988113 | skpatel.ms@itbhu.ac.in | Dr. A. K. Singh | aksingh.mst@iitbhu.ac.in | 9451277287 | School of Materials Science & Technology | NA | NA | NA
Fourier Transform Infrared Spectroscopy | CIF Operator | cifc@itbhu.ac.in | 9415988100 | FTIR | CIF | THERMO Electron Scientific Instruments LLC USA | Nicolet iS5 | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | FTIR Analysis measures the infrared region of the electromagnetic radiation spectrum, which has a longer wavelength and a lower frequency than visible light, and is measurable in a sample when submitted to infrared radiation (IR). The basic theory at work is that the bonds between different elements absorb light at different frequencies. | USD 13400.00 | 2017 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988115 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Thermogravimetric Analysis | CIF Operator | cifc@itbhu.ac.in | 9415988100 | TGA | CIF | Shimadzu (Asia Pacific) Pte. Ltd., Singapore | TGA-50H | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | TGA is a method of thermal analysis in which the mass of a sample is measured over time as the temperature changes. This measurement provides information about physical phenomena, such as phase transitions, absorption, adsorption and desorption; as well as chemical phenomena including chemisorptions, thermal decomposition, and solid-gas reactions. | USD 37250.00 | 2018 | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988116 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA
Differential Scanning. Calorimetry | CIF Operator | cifc@itbhu.ac.in | 9415988100 | DSC | CIF | Shimadzu (Asia Pacific) Pte. Ltd., Singapore | DSC-60A | Institution | Indian Institution of Technology (Banaras Hindu University) Varanasi | DSC is a thermoanalytical technique in which the difference in the amount of heat required to increase the temperature of a sample and reference is measured as a function of temperature. |  |  | Up | 10% | Characterisation | CIF | CIF | Prof. Rajiv Prakash | cifc@itbhu.ac.in | NA | Mr. Santosh Kumar Patel | 9415988117 | skpatel.ms@itbhu.ac.in | Prof. Rajiv Prakash | rprakash.mst@itbhu.ac.in | 9935033011 | School of Materials Science & Technology | NA | NA | NA