## Equipments
Equipment Name | Approved Abbreviation | Location | Make | Model | Serial No | Funding Agency Type | Funding Agency Details | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost (Rs) | Reference Website | Equipment Status | Category | FOV Cost (Rs) | CIF Cost (Rs) | Any Other Cost (Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Trinocular Metallurgical Microscope | - | Engg Metallurgy Lab | Metzer (VISION PLUS-5000 TMM) | VISION PLUS-5000 TMM | - | RCOEM | - | - | Total Magnification =2000X | Mechanical Engg | RCOEM | 21476 | - | Working | Characterisation Equipment | - | - | - | M/s Up-Tech Engg. Agencies, Nagpur | - | - | - | -
Digital Camera | - | Engg Metallurgy Lab | Metzer | - | - | RCOEM | - | - | 3 Megapixel colour CMOS Sensor Size 6.55*4.92,pixel size 3.2 micro square PC interface | Mechanical Engg | RCOEM | 23344 | - | Working | Characterisation Equipment | - | - | - | M/s Up-Tech Engg. Agencies, Nagpur | - | - | - | -
Image Analyzer Software | - | Engg Metallurgy Lab | Metzer | - | - | RCOEM | - | - | Capture, Process analyze of image | Mechanical Engg | RCOEM | 46688 | - | Working | Characterisation Equipment | - | - | - | M/s Up-Tech Engg. Agencies, Nagpur | - | - | - | -
Cut off Wheel Machine | - | Engg Metallurgy Lab | Metzer | - | - | RCOEM | - | - | Wheel Dia- 8" to 10", 1 HP (AC) electric motor. (Now in Workshop) | Mechanical Engg | RCOEM | 37350 | - | Working | Characterisation Equipment | - | - | - | M/s Up-Tech Engg. Agencies, Nagpur | - | - | - | -
Izod Charpy Impact Testing Machine | - | Engg Metallurgy Lab | Fine Testing (FIT-300N) | - | - | RCOEM | - | - | FIT-300N | Mechanical Engg | RCOEM | 113219 | - | Working | Testing Equipment | - | - | - | M/s Shree Enterprises, Nagpur | - | - | - | -
Jominy End Quench Hardnability Test | - | Engg Metallurgy Lab | Meta Tech | - | - | RCOEM | - | - | Setup designed as per SAE J406 MAY 85 & BS 44371969, consist of parts- 1. Quenching fixture, 2. Standard Accessories. | Mechanical Engg | RCOEM | 55981 | - | Working | Testing Equipment | - | - | - | M/s N.K. Enterprises, Nagpur | - | - | - | -
Electric Furnace | - | Engg Metallurgy Lab | Labo-Tech (BDI-73) | - | - | RCOEM | - | - | Size: (250*125*125mm) -Rating: 3kw, -Working Temp: 1150oC, -With microprocessor PID digital temperature indicator-cum-controller | Mechanical Engg | RCOEM | 51944 | - | Working | Testing Equipment | - | - | - | M/s N.K. Enterprises, Nagpur | - | - | - | -
Rockwell Cum Brinell Hardness Tester | - | Engg Metallurgy Lab | Meta Test (MRB-250) | - | - | RCOEM | - | - | Test load 60/100/250 Kgf for brinnel | Mechanical Engg | RCOEM | 47559 | - | Working | Testing Equipment | - | - | - | M/s Bavishi Enterprises, Nagpur | - | - | - | -
Set up for Dead weight Pressure gauge tester | - | Mechanical Measurement Lab | Benix | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 41737.5 | - | Working | Testing Equipment | - | - | - | Bedare Electronics Pvt. Ltd., Amravati | - | - | - | -
Set up for Vibration measurement | - | Mechanical Measurement Lab | Benix | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 31992.2 | - | Working | Testing Equipment | - | - | - | Bedare Electronics Pvt. Ltd., Amravati | - | - | - | -
Data Acquisation System | - | Mechanical Measurement Lab | Benix | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 71859 | - | Working | Testing Equipment | - | - | - | Bedare Electronics Pvt. Ltd., Amravati | - | - | - | -
BALANCING OF RECIPROCATING MASS | - | K-DOM Lab | - | - | - | RCOEM | - | - | Single reciprocating | Mechanical Engg | RCOEM | 55901 | - | Working | Testing Equipment | - | - | - | Datacone Equipments, Sangliwadi, Sangli- 416416 | sandataconeequip_2007@rediffmail.com | - | - | -
UNIVERSAL VIBRATION APPRATUS | - | K-DOM Lab | - | - | - | RCOEM | - | - | 12 expt. module | Mechanical Engg | RCOEM | 55890 | - | Working | Testing Equipment | - | - | - | M/s Up-Tech Engg. Agencies, Nagpur | - | - | - | -
CREO 2.0 | - | CAD Lab | PTC | - | - | RCOEM | - | - | 3D Drafting Software | Mechanical Engg | RCOEM | 434232 | - | Working | Analytical | - | - | - | DCS, Nagpur | - | - | - | -
ANSYS | - | CAD Lab | ANSYS | - | - | RCOEM | - | - | Analysis Software | Mechanical Engg | RCOEM | 375552 | - | Working | Analytical | - | - | - | DCS, Nagpur | - | - | - | -
P_Scope | - | CAD Lab | IIT Madras | - | - | RCOEM | - | - | Analysis Software | Mechanical Engg | RCOEM | 59000 | - | Working | Analytical | - | - | - | IIT Madras | - | - | - | -
Miniaturized Industrial Production System | - | Robotics lab | - | - | - | RCOEM | - | - | Miniaturized Industrial Production System | Mechanical Engg | RCOEM | 1115100 | - | Working | Analytical | - | - | - | Argo Technologies, Yavatmal | - | - | - | -
Vapour Compression Refrigeration Test Rig | - | RAC Lab | - | - | - | RCOEM | - | - | Compressor, Air Cooled Condenser, Evaporator, Capillary Tube and Expansion Valve, SCADA Software | Mechanical Engg | RCOEM | 467499 | - | Working | Testing Equipment | - | - | - | Datacone Equipments, Sangliwadi, Sangli- 416416 | sandataconeequip_2007@rediffmail.com | - | - | -
Computerised cycle Air Conditioning Test Rig | - | RAC Lab | - | - | - | RCOEM | - | - | Compressor, Air Cooled Condenser, Evaporator, and Expansion Valve, SCADA Software | Mechanical Engg | RCOEM | 531271 | - | Working | Testing Equipment | - | - | - | Datacone Equipments, Sangliwadi, Sangli- 416416 | sandataconeequip_2007@rediffmail.com | - | - | -
Variable Compression Ratio petrol Engine | - | Thermal Engg Lab | - | - | - | RCOEM | - | - | Single cylinder 2 stroke variable compression ratio petrol engine | Mechanical Engg | RCOEM | 216867 | - | Working | Testing Equipment | - | - | - | Datacone Equipments, Sangliwadi, Sangli- 416416 | sandataconeequip_2007@rediffmail.com | - | - | -
Pneumatic Circuit Trainer | - | Thermal Engg Lab | - | - | - | RCOEM | - | - | Double acting pneumatic cylinder, S A Cylinder | Mechanical Engg | RCOEM | 95624 | - | Working | Testing Equipment | - | - | - | Datacone Equipments, Sangliwadi, Sangli- 416416 | sandataconeequip_2007@rediffmail.com | - | - | -
Computer based single cylinder 4-stroke petrol engine Test Rig | - | Thermal Engg Lab | - | - | - | RCOEM | - | - | Single cylinder 4 stroke petrol engine, Dynamometer | Mechanical Engg | RCOEM | 429251 | - | Working | Testing Equipment | - | - | - | Datacone Equipments, Sangliwadi, Sangli- 416416 | sandataconeequip_2007@rediffmail.com | - | - | -
Computer based single cylinder Diesel engine Test Rig | - | Thermal Engg Lab | - | - | - | RCOEM | - | - | Single cylinder 4 stroke Diesel engine, Dynamometer | Mechanical Engg | RCOEM | - | - | Working | Testing Equipment | - | - | - | Datacone Equipments, Sangliwadi, Sangli- 416416 | sandataconeequip_2007@rediffmail.com | - | - | -
Concentric tube heat exchanger | - | Heat Transfer Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 64865 | - | Working | Testing Equipment | - | - | - | Datacone Equipments, Sangliwadi, Sangli- 416416 | sandataconeequip_2007@rediffmail.com | - | - | -
Vertical condenser | - | Heat Transfer Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 65110 | - | Working | Testing Equipment | - | - | - | Datacone Equipments, Sangliwadi, Sangli- 416416 | sandataconeequip_2007@rediffmail.com | - | - | -
Pyranometer | - | Solar Energy Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 81753 | - | Working | Testing Equipment | - | - | - | Sivara Systems, Bangalore | - | - | - | -
PV setup | - | Solar Energy Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 184537 | - | Working | Testing Equipment | - | - | - | Ecosense Solutions, Delhi | - | - | - | -
Solar Thermal System | - | Solar Energy Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 262237 | - | Working | Testing Equipment | - | - | - | Ecosense Solutions, Delhi | - | - | - | -
Linear Motion Control(Travel speed 250mm, Ball screw stepper motor 7kg-cm) | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 59200 | - | Working | Analytical | - | - | - | Bedare Electronics Pvt. Ltd., Amravati | - | - | - | -
Conveyor belt sorting arrangement | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 134125 | - | Working | Analytical | - | - | - | Bedare Electronics Pvt. Ltd., Amravati | - | - | - | -
PLC trainer panel | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 67525 | - | Working | Analytical | - | - | - | Bedare Electronics Pvt. Ltd., Amravati | - | - | - | -
PLC pacakege (5 Licenses) | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 185000 | - | Working | Analytical | - | - | - | Bedare Electronics Pvt. Ltd., Amravati | - | - | - | -
PLC Trainer Siemens(1 bundle of 6 PLC) | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 293250 | - | Working | Analytical | - | - | - | Bedare Electronics Pvt. Ltd., Amravati | - | - | - | -
Robotic Welding Cell System | Arc Welding Robot | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | Yaskawa | YRC1000 AR1440 |  | External | Tata Technologies | Production & Manufacturing | PAIR or equivalent with Electro-Pneumatic Jigs and welding power source | Center for Invention Innovation Incubation & Training | Integrated advanced Manufacturing |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
TAL BRABO Robot | Pick & Place Robot | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | TATA Automation Ltd. | TAL BRABO | R105750 | External | Tata Technologies | Production & Manufacturing | Pick & Place Robot Base Plate, EOAT- Gripper, Vacuums Gripper, Assembly, Illuminated Table, Safety Fencing with Door, MS Wiremesh Enclosure, Software, Pedestal and Cables 04 Brabo by TAL 1 06/04/2020 01 | Center for Invention Innovation Incubation & Training | Integrated advanced Manufacturing |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
Manufacturing Execution system (MES) | MES | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | Tata Technologies |  |  | External | Tata Technologies | Production & Manufacturing | Manufacturing Execution system Conveyor (12m) with PLC, Emergency Stop & Authorization Box, Allen Bradley Make PLC of Compact Logic L16-ER, Bonfiglioli Motor and Cables, PLC integration with Rittal IP-65 panels -AB-L16_ER and latest with Buffer modules to suit, with 3 tier lamps, Hooter and Andon scheme, Pick to light sensor integration, pick to light Racks with bin system for 6 Nodes, Pick to Light sensor: K50APFF100GREQ-50 E series, Pick to Light cables, Tower Light, Mechanical Components for assembly, Air Compressor 2 hp KND Make 03 TATA Technologies 1 06/04/2020 01 | Center for Invention Innovation Incubation & Training | Integrated advanced Manufacturing |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
Vertical machining Center | VMC | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | Ace Micromactic | AMS-430 V |  | External | Tata Technologies | Production & Manufacturing | 01 Vertical machining Center Spindle power: 5.5 / 3.7 kW, Three tier indication lamp, Table size-650 x 350mm, Max load on Table standard/option - 250 / 400, Spindle nose fact to table top 135-615 mm, Max. Tool length 250mm, Max Tool Weight 8kgf, Table longitudinal travel (X - Axis)- 400 mm, Table cross travel (Y - Axis) – 350 mm 01 AMS-430 V 1 06/04/2020 01 TATA Technologies Ltd., Pune | Center for Invention Innovation Incubation & Training | Integrated advanced Manufacturing |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
Digital Vernier Caliper | Vernier | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | BAKER | SDN 30 | 4399279066 | External | Tata Technologies | Measurement | Digital Vernier Caliper ( 0-300 mm) | Center for Invention Innovation Incubation & Training | Measurement | 6,940 /- |  | Its Working |  |  |  |  | Fourwayz Distributors Pvt. Ltd. | nagpur@fourwayz.com, admin@fourwayz.com
Digital Micrometer | Micrometer | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | BAKER | DMM 25 | 4399279316 | External | Tata Technologies | Measurement | Digital Micrometer ( 0-25 mm) | Center for Invention Innovation Incubation & Training | Measurement | 5,654 /- |  | Its Working |  |  |  |  | Fourwayz Distributors Pvt. Ltd. | nagpur@fourwayz.com, admin@fourwayz.com
Ultimaker 3D Printing Machine | 3-D Printer | Innovation Design Incubation Centre (1st Floor CIIIT) | Ultimaker | Ultimaker 3 Extended | BPP-013446-053732 | External | Tata Technologies | Prototype part Production | 05 3-D Printer FDB, Dual extrusion print head with a unique auto-nozzle lifting system and swappable print core, Filament Diameter : 2.85 mm, Build Volume: Left nozzle: 215 x 215 x 300 mm Right nozzle: 215 x 215 x 300 mm 05 Ultimaker 3 Extended 1 06/04/2020 01 | Center for Invention Innovation Incubation & Training | 3-D Printing & Additive Manufacturing |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
Julia Fracktal Dual 3D Printing Machine | Julia Dual | Innovation Design Incubation Centre (1st Floor CIIIT) | Julia Dual | FDM | 3DPJD0101 | Internal | RCOEM | Prototype part Production | 3-D Printer FDM, Dual extrusion print head, Filament Diameter : 1.75 mm, Build Volume: Left nozzle: 270 x 270 x 285 mm Julia Fracktal Works 24/01/2017 | Center for Invention Innovation Incubation & Training | 3-D Printing & Additive Manufacturing | 4.25 Lakh |  | Its Working |  |  |  |  | Stratagem Paramount Consulting LLP, Ghatkopar, Mumbai.
SLA 3D Printing Machine | SLA 3 | Innovation Design Incubation Centre (1st Floor CIIIT) | Farmlab |  |  | External | Aspire | Prototype part Production | Resin | Center for Invention Innovation Incubation & Training | 3-D Printing & Additive Manufacturing | 8.00 Lakh |  | Resin Is not Available so Its not in working |  |  |  |  | Stratagem Paramount Consulting LLP, Ghatkopar, Mumbai.
Ein Scan -SE Shining 3-D Scanner | 3-D Scanner | Innovation Design Incubation Centre (1st Floor CIIIT) | Shining 3-D Ein Scan - SE | Ein Scan -SE (Elite) | EinscanSEB-GJAJ053K10 | External | Tata Technologies | Dead Solid part Scanning | For Re-engineering and upgradation, Scan Volume of 700x700x700 mm, single shot accuracy less than 0.01mm, range of single capture 200x150mm and scan speed of < 8Sec. | Center for Invention Innovation Incubation & Training | 3-D Scanning & Reverse Engineering |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
3-D Experience Modeling Platform Software | 3-D Experience | Innovation Design Incubation Centre (1st Floor CIIIT) | DASSAULT |  |  | External | Tata Technologies | Solid Modeling |  | Center for Invention Innovation Incubation & Training | MODELING Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
Delmia Modeling Software | Delmia | Innovation Design Incubation Centre (1st Floor CIIIT) | DASSAULT |  |  | External | Tata Technologies | Solid Modeling |  | Center for Invention Innovation Incubation & Training | MODELING Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
Adams structures Bundle | Adams | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
Adams Machinery Studio | Adams | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
Easy5 | Easy5 | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
Marc | Marc | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
MSC Apex Structures | MSC Apex Structures | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
MSC Apex Modeler | MSC Apex Modeler | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
MSC Patran | MSC Patran | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
MSC Nastran | MSC Nastran | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
scFLOW | scFLOW | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
FEAST | FEAST | Innovation Design Incubation Centre (1st Floor CIIIT) | ISRO |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
i-GET-IT | i-GET-IT | Innovation Design Incubation Centre (1st Floor CIIIT) | Tata Technologies |  |  | External | Tata Technologies | Learning |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
IoT Kit | IoT Kit | Machine Learning Centre (1st Floor CIIIT) | Tata Technologies |  |  | External | Tata Technologies |  | Raspberry Pi4, Ardiuno Nano, ESP 01, Sensors & Actuators | Center for Invention Innovation Incubation & Training | Controlled Sensors & Actuators |  |  | Its Working |  |  |  |  | Tata Technologies Ltd., Pune
FLUKE 5502A Multi -Product Calibrator with 6.5 digit DMM | calibrator | Machine Learning Centre (1st Floor CIIIT) | Fluke | 5502A |  | External | Aspire |  | All Electrical & Electronics Equipment Calibrator, Multi -Product Calibrator with 300 MHz Oscilloscope | Center for Invention Innovation Incubation & Training | All Electrical & Electronics Equipment Calibrator | 31.68 Lakh |  | Its Working |  |  |  |  | Optimum Electronic Instruments
Spectrum Analyzer | Analyzer | Machine Learning Centre (1st Floor CIIIT) | Rohde & Schwarz |  |  | External | Aspire |  | FPC1000 | Center for Invention Innovation Incubation & Training |  | 2.53 Lakh |  | Its Working |  |  |  |  | Monarch Enterprises
Arbitary Waveform Signal Generator | Signal Generator | Machine Learning Centre (1st Floor CIIIT) | APLAB |  |  | External | Aspire |  | AWG80D Function/Arbitary Waveform Generator 80 MHz | Center for Invention Innovation Incubation & Training |  | 0.75 Lakh |  | Its Working |  |  |  |  | Monarch Enterprises
Digital Precision Multimeter | multimeter | Machine Learning Centre (1st Floor CIIIT) | ITech | U1232A |  | External | Aspire |  | 6.5 Digit Multimeter, True RMS Multimeter | Center for Invention Innovation Incubation & Training | Its measures Current, Voltage & Resistance | 0.68 Lakh |  | Its Working |  |  |  |  | Revine Technology
Power Supply Triple Output | Power Supply | Machine Learning Centre (1st Floor CIIIT) | ITech |  |  | External | Aspire |  | Tripple Output (0-30 V, 3A x 2CH/0-5V,3A) | Center for Invention Innovation Incubation & Training | DC Power Supply | 0.38 Lakh |  | Its Working |  |  |  |  | Revine Technology
SMD Rework Station | Soldering Machine | Machine Learning Centre (1st Floor CIIIT) | Weller |  |  | External | Aspire |  | Reparaturstation, Repair Station, 230 V 50/60Hz 300W | Center for Invention Innovation Incubation & Training |  | 1.79 Lakh |  | Its Working |  |  |  |  | Cyronics Instruments

## Public users
Salutation | First Name | Last Name | Contact Number | Email Id
Mr. | Prashant | Shiwalkar | 9850338527 | shiwalkarpb@rknec.edu
Mr. | Rajesh | Raool | 7588501305 | rajesh.raool@rediffmail.com
Mr. | Sanjay | Borikar | 9049480374 | sanjayborikar@gmail.com
Mr. | Nikhil | Bhave | 9850149316 | bhavenb1@rknec.edu
Mr. | Mangesh | Joshi | 8087946883 | joshimp@rknec.edu
Mr. | Himanshu | Shukla | 7620442511 | shuklah1@rknec.edu
Mr. | Yogesh | Joshi | 7741879857 | yogesh.joshi54@yahoo.in
Mr. | Rahul | Deshmukh | 8805996430 | deshmukhrahul596@gmail.com
Mr. | Omprakash | Bohrey | 8762730910 | OPBOHREY@YAHOO.CO.IN
Ms. | Pranjali | Tete | 8237462436 | tetepr1@rknec.edu
Mr. | Rakshal | Agrawal | 9960876158 | agrawalrr@rknec.edu
Mrs. | Namrata | Nagpurkar | 9172531080 | namrata.nagpurkar@gmail.com
Mr. | Shantanu | Kolharkar | 9890672335 | shantanukolharkar@gmail.com
Mr. | Pramodkumar | Borle | 7722035375 | pborle@stvincentngp.edu.in
Mr. | Sachin | Deshmukh | 9096751477 | deshmukhss1@rknec.edu
Mr. | Sujit | Patil | 7020519680 | patilsa@rknec.edu
Mr. | Purushottam | Barve | 9325268903 | purubarve5@gmail.com
Mr. | Vishal | Milmile | 9421848887 | vishalmilmile@gmail.com
Mr. | Bhushan | Bissa | 8928330047 | bissabc@rknec.edu
Mr. | Limesh | Patle | 9503179856 | limesh1980@gmail.com
Guidelines to fill User Excel sheet (Details of Ph.D. Scolar or Research Assistant )
Upload User details in bulk using the template (excel sheet in specified format)