## Worksheet
S.No | Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
1 | Triple Quadrupole ICP-QQQ MS | ICP-MS- QQQ | Block C, Ground Floor OLD SAC, IIT Kanpur | Agilent Technologies | Agilent 8900 | JP18290476 | External Funding | others |  | PPB level, chemical composition analysis | Earth Sciences |  | 13500000 |  | Working | Analytical & research | Agilent Technologies |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
2 | Agilent ICP OES | ICP-OES | Block C, Ground Floor OLD SAC, IIT Kanpur | Agilent Technologies | Agilent, 5800 | MY2443cQ08 | External Funding | others |  | sub-ppm to percentage levels from pure metals trace analysis to high alloyed grades | Earth Sciences |  | 6580000 |  | Working | Analytical & research | Agilent Technologies |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
3 | Dual Carbon Isotope Analyzer | Carbon Isotope analyzer | Block C, Ground Floor OLD SAC, IIT Kanpur | Picarro, INC | G220-i | 4431-CFIDS2362 | External Funding | SERB, DST, Govt. of India |  | Carbo isotope anaysis | Earth Sciences |  | 8500000 |  | Working | Analytical & research | Picarro, INC |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
4 | High-pressure Asher |  | Block C, Ground Floor OLD SAC, IIT Kanpur | ANTON PAAR GMBH,AUSTRIA | HPA-S | 81487769 | Internal Funding | Institution |  |  | Earth Sciences |  | 3600000 |  | Working | Analytical & research | ANTON PAAR GMBH,AUSTRIA |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
5 | Seal Autoanalyzer | Nutrient Analyzer | Block C, Ground Floor OLD SAC, IIT Kanpur | Seal Analytical GMBH, Germany, | AA3HR |  | Internal Funding | Institution |  | Nutrient Analysis | Earth Sciences |  | 4000000 |  | Working | Analytical & research | Seal Analytical GMBH, Germany, |  |  |  | isen@iitk.ac.in,head_es@iitk.ac.in
6 | Inductive coupled Plasma Mass spectrometer | ICP-MS | Room NO. 204 B, WLE, IIT Kanpur | Thermo Fisher Pvt. Ltd | ICAP-Q | SN02965R | Internal Funding | Institution |  | Trace element analysis at PPM Level | Earth Sciences |  | 8000000 |  | Working | Analytical & research | Thermo Fisher India Pvt. Ltd |  | Thermo Fisher India Pvt. Ltd |  | head_es@iitk.ac.in, dpaul@iitk.ac.in
7 | Gas Chromatograph | GC-MS | Lab 101, ACMS,IITK | Thermo Fisher Pvt. Ltd |  |  | Internal Funding | Institution |  | Isotope Measurement | Earth Sciences |  | 4800000 |  | Working | Analytical & research | Thermo Fisher India Pvt. Ltd |  |  |  | head_es@iitk.ac.in, dpaul@iitk.ac.in
8 | Water Isotope Analyzer | Water Isotope Analyzer | Lab 101, ACMS,IITK | LOS Gatos research(LGR), USA |  |  | Internal Funding | Institution |  | water isotope measurement | Earth Sciences |  | 8500000 |  | Working | Analytical & research | LGR |  |  |  | head_es@iitk.ac.in, dpaul@iitk.ac.in
9 | XRAY Flourosence | XRF | Lab 101, ACMS,IITK | Rigaku, Japan | ZSX Primus II | N-HR06104-4 | Internal Funding | Institution |  | Bulk & trace elemental analysis | Advanced Centre for Materials Science |  | 5720000 |  | Working | Analytical & research | I R Tech Pvt. Ltd |  | I R Tech Pvt. Ltd |  | dpaul@iitk.ac.in
10 | Isotope Ratio Mass Spectrometer | IRMS | Lab 101, ACMS,IITK | Thermo Fisher Pvt. Ltd | DeltaV | SN08808D | Internal Funding | Institution |  | Isotope analysis of oxygen, carbon, Nitrogen | Advanced Centre for Materials Science |  | 20270250 |  | Working | Analytical & research | Thermo Fisher India Pvt. Ltd |  | Thermo Fisher India Pvt. Ltd |  | dpaul@iitk.ac.in
11 | Combined Gas & Liquid Permeameter | Permeameter | B Block Ground Floor OLD SAC IITK | PMI/Porous Materials Inc.USA | LP100A GP101A | 09302015-3247 | Internal Funding | ES Department |  |  | Earth Sceinces |  | 5172580 | iitk.ac.in/es | Not Working | Rock Deformation | PMI/Porous Materials Inc.USA |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
12 | Pulse Decay Permeameter | PDP | B Block Ground Floor OLD SAC IITK | Core Lab USA | PDP 200 | 19-5042 | Internal Funding | CE Department, SERB |  |  | Earth Sceinces |  | 4292249 | iitk.ac.in/es | Working | Rock Deformation | Core Lab USA |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
13 | Servo Hydraulic Compression Load Testing Machine | HPHT | B Block Ground Floor OLD SAC IITK | APS Germany | 00111-A5-008 | 46120003 | External Funding | ONGC Dehradun |  |  | Earth Sceinces |  | 36429194 | iitk.ac.in/es | Working | Rock Deformation | APS Germany |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
14 | High Pressure High Temperature Deforamtion Appratus | HPHT TRIAXIAL | B Block Ground Floor OLD SAC IITK | ETA Technology Banglore | IT0530990 | IT053-00-00-00 | External Funding | Department of Science and Technology |  |  | Earth Sceinces |  | 23761500 | iitk.ac.in/es | Working | Rock Deformation | ETA Technology Banglore |  |  |  | head_es@iitk.ac.in, smisra@iitk.ac.in
15 | D-RTK GNSS, Hexa Coptor aircraft &Accesssories | Hexacoptor | CC-201, CC Building, IITK | Kambill Syestem Pvt. Ltd | Matrix 600 Pro | M600P | External Funding | MOES |  |  | Earth Sciences |  | 2614248 | iitk.ac.in/es | Working | Survey | Kambill Syestem Pvt. Ltd
16 | Permanent Mode GPS System | GPS System | CC-201, CC Building, IITK | Elcome Technologies pvt. Ltd | Ailgline | GR30 | External Funding | MOES |  |  | Earth Sciences |  | 24256886 | iitk.ac.in/es | Working | Survey | Lieca Geosystems Pvt. Ltd
17 | Engineering Seismograph Syestem | Seismograph | CC-201, CC Building, IITK | OYO corporation | 1126F | 200046 | Internal Funding | DST, Govt. of India |  |  | Earth Sciences |  | 7397426 | iitk.ac.in/es | Working | Survey | Mekaster International Pvt. Ltd
18 | SIR-3000 System GPR with accessories | GPR | CC-201, CC Building, IITK | M/s ParasEquipment Pvt. Ltd. | 32078 | 58 | Internal Funding | DST, Govt. of India |  |  | Earth Sciences |  | 5724040 | iitk.ac.in/es | Working | Survey | M/s ParasEquipment Pvt. Ltd.
19 | OLS Reader | OSL | CC-201, CC Building, IITK | From JICA, Japan | RISO DTU | DA-20 | External Funding | other |  |  | Earth Sciences |  | 12000000 | iitk.ac.in/es | Working | Dating | JICA, Japan
20 | Gamma Spectrometry | Gamma Spectrometer | CC-201, CC Building, IITK | From JICA, Japan |  |  | Others | other |  |  | Earth Sciences |  | 5200000 | iitk.ac.in/es | Working | Dating | JICA, Japan
21 | SYSCAL-RI Plus Resistivity Meter with 72plus 48 electrodes | Resistivity meter | ESB3 | Iris instrument | Syscal R1 plus switch 72 | 12692-432309240-1051 | Internal Funding | ES |  |  | Earth Sciences |  | 4980705 | www.iitk.ac.in/es | Working | Analytical Research | Makaster Pvt Ltd |  |  |  | animeshm@iitk.ac.in, head_es@iitk.ac.in
22 | CG-6 Auto Grav | Gravimeter | ESB3 | Scintrex | CG6 auto grave | 17040016 | Internal Funding | ES, Project |  | Digital Gravimeter | Earth Sciences |  | 9206701 | www.iitk.ac.in/es | Working | Analytical Research | Scintrex |  |  |  | animeshm@iitk.ac.in, head_es@iitk.ac.in
23 | RAU geophone and dongles | RAU | ESB3/ WLE | Sercel/ xplore technologies | Sercel RAU | 914jp0106g41200120M000 | Internal Funding | ES, SERB |  |  | Earth Sciences |  | 6051559 | www.iitk.ac.in/es | Working | Analytical Research | Sercel SA France |  |  |  | dghosal@iitk.ac.in, head_es@iitk.ac.in
24 | ESS 1000 with 950-1000 pound Hammer | Thumper | WLE | Bobcat skid street (Gisco) | ESS1000+Tromino | 1127792 | Internal Funding | ES, SERB, ONGC |  |  | Earth Sciences |  | 5165751 | www.iitk.ac.in/es | Working | Analytical Research | Geological Intruments USA |  |  |  | dghosal@iitk.ac.in, head_es@iitk.ac.in
25 | Spectroradiometer SVC | Spectroradiometer | HB Lab | Spectra Vista Corporation | SVC-XHR-1024i | 3025 | Internal Funding | SERB, MOWR, AvH Foundation |  |  | Earth Sceinces |  | 5670000 | iitk.ac.in/es | Working | Field Survey | Sinsil International | sinsilbrd@gmail.com |  |  | head_es@iitk.ac.in, rsinha@iitk.ac.in
26 | Hyperspectral Camera AFX 17 | Hyperspectral Camera | HB Lab | Specim Spectral Imaging Ltd | AFX17 | A2110091 | Internal Funding | SERB |  |  | Earth Sceinces |  | 5334244 | iitk.ac.in/es | Working | Field Survey | ATOS Instruments Marketing |  |  |  | head_es@iitk.ac.in, rsinha@iitk.ac.in
27 | LiDAR camera | LiDAR camera MARSS | HB Lab | Dilabs Systems Pvt Ltd | MARSS MID 40-01-01 | MRS-60956 | Internal Funding | SERB |  | MARSS MID 40-01-01 | Earth Sceinces |  | 2578855 | iitk.ac.in/es | Working | Field Survey | Dilabs Systems Pvt Ltd | bramhachar.m@dilabs.in |  |  | head_es@iitk.ac.in, rsinha@iitk.ac.in
28 | Terestrial 3D Laser Scanner | TLS | Geoinformatics lab | RIEGL | VZ-400i | S2220907 | Others | Ministry of Education |  | 3D Laser scanning upto 400m | Department of Civil Engineering |  | 6423750 |  | working | Lidar | Meatech | meatech@meatechsolutions.com |  |  | head_ce@iitk.ac.in
29 | FARO 3D Laser Scanner | TLS | Geoinformatics lab | FARO | Faro Focus S350 | LLS081916290 | Others | DST, Govt. of India |  | 3D Laser scanning upto 350m | Department of Civil Engineering |  | 6795180 |  | working | Lidar | Smart Labtech | marketingsupport@smartlabtech.net |  |  | head_ce@iitk.ac.in
30 | Cyclic Triaxial Test System | CTT | Geotechnical Engineering Laboratory | HEICO, New Delhi | HS28.610 | NOT KNOWN | Internal Funding | Institution | Institute Account | To study soil behavior under repeated axial loading (e.g., earthquakes, traffic loads) and assess cyclic strength. | Department of Civil Engineering |  | 2700000 | https://heicoin.com/ | Working | Geotechnical Testing | HEICO, New Delhi | info@heicoin.com | HEICO, New Delhi | info@heicoin.com | head_ce@iitk.ac.in
31 | Cyclic Triaxial Test System with accessories and lateral extensometer for poisions ratio | CTT | Geotechnical Engineering Laboratory | HEICO, New Delhi | HS28.610 | 1409177 | External Funding | BRNS, Govt. of India | Project No. BRNS/CE/20130276 | To evaluate advanced soil properties including Poisson’s ratio and dynamic response under cyclic loading with enhanced measurement accuracy. | Department of Civil Engineering |  | 3429692 | https://heicoin.com/ | Working | Geotechnical Testing | HEICO, New Delhi | info@heicoin.com | HEICO, New Delhi | info@heicoin.com | head_ce@iitk.ac.in
32 | Cyclic Simple Shear Apparatus (Fully Automated) | CSSA | Geotechnical Engineering Laboratory | HEICO, New Delhi | HS24.627 | NOT KNOWN | External Funding | DST, Govt. of India | Project No. DST/CE/2015223 (FIST GRANT) | To simulate horizontal shear loading and analyze soil response under seismic or lateral shear conditions, especially for liquefaction studies. | Department of Civil Engineering |  | 7592550 | https://heicoin.com/ | Working | Geotechnical Testing | HEICO, New Delhi | info@heicoin.com | HEICO, New Delhi | info@heicoin.com | head_ce@iitk.ac.in
33 | Ambient air quality monitoring Analyser | Gas Analyzers | NAF | Thermofisher | 42i | -- | Govermment | ISRO | Environmental Observatory | A Gas Analyzer (CO, O3, SO2, NOx) measures the levels of gases like carbon monoxide, ozone, sulfur dioxide, and nitrogen oxides in the air.it is to monitor air quality and pollution. | Department of Civil Engineering |  | 2666000 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
34 | Dionex Ion Chromatography System | IC | WL-222 | Thermo Scientific | Dionex Aquion | 180123300 | Government | MOEF | national cabonaceous aerosol programme | Anion and Cation Analysis | Department of Civil Engineering |  | 3206052.5 |  | Working | Water Quality testing |  |  |  |  | head_ce@iitk.ac.in
35 | Multi Wavelength Carbon Analyser | EC-OC | WL-222 | DRI | DRI 2015 | DRI-M0075 | Government | MOEF | national cabonaceous aerosol programme | Carbon Analysis | Department of Civil Engineering |  | 7441476.86 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
36 | Benchtop EDXRF Spectrometer | XRF | WL-222 | PANalytical | Epsilon 4 | DY 6133 | Government | MOEF | national cabonaceous aerosol programme | Elemental Analysis | Department of Civil Engineering |  | 11930634.2 |  | Working | Water Quality testing |  |  |  |  | head_ce@iitk.ac.in
37 | Portable Multigas Analyser sampler | MGA | WL-116 | Gasmet Technologies | DX4040 | 24474 | Government | MoEF | National cabonaceous aerosol programme | to measure different types of gases in air | Department of Civil Engineering |  | 4494892 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
38 | Self-Foaming Dynamic membrane bioreactor | SFMBR | STP, Jajmau | Xylem Water Solutions India Pvt. Ltd. | Taron Pilot Plant 1204 | Not Applicable | Government | DBT, Govt. of India | Unlocking Wastewater Treatment Water Re-use and resource recovery Opportunities for Urban and Peri - Urban Areas in India | used for Wastewater Treatment | Department of Civil Engineering |  | 6048000 |  | Not Operational | Water Quality testing |  |  |  |  | head_ce@iitk.ac.in
39 | Supervisory control and data acquisition SCADA | SCADA | STP, Jajmau | Assembeled by M/s Infinity Systems | Not Applicable | Not Applicable | PDA | IIT Kanpur | Professional Development Account of Dr Vinod Tare, P, CE | Used as controller for Wastewater Treatment | Department of Civil Engineering |  | 2935000 |  | Not Operational | Cantroller |  |  |  |  | head_ce@iitk.ac.in
40 | DMT photo caustic soot Spectrometer | PASS-1 | NAF | Droplet Measurement Technologies | PASS-1 | 0706-007 | Govermment | ISRO | Long Term Monitoring Of Black Carbon | The DMT Photoacoustic Soot Spectrometer (PASS) measures how much light black carbon (soot) absorbs in the air. We use it to study air pollution and its impact on climate and health. | Department of Civil Engineering |  | 2790624 |  | Not in working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
41 | Scanning Mobility Particle Sizer Spectrometer | SMPSS | NAF | TSI | 3936-NL 75 | 70604168 | AC-1 | IIT Kanpur | Civil Engineering | A Scanning Mobility Particle Sizer (SMPS) measures the size and number of tiny particles in the air. We use it to study air pollution and understand how small particles behave in the atmosphere. | Department of Civil Engineering |  | 3045759 |  | Not in working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
42 | Carbon Analyser | -- | R1 Lab | Desert Research Institute | 2001A | 163998-1 | Government | Central Pollution Control Board, Delhi | Air Quality Assessment Emission Inventory and Sources Apportionment Studies in City of Kanpur | use to dettermine elemental and organic carbon | Department of Civil Engineering |  | 4006272 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
43 | Cloud Condensation Probe | CCP | NAF | Droplet Measurement Technologies | -- | 0710-011-01 | Govermment | DST, Govt. of India | Impact Of Anthropogenic Aerosols On Cloudmicrophysics" | The Cloud Condensation Probe (CCP) measures how many cloud droplets form from tiny particles in the air. It helps us study cloud formation and how aerosols affect weather and climate. | Department of Civil Engineering |  | 5425338.9 |  | working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
44 | Trinocular Microscope | Microscope | WL-116 | LOMO | LUMAM | RPO-11T | Govermment | RDSO, Ministry of Railway | Technology Mission for Railway safety | to detect and identify microorgamism | Department of Civil Engineering |  | 2503692 |  | working | Micro Biological testing |  |  |  |  | head_ce@iitk.ac.in
45 | Aerosol Mass Spectrometer | AMS | NAF | Aerodyne Research Inc. | HRTOF | 901.11.o154 | AC-1 | Civil Department | Institute Fund | The Aerosol Mass Spectrometer (AMS) measures the size and chemical makeup of tiny particles in the air. We use it to understand air pollution and its effects on health and climate. | Department of Civil Engineering |  | 27020687.1 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
46 | ICP-MS Spectrometer | ICPMS | WL-116 | Thermo Scientific | iCAP-Q | SN02889R | AC-1 | Civil Department | Institute Fund | to dettermine heavy metals in water samples | Department of Civil Engineering |  | EURO126000 |  | Working | Water Quality testing |  |  |  |  | head_ce@iitk.ac.in
47 | Agilent 4200 MP AES | MPAES | WL-116 | Agilent Technologies | 4200 | AU14190108 | AC-1 | Civil Department | Institute Fund | to dettermine heavy metals in water samples | Department of Civil Engineering |  | 4057246.48 |  | Working | Water Quality testing |  |  |  |  | head_ce@iitk.ac.in
48 | Single Column Cloud Nuclei Counter | CCN | NAF | Droplet Measurement Technologies | CCN-100 | 1508 - 135 | Govermment | BRNS | Studies on aerosol behavior under severe accident conditions in the context of Indian Nuclear Reactor by setting up of National Aerosol Facility | A Cloud Condensation Nuclei Counter (CCN counter) is an instrument that measures tiny particles in the air that help form cloud droplets. We use it to understand how clouds form and how pollution affects weather and climate. | Department of Civil Engineering |  | 7604533 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
49 | Scanning Mobility Particle Seizer | SMPS | NAF | TSI | 3938N76 | 3082001537002 | Govermment | BRNS | Studies on aerosol behavior under severe accident conditions in the context of Indian Nuclear Reactor by setting up of National Aerosol Facility | A Scanning Mobility Particle Sizer (SMPS) measures the size and number of tiny particles in the air. We use it to study air pollution and understand how small particles behave in the atmosphere. | Department of Civil Engineering |  | 7089009 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
50 | Robotic Total Station & V10 Imaging Rover | Total station | WL-116 | Trimble Europe Inc, Netherland | S7 | 37210383 | Government | MoEF | Ganga River Basin management plan | to accurately measure angles and distances, precise land surveying and mapping | Department of Civil Engineering |  | 8869796 |  | Working | Surveying |  |  |  |  | head_ce@iitk.ac.in
51 | Powersight 2D Module for LDV PDPA | LDV/PDPA | NAF | TSI | LDV0041 | LDV016180 | Govermment | BRNS | Studies on aerosol behavior under severe accident conditions in the context of Indian Nuclear Reactor by setting up of National Aerosol Facility | The Power Site 2D Module for LDV/PDPA helps measure the speed and size of tiny particles or droplets in the air. We use it to study airflow and how particles move in clouds or pollution. | Department of Civil Engineering |  | 14051004 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
52 | 40 KVA Plasma power supply | -- | NAF | ION ARC TECHNOLOGIES.Pvt.Ltd | Not Applicable | Not Applicable | Govermment | BRNS | Studies on aerosol behavior under severe accident conditions in the context of Indian Nuclear Reactor by setting up of National Aerosol Facility | A 40 KVA plasma torch is a powerful tool that creates a hot plasma flame to cut or melt materials like metal. It’s used for precise cutting and welding | Department of Civil Engineering |  | 5769750 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
53 | ICP-OES Plasma Quant PQ 9000 | ICP-OES | WL-116 | Analytik Jena, Germany | PQ 9000 | 13-5850D-AR 138 | Government | MOEF | national cabonaceous aerosol programme | Trace Metal Analysis | Department of Civil Engineering |  | 3660100 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
54 | Multi wavelength Portable Aethalometer | MWPA | WL-222 | MAGEE Scientific Corporation , USA | Aethalometer AE33 | AE33-S07-00699 | Government | MOEF | national cabonaceous aerosol programme | measures black carbon and bionmass burning in air | Department of Civil Engineering |  | 2633796 |  | Working | Air Quality testing |  |  |  |  | head_ce@iitk.ac.in
55 | Universal Testing System |  | TE Lab | Controls S.R.L Italy | Dynapave 30KN | 14006524 | Internal Funding | Institution |  |  | Department of Civil Engineering |  | 4202880 |  | not Working | Bituminous Material Testing | ITL Pvt. Ltd. |  |  |  | head_ce@iitk.ac.in
56 | Simultaneous DSC-TGA |  | WLE-111 | Waters GES.M.B.H, Austria | SDT Q600 | 1859 | External Funding | SERB, DST, Govt. of India |  |  | Department of Civil Engineering |  | 3134297 |  | Working | Material Testing | TA Instruments - India |  |  |  | head_ce@iitk.ac.in
57 | 8 Channel Isothermal Calorimeter |  | WLE-111 | Waters GES.M.B.H, Austria | TAMAIR | Y10020 | External Funding | SERB, DST, Govt. of India |  |  | Department of Civil Engineering |  | 2401760 |  | Working | Material Testing | TA Instruments - India |  |  |  | head_ce@iitk.ac.in
58 | MCR-302E Modular Compact Rheometer |  | WLE-113 | Anton Paar | MCR-302E Modular Compact Rheometer | NA | Internal Funding | Institution |  |  | Department of Civil Engineering |  | 7291686 |  | Working | Bitumen Testing | Anton Paar India Pvt. Ltd. |  |  |  | head_ce@iitk.ac.in
59 | Asphalt Slab Roller Compactor |  | TE Lab | Controls S.R.L Italy | Asphalt Slab Roller Compactor | 24003851 | External Funding | Ministry of Road Transport and Highways |  |  | Department of Civil Engineering |  | 2949791 |  | Working | Slab Compaction | Chir-ayu Controls Pvt. Ltd. |  |  |  | head_ce@iitk.ac.in
60 | Driver Training Simulator |  | 807, ESB-I | Tecknotrove System | Tecknosim LMV Simulator-MX Version | TTS-738 | Internal Funding | Institution |  |  | Department of Civil Engineering |  | 7493000 |  | Working | Car Driving Simulator | Tecknotrove System India Pvt. Ltd. |  |  |  | head_ce@iitk.ac.in
61 | Drrone Mounted GPR |  | 807, ESB-I | ScanDron Pvt. Ltd. | Drone Mounted GPR | NA | Internal Funding | Institution |  |  | Department of Civil Engineering |  | 8500000 |  | Working | Ground Penetrating Radar | ScanDron Pvt. Ltd. |  |  |  | head_ce@iitk.ac.in
62 | SPS - 15 Servo Pneumatic Dynamic Testting Machine with Accessories |  | TE Lab | JP Scientific Equipments | JP-TC-SPS-15 | 6 | External Funding | Ministry of Road Transport and Highways |  |  | Department of Civil Engineering |  | 3164000 |  | Working | Bituminous Material Testing | JP Scientific Equipments |  |  |  | head_ce@iitk.ac.in
63 | Beam Flexural Fatigue Test Fixture for Asphalt |  | TE Lab | GCTS Testing System | BFFA | NA | Internal Funding | Institution |  |  | Department of Civil Engineering |  | 2684359 |  | Working | Bituminous Material Testing | Avantech Engineering Consortium Pvt. Ltd. |  |  |  | head_ce@iitk.ac.in
64 | Particle Image Velocimetry | PIV | HWRE Lab | ILA_5150 GmbH Rotter Bruch 26a, 52068 Aachen, Germany | LD-PS/40 | LDPS_IIT1 | Internal Funding | Institution | Additional Fund Support For Equipment Grant (Resonant Column, Titling Flume)R&D/CE/2023 355 | Particle Image Velocimetry (PIV) is used to measure and visualize the velocity fields in fluids like water by tracking the movement of tiny tracer particles seeded into the flow. It’s super handy for research in fluid mechanics, aerodynamics, and engineering because it gives us a detailed, instant snapshot of how the fluid is moving way more info than just measuring speed at a single point. | Department of Civil Engineering |  | 68809250 | https://ila5150.de/en | working |  | ILA_5150 GmbH Rotter Bruch 26a, 52068 Aachen, Germany | info@ila5150.de | TECH-ECLAIR SCIENTIFIC SOLUTIONS PRIVATE LIMITED, No.4/461, 2nd Floor, Suite No. 394, Valamkottil Towers, Judgemukku, Kakkanad, Kochi– 682021, KERALA, INDIA | jayasurya@techeclair.com | head_ce@iitk.ac.in
65 | Benchtop Near-Infrared Isotope Gas Analyzer | IGA | HWRE Lab | ABB Group | GLA431-TWIA | 3K430000006933 | External Funding | DST, Govt. of India | DST-FIST grant (Project No. 2015223 Rs. 64,60,000/- Department Budget A/c-1 Rs. 5,00,000/-PDA/CE/9246 Rs. 5,00,001/- Institute Budget Rs 10,50,000/- Total Rs 88,10,000/-) | A Water Isotope Analyzer is used to measure the ratios of stable isotopes (like δ18O, δ17O, and δ2H) in water samples, helping in trace water sources, monitor groundwater recharge, and even reconstruct past climates. These analyzers are super useful in hydrology, climate research, environmental monitoring, and understanding how water moves through ecosystems or mixes in rivers and aquifers. | Department of Civil Engineering |  | 8809250 | https://global.abb/group/en | working |  | M/s Aaxis Nano Technologies Pvt Ltd, Plot No. B-46, Sector – 59, Industrial Area, Noida – 201301, Uttar Pradesh, India | v.mohan@aaxisnano.com | M/s Aaxis Nano Technologies Pvt Ltd, Plot No. B-46, Sector – 59, Industrial Area, Noida – 201301, Uttar Pradesh, India | v.mohan@aaxisnano.com | head_ce@iitk.ac.in
66 | Gas Chromatography-Mass Spectrometry | GCMS | HWRE Lab | ThermoFisher Scientific | POLARIS Q system | MS210712 | External Funding | DST, Govt. of India | FIST Level 1 | GC-MS (Gas Chromatography-Mass Spectrometry) is a powerhouse tool for identifying and measuring chemicals in complex mixtures. It's widely used for detecting pollutants in air, water, and soil, analyzing drugs and poisons in forensic samples. | Department of Civil Engineering |  | 5394400 | https://www.thermofisher.com/in/en/home.html | working but not supported by the company anymore. Have to be replaced/written-off |  | M/s Thermofisher scientific India Pvt Ltd., Toll Global Logistics , Mayashree Logistics Centre, Kuksa Opp. NH-3 Survey No. 38/4, 40/1, 40/2P, 45/A 421302, Bhiwandi Thane, Maharashtra, India | sanjay.dogra@thermofisher.com | M/s Thermofisher scientific India Pvt Ltd., Toll Global Logistics , Mayashree Logistics Centre, Kuksa Opp. NH-3 Survey No. 38/4, 40/1, 40/2P, 45/A 421302, Bhiwandi Thane, Maharashtra, India | sanjay.dogra@thermofisher.com | head_ce@iitk.ac.in
67 | High-Performance Thin Layer Chromatography | HPTLC | HWRE Lab | CAMAG, Sonnenmattstrasse 11, 4132 Muttenz, Switzerland | AMD - II | 110119 | Internal Funding | Institution | CARE program | HPTLC (High-Performance Thin Layer Chromatography) is used for both qualitative and quantitative analysis of compounds in a wide range of fields, like pharmaceuticals, clinical chemistry, forensic science, environmental testing. | Department of Civil Engineering |  | 68809250 | hptlc@anchrom.in, https://camag.com/products/hptlc/ | Not Working and not supported by the company anymore. Have to be written-off |  | CAMAG, Sonnenmattstrasse 11, 4132 Muttenz, Switzerland | sales@camag.com | Anchrom Enterprises (I) Pvt. Ltd. A 101-104, Shree Aniket Apt, Near Shree Sumathinath Jain Temple, Navghar Road, Mulund East, Mumbai- 400 081. | hptlc@anchrom.in | head_ce@iitk.ac.in
68 | MTS Hydraulic Actuator | Actuator | Structural Engineering laboratory, CE | MTS Systems | 243.45 | -- | Institute | Care Budget | -- | Fatigue, Static and Low Cycle, Stroke - 250 mm, Tension capacity: 445 kN, Compression capacity: 649 kN | Department of Civil Engineering |  | 2517334 | https://www.mts.com | Working | Scientific equipment | Megatech Engineering & Services (P) Ltd. | -- | Megatech Engineering & Services (P) Ltd. | -- | suparno@iitk.ac.in
69 | Flex Test GT Controller | Controller | Structural Engineering laboratory, CE | MTS Systems | 493.1 | -- | Institute | CE Fund | -- | Controller, 3 Channels, 3 stations | Department of Civil Engineering |  | 2906323 | https://www.mts.com | Working | Scientific equipment | Megatech Engineering & Services (P) Ltd. | -- | Megatech Engineering & Services (P) Ltd. | -- | suparno@iitk.ac.in
70 | MTS Linear Hydraulic Actuato | Actuator | Structural Engineering laboratory, CE | MTS Systems | 243.70 T | -- | Institute | CE Fund | -- | Double Amplitude displacement - 500 mm, Tension capacity: 960 kN, Compression capacity: 1460 kN | Department of Civil Engineering |  | 3279632 | https://www.mts.com | Working | Scientific equipment | Megatech Engineering & Services (P) Ltd. | -- | Megatech Engineering & Services (P) Ltd. | -- | suparno@iitk.ac.in
72 | MTS Hydraulic Actuator | Actuator | Structural Engineering laboratory, CE | MTS Systems | 244.21 | -- | External | MHRD | -- | Double Amplitude displacement - 150 mm, Capacity: 50 kN | Department of Civil Engineering |  | 2503296 | https://www.mts.com | Working | Scientific equipment | Megatech Engineering & Services (P) Ltd. | -- | Megatech Engineering & Services (P) Ltd. | -- | suparno@iitk.ac.in
73 | Odisi A-50 Instrument with Accessories | Optical Distributed Sensor Interrogator | Structural Engineering laboratory, CE | Luna Innovations | A-50 | -- | Institute | Summary of Plan Expenditure | -- | Instrument to measure sensor lengths of up to 50 m of temperature or strain | Department of Civil Engineering |  | 3476585 | https://lunainc.com | Working | Scientific equipment | Luna Innovations, USA | -- | Luna Innovations, USA | -- | samitrc@iitk.ac.in
74 | Closed Loop Servo Hydraulic Actuator | Actuator | Structural Engineering laboratory, CE | MTS Systems | 201.7 | -- | External | DST | -- | Stroke - 1000 mm, Tension capacity: 965 kN, Compression capacity: 1460 kN, Fatigue rated including electronic control system & Hydraulic Distribution System | Department of Civil Engineering |  | 6534840 | https://www.mts.com | Working | Scientific equipment | TII-Techno Testing Instruments (P) Ltd. | -- | TII-Techno Testing Instruments (P) Ltd. | -- | suparno@iitk.ac.in
75 | EOT Crane, M | Crane | Structural Engineering laboratory, CE | INDEF | HW-4 | -- | External / Institute | DST, PCE | -- | Crane Capacity : 20 T | Department of Civil Engineering |  | 2906323 | https://indef.com/ | Working | Material Handling | Universal Enterprises (Hoist Div.) | -- | Universal Enterprises (Hoist Div.) | -- | suparno@iitk.ac.in
76 | Compression Testing Machine | CTM | Structural Engineering laboratory, CE | INSTRON | 600 RD | -- | Institute | Summary of Plan Expenditure | -- | For compression test , Capacity: 3000 kN | Department of Civil Engineering |  | 6214538 | https://www.instron.com | Working | Scientific equipment | Instron India (P) Ltd. | -- | Instron India (P) Ltd. | -- | suparno@iitk.ac.in
77 | Rheometer | Rheometer | Structural Engineering laboratory, CE | ANTON PAAR | MCR 102 | -- | Institute | PCE, INS Grant | -- | For measure the flow and deformation characteristics of materials | Department of Civil Engineering |  | 2500000 | https://www.anton-paar.com | Working | Characterization | Anton Paar India Pvt. Ltd. | info.in@anton-paar.com | Anton Paar India Pvt. Ltd. | info.in@anton-paar.com | kvharish@iitk.ac.in
78 | High force servo hydraulic test system | UTM | Structural Engineering laboratory, CE | MTS Systems | 311.41 | -- | External | DST | -- | For Tension, Fatigue & Compression Test | Department of Civil Engineering |  | 35138925 | https://www.mts.com | Working | Scientific equipment | TII-Techno Testing Instruments (P) Ltd. | -- | TII-Techno Testing Instruments (P) Ltd. | -- | suparno@iitk.ac.in
79 | Real Time Hybrid Simulation Software with 100 kN Servo-Hydraulic Dynamic Actuator with closed copuled accumulators to provide velocity performance, stroke length: 350 mm | Actuator | Structural Engineering laboratory, CE | MTS Systems | 244.22 | -- | Institute | CE Fund, INS Grant | -- | Stroke - 350 mm, Capacity: 100 kN, Dynamic Actuator with closed copuled accumulators to provide velocity performance | Department of Civil Engineering |  | 6981500 | https://www.mts.com | Working | Scientific equipment | TII-Techno Testing Instruments (P) Ltd. | -- | TII-Techno Testing Instruments (P) Ltd. | -- | ckolay@iitk.ac.in
80 | Actuator Assembly for Model 244.22 | Actuator | Structural Engineering laboratory, CE | MTS Systems | 244.22 | -- | External | SERB | -- | Stroke - 350 mm, Capacity: 100 kN, Dynamic Actuator with closed copuled accumulators to provide velocity performance | Department of Civil Engineering |  | 3640380 | https://www.mts.com | Working | Scientific equipment | TII-Techno Testing Instruments (P) Ltd. | -- | TII-Techno Testing Instruments (P) Ltd. | -- | ckolay@iitk.ac.in
81 | Mercury Porosimeter | MIS | Structural Engineering laboratory, CE | ANTON PAAR | Pore Master 60GT | -- | Institute | INS Grant | -- | For Measurement of pores larger than 3.6 NM | Department of Civil Engineering |  | 3703435 | https://www.anton-paar.com | Working | Scientific equipment | Anton Paar India Pvt. Ltd. | info.in@anton-paar.com | Anton Paar India Pvt. Ltd. | info.in@anton-paar.com | kvharish@iitk.ac.in
82 | Universal Testing Machine | UTM | Structural Engineering laboratory, CE | TINIUS OLSEN | 50 ST | -- | External / Institute | SERB, INS Grant | -- | Equipment for testing and characterization of thin-walled composite structural components | Department of Civil Engineering |  | 2996385 | https://www.tiniusolsen.com/ | Working | Scientific equipment | AIMIL Ltd. | -- | AIMIL Ltd. | -- | amarrc@iitk.ac.in

## Sheet1
S.No | Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
109 | Computer Server |  |  | NETWEB | [6 empty] | Chemistry |  | 5300000 |  |  | Computational |  |  |  |  | amalen@iitk.ac.in
99 | High Pressure Reactor | [9 empty] | Chemistry |  |  |  |  | Charaterisation |  |  |  |  | jbera@iitk.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE