## Sheet1
Equipment Name | Approved Abbreviation | Location | Manufacturer | Model | Serial No | Funding Agency Type | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Field Emission Scanning Electron Microscope | FEG-SEM | Materials Science Centre, IIT Kharagpur | Carl Zeiss | Gemini 500 | 8203017122 | DST-FIST |  | SEM with EDX | Materials Science Centre | DST-FIST SEM Facility | 23000000 |  | UP |  |  |  |  | Carl Zeiss Microscopy GmbH, Germany
Surface Area Analyzer | BET Surface Area | Materials Science Centre, IIT Kharagpur | Quantachrome India, Autosorb iQ2 | ASIQCUOIY-5 | 14714062701 | IIT Kharagpur |  | Surface Area Analyzer | Materials Science Centre | MTech Lab Facility | 3000000 |  | UP |  |  |  |  | Spectris PTE Ltd, Singapore
X-ray Diffractometer | XRD | Materials Science Centre, IIT Kharagpur | Panalytical | Empyrean | AXMS200105-3281 | IIT Kharagpur |  | High resolution XRD with thin film, texture characterisation | Materials Science Centre | Departmental Research facility | 22000000 |  | UP
Universal Testing Machine | UTM | Materials Science Centre, IIT Kharagpur | Zwick-Roell | Z050 Allround - II | 724272 | IIT Kharagpur |  | UTM for Electromechanical testing in compression, extension, and fleural modes | Materials Science Centre | Departmental Research facility | 11900000 |  | UP |  |  |  |  | Zwick Asia Pvt. Ltd.
Universal Testing Machine | UTM | Materials Science Centre, IIT Kharagpur | Hounsfield | H10KS | H10KS-0547 | IIT Kharagpur |  | UTM for Electromechanical testing in compression, extension, and fleural modes | Materials Science Centre | Departmental Research facility |  |  | UP
Micro Conical Twin Screw Extruder with Injection Molding | Micro-extruder | Materials Science Centre, IIT Kharagpur | ThermoFisher Scientific | Haake MinLab 3 & MiniJet Pro | 22515025001 | DST-FIST |  | Extruder-cum-injection molding for mixing and injection molding of thermoplastics and its blends | Materials Science Centre | DST-FIST Polymer Micro-extrder Facility | 9000000 |  | UP |  |  |  |  | ThermoFisher Scientific