## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Insulation Resistance Test (Upto 5KV) | IRT | TPC Patiala | Motwane (Nasik) | IT-250G Spot | 101 - A | External Funding | AICTE, Govt. of India | To test the insulation resistence of Motors, Transformer, Cables etc. | Electrical Engineering |  | 50500 |  | Working | Megaohmmeter | heed.tpc@gmail.com, anurag.joshi@thapar.edu
Digital Multimeter cum Insulation Reistence Tester with Bluetooth (Upto 1000V) | DMI | TPC Patiala | Motwane (Nasik) | MIRT-61 | 101 - B | External Funding | AICTE, Govt. of India | Ideal for Insulation Resistance Measurement during maintenance for electrical equipments (Motors, Transformers, Machines, Switchgears etc.) | Electrical Engineering |  | 29500 |  | Working | Multimeter | heed.tpc@gmail.com, anurag.joshi@thapar.edu
Diagnostic Insulation Resistence Tester 5KPI 3MA 10T with Bluetooth | DIR | TPC Patiala | Motwane (Nasik) | 5K PI 3mA | 101 - C | External Funding | AICTE, Govt. of India | The instrument is designed for routine and diagnostic testing like IR, PI, DD, DAR & SV of high voltage electric apparatus like transformers generators, motors, cables, bushings, LA's, switchgear, etc | Electrical Engineering |  | 254000 |  | Working | IR Diagnostic Tester | heed.tpc@gmail.com, anurag.joshi@thapar.edu
High Voltage Test KIT20KV 50mA AC/DC | HVT | TPC Patiala | Motwane (Nasik) | HVT20 | 101 - D | External Funding | AICTE, Govt. of India | HVT is used to determine the withstand strength of electrical insulation for the normally occurring over voltage transients | Electrical Engineering |  | 177800 |  | Working | High Voltage IR Tester | heed.tpc@gmail.com, anurag.joshi@thapar.edu
Oil Test Set 60kV Digital and Motorized with stirrer | OTS | TPC Patiala | Motwane (Nasik) | OTS-60DS | 101 - E | External Funding | AICTE, Govt. of India | Oil Breakdown Voltage test kits to check dielectric strength of insulating oil used in Transformers, | Electrical Engineering |  | 211800 |  | Working | Oil Dielectric Tester | heed.tpc@gmail.com, anurag.joshi@thapar.edu
Digital Multimeter | DM | TPC Patiala | Motwane (Nasik) | M-41 & M-42 | 101 - F | External Funding | AICTE, Govt. of India | Digital Multimeter M-42 is used to measure Ac/Dc voltage, current, resistence, Diode Test, Continuity Test, Capacitenece test etc. | Electrical Engineering |  | 18050 |  | Working | Multimeter | heed.tpc@gmail.com, anurag.joshi@thapar.edu
Digital Insulation Resistence Tester (Upto 1000V) | DIRT | TPC Patiala | Motwane (Nasik) | i-12 | 101 - G | External Funding | AICTE, Govt. of India | To test the insulation resistence of Motors, Transformer, Cables etc. | Electrical Engineering |  | 21000 |  | Working | IR Tester | heed.tpc@gmail.com, anurag.joshi@thapar.edu

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE